## COVER PAGE
PROPOSED REFURBUSHIMENT OF ZANACO MPIKA BRANCH, MPIKA, ZAMBIA
TENDER BILLS OF QUANTITIES
PREPARED BY
QUANTITY SURVEYORS AND PROJECT MANAGERS | ARCHITECTURAL CONSULTANTS & PROJECT MANAGERS
Plot No.81 flat 3 , Provident Rd, Off Great East Road | Plot 5819 Lunsemfwa Road,
Rhodes Park Lusaka, Zambia | Kalundu, Lusaka
Tel: 0211-356-815 | Tel: +260 211 238 007
qsproconsults@gmail.com | http://masventuresarchitects.com/
APRIL,2023

## P&G'S
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
| PRELIMINARIES AND GENERAL ITEMS | 0 | 0
| PRE-CONSTRUCTION WORK | 0 | 0
| The Contractor will carry out a detailed site set out survey for the works. A Pre-Construction Meeting will be held between the Project Manager and the Contractor to review the following information: • Site Survey • Work Method Statement • Program • Schedule of Materials and Installed Equipment If the project manager approves the above documentation, then the Contractor will be issued with the Notice to Proceed. The Contractor must mobilise on the project site within 7 calendar days or earlier of the date of issue of the Notice to Proceed. Site restrictions Site security limitations: Comply with any restrictions on site area, access or working times advised by the Project Manager. Access: Access on to and within the site, use of the site for temporary works and constructional plant, including working and storage areas, location of offices, workshops, sheds, roads and parking, is restricted to the areas shown on the drawings or as agreed with the Project Manager. Occupied areas of site or buildings For the parts of the site designated as occupied areas in the Occupied areas schedule: Allow occupants to continue using the area for the required period. - Make available safe access for occupants. - Arrange work to minimise nuisance to occupants and ensure their safety. - Protect occupants against weather, dust, dirt, water or other nuisance, by such means as temporary screens. Protection of persons and property Temporary works: Provide and maintain required barricades, guards, fencing, shoring, temporary roadways, footpaths, signs, lighting and traffic flagging. Accessways, services: Do not obstruct or damage roadways and footpaths, drains and watercourses and other existing services in use on or adjacent to the site. Determine the location of such services. If damage occurs, immediately repair it at the Contractors cost. Property: Do not damage property which is to remain on or adjacent to the site, including adjoining property encroaching onto the site. If damage occurs, immediately repair it at the Contractors cost. PRELIMINARIES 1.1 2 DCU Existing services Attend to existing services as follows: - If the service is to be continued, repair, divert or relocate as required. - If the service is to be abandoned, cut and seal or disconnect, and make safe. Submit proposals to the Engineer for action for existing services before starting this work. Minimise the number and duration of interruptions. Adjoining property Records: For properties described in the Adjoining properties to be recorded schedule: - The Contractor is to inspect the properties with the Engineer and owners and occupants of the properties, before start of work. - Make detailed records of conditions existing within the properties, especially structural defects and other damage or defacement. - Arrange for at least 2 copies of each record, including drawings, written descriptions, and photographs, to be endorsed by the owners and occupants, or their representatives, as evidence of conditions existing before commencement of work. Submit one endorsed copy of each record to the Engineer. The Contractor is to keep the other endorsed copy. |  | 0
| DRAWINGS AND SCHEDULE OF WORKS | 0 | 0
| The Drawings used in preparing the Bills of Quantities are scheduled under an appropriate section in the appendices at the end of the Bills of Quantities and provided as part of the tender documents. These drawings are representative of the work to be carried out and, when read with the specification, provide information for installation purposes. It will be the contractor's responsibility to check dimensions and details with the Project Manager’s, Structural Engineer's, Electrical and Mechanical Engineer's and other relevant drawings prior to installation, and any discrepancy must be reported to the Project Manager before work is put in hand. |  | 0
| Where necessary, the contractor shall provide, at his own cost, such detail drawings, working drawings, detail builders work drawings, wiring drawings, etc as may be called for by the Project Manager to assist co-ordination, proper installation and completion of the works. |  | 0
PROGRESS DRAWINGS, RECORD DRAWING AND OPERATING INSTRUCTIONS
| The contractor shall keep on site, available for reference by the Project Manager or other authorised person a full set of installation drawings on which he shall record deviations as the work proceeds. |  | 0
| GENERAL DESCRIPTION OF MATERIALS AND WORKMANSHIP | 0 | 0
| A document giving a general description of materials and workmanship may be inspected at the offices of the Project Manager and shall form a part of this contract whereas these are not attached to the document.The Contractor shall carry liability over and above the defects liability period in terms of warranties on specified materials/brands and shall be responsible and carry the sole risk of ensuring counterfeit products are not used on the Project. The contractor shall replace all items failing before the expiration of the manufacturers warranty period irrespective of the stated defects liability period provided such materials fail within the manufacturers warranty period. |  | 0
| CONSTRUCTION PROGRAM | 0 | 0
| The Contractor shall provide as part of his tender a gantt chart program indicating how he plans to achieve completion of the works within the proposed construction period. The bidder shall further be required to provide detailed programs from time to time as required by the Project Manager. Failure to provide such programs shall result in punitive measures as outlined in the contract |  | 0
| PHASED CONSTRUCTION PROGRAM | 0 | 0
| The works as measured in the Bills of Quantities may be phased in implementation as mutually agreed by the Client and Contractor |  | 0
| EXISTING AND ADJACENT PROPERTY | 0 | 0
| The attention of the Contractor is drawn to the fact that the adjoining premises/buildings will be fully occupied and operational during the course of the works and that he must comply with all requirements or restrictions regarding the phasing and control of pollution applying to these works. The restrictions may relate to type of plant to be used, the methods of works to be adopted, the hours of working amd may, in addition impose a maximum noise level within the work area which may not be exceeded. The Contractor must take all steps necessary to safeguard existing and adjacent property, make good at his own expense any damage to persons or property caused thereon, and hold the Employer indemnified against any such claim arising. |  | 0
| The Contractor shall confine to the site all persons employed on the works including Subcontractors ans Suppliers, keeping all unauthorised persons off the site, take all measures to safeguard the works against theft and provide, erect, maintain and alter as necessary temporary barriers and the like required for this purpose. |  | 0
| The Contractor will be held fully responsible for the safety of the existing and adjacent buildings, Landscaped areas and for any damage caused in consequences of these Works. He must reinstate all damages at his own expense and indemnify the Employer against any loss. |  | 0
| NUISANCE, NOISE AND ENVIRONMENTAL POLLUTION | 0 | 0
| All operations necessary for the execution of the works and for the construction of any temporary works shall, as far as compliance with the requirements of the contract permits, be carried on so as not to interfere access unnecessary or improperly with the Employers convenience or the access to use or occupation of the building, public or private roads and footpaths or of properties, whether in the possession of the Employer in respect of all claims, demands, proceedings, damages, costs, charges and expenses whatsoever arising out of it in relation to any such matters. The Contractor must take such steps and exercise such care and diligence as to minimise nuisance from dust, noise or any other cause to the occupiers of the existing and adjacent property as well as the general public at large. The Contractor shall deal with any complaints which may arise due to lack of the foregoing precautions and such arrangements and negotiations as may be necessary, including temporarily suspending any portion of the works. No instruction issued by the Project Manager shall relieve the Contractor from his obligation to comply with these clauses. |  | 0
| If through neglect, nuisance, noise, pollution etc does occur, the Contractor will be held wholly responsible and he is to indemnify the Employer and hold him harmless against all or any claims which may be made in this respect. |  | 0
| DEFINITIONS AND ABBREVIATIONS | 0 | 0
| Terms used in these Bills of Quantities shall be interpreted as follows: "Works" Shall mean the whole of the works envisaged by this contract including, unless expressly stated otherwise, the works of subcontractors, specialists, Local authorities and Public Undertakings. " Project Manager" Shall mean the Project Project Manager "Approved" Shall mean approved by the Project Manager. "as directed" Shall mean as directed by the Project Manager. "B.S." Shall mean the current British Standard Specification published by the British Standards Institution, 2 Park Street, London W.1., England. "Z.S." Shall mean Zambian Standard Specification as published by the Zambia Bureau of Standards. "m3" Shall mean Cubic Metres "m2" Shall mean Square Metres "m" Shall mean Metres "mm" Shall mean Milimetres "kg" Shall mean Kilograms "no." Shall mean Number "ZMW" or "K" Shall mean Zambian Kwacha "USD" or "US$" Shall mean United State Dollars "SABS" Shall mean South African Bureau of Standards "ZABS" Shall mean Zambia Bureau of Standards |  | 0
| FORM OF CONTRACT | 0 | 0
| The Contractor will be required to enter into a Contract which will be the form based Clients standard form of contract document for works as included in the "Conditions of Contract" in this tender document. The contractors attention is drawn to the various clauses within the proposed contract and allowances such made for contractual obligations therein. Whereas the contract remains silent on certain provisions. The clauses herein shall take effect. The contractor is further drawn to other prevailing governing statutes which shall form part of this contract |  | 0
| PERFORMANCE BOND | 0 | 0
| The Contractor shall provide one Surety who must be an established Registered Commercial Bank, Insurance company, or Financial Institution to the approval of the Client and Project Manager who will be bound to the Employer in the sum equivalent to ten per cent (10%) of the Contact Sum for the due performance of the Contract until the certified Date of Practical Completion or end of defects liability period. |  | 0
| The format of the Performance Bond shall be that shown under the appendices at the end of the Bills of Quantities or in line with the clients requirements. The Project Manager reserves the right to withhold payment certificates and the Client reserves the right to withhold payment for failure to provide/extend expired guarantees by the Contractor to maintain validity |  | 0
| ADVANCE PAYMENT BOND | 0 | 0
| Whereas the provisions/forms of the contract allow for an advance payment, the Contractor shall provide and advance payment guarantee/bond to the full value of the payment to be received inclusive of all taxes from an established Registered Commercial Bank, Insurance company, or Financial Institution to the approval of the Client and Project Manager. This bond shall remain in full effect until the full amount of advance is recovered and shall be utilised solely for the intended purpose as stipulated in the Forms of Contract. The Project Manager reserves the right to withhold payment certificates and/or the Client reserves the right to withhold payment for failure to maintain validity of the said bonds. |  | 0
| VALUE ADDED TAX | 0 | 0
| This project is subject to Value Added Tax (VAT) unless stated otherwise. All rates shall be priced exclusive of VAT, with due regard to the Contractor's ability to reclaim input taxes, and VAT shall be added to the total price included in the space provided in the Main Summary of the Bills of Quantities to provide a Tender Sum inclusive of VAT. Due regard for the above shall be deemed to have been included in the Contractor's rates and no claim for additional liabilities in this respect shall be entertained. |  | 0
| APPENDIX TO THE CONDITIONS OF CONTRACT | 0 | 0
| The appendix to the Conditions will be filled in as follows: Defects Liability Period Twelve (12) Months Percentage to cover Professional fees N/A Date for Possession " Date of Completion " Period of delay Other reason Prime Cost Sums for which Contractor desires to tender Period of interim Certificates Period of Honouring Certificates Percentage of Certified Value Retained Limit of Retention Fund Period of Final Amount of Advance Payment for early purchase of materials Price Fluctuations. N/A Amount of Performance Surety Performance bond name of Surety Amount of Bid Surety The contractor is further drawn to the prevailing statutes as relates to latent defects. Whereas none is stated, a latent defects liability of not less than 4 years shall apply. |  | 0
| GENERAL MATTERS | 0 | 0
| The Copyright of the Bills of Quantities is vested in QS PRO Consults, Registered Quantity Surveyors and Project Managers, situated at Quantity Surveyors and Project Managers Plot No. 81, Provident Rd, Rhodespark,Lusaka, Zambia and they may not be reproduced in whole or in part without their written permission. |  | 0
| SUFFICIENCY OF TENDER | 0 | 0
| The Contractor shall be deemed to have been satisfied before tendering as to the correctness and sufficiency of his Tender for the Works and of the rates and prices stated in the priced Bills of Quantities, which rates and prices shall cover all his obligations under the Contract and all matters and things necessary for the proper completion and maintenance of the Works. |  | 0
| STAMP CHARGES | 0 | 0
| The Contractor shall allow for the payment of all Stamp Charges in connection with the Surety Bond and Contract Agreement. |  | 0
| SITE LEVELS | 0 | 0
| The Contractor must arrange for and agree with the Project Manager, before commencing the work, the existing site levels and similarly establish and agree a benchmark. The levels and bench mark thus agreed with them be used for the duration of the works for all purposes. |  | 0
| PRESERVATION OF LAND SURVEY AND STAND PEGS | 0 | 0
| The Contractor shall be responsible for the preservation of all land survey, stand, boundary or other pegs and beacons and any disturbed or removed from their position for any course whatsoever during the progress of the works, shall be replaced by the appropriate authority and all charges in connection therewith shall be borne by the Contractor. |  | 0
| SETTING OUT OF THE WORKS | 0 | 0
| The Contractor shall set out the works in accordance with the dimensions and levels shown on the drawings and shall be responsible for the correctness of all dimensions and levels so set out by him and will be required to amend all errors arising from inaccurate setting out at his own cost and expense. In the event of any error or discrepancy in the dimensions or levels marked on the drawings being discovered, the Contractor to the Project Manager for his immediate attention and action must report such error or discrepancy. |  | 0
| USE OF SITE | 0 | 0
| The Contractor shall not use the site for any purpose other than for the carrying out of his obligations under this contract. He is to obtain the approval from the Project Manager for the siting of all spoil heaps, temporary roads, working areas, sheds and other structures. |  | 0
| PROGRAM OF WORKS | 0 | 0
| The Contractor shall, upon receiving instructions to proceed with the work draw up a Program of Works Schedule setting out the order in which the Works are to be carried out with the appropriate dates thereof. This Program of Works Schedule is to be agreed with the Project Manager and no deviation from the order set out in this Schedule will be permitted without the written consent of the Project Manager. The Main Contractor will be responsible for arranging the above programme with all Sub-Contractors including the Nominated Sub-Contractors and Nominated Suppliers. The Contractor shall submit to the Project Manager for approval an updated Program at intervals no longer than the period 2 months. If the Contractor does not submit an updated Program within this period or as per project managers request, the Project Manager may withhold the amount equivalent to 0.5% of the value of works or other amounts stated in the contract from the next payment certificate and continue to withhold this amount until the next payment after the date on which the overdue Program has been submitted. In the case of a lump sum contract, the Contractor shall provide an updated Activity Schedule within 14 days of being instructed to by the Project Manager. |  | 0
| PROGRESS PHOTOGRAPHS | 0 | 0
| The Contractor shall allow for progress photos through the duration of the assignment issued at regular intervals of atleast weekly or as may be agreed with project manager. These shall be transmitted to the project manager at the end of the week electronically. Such record shall then be collated by the contractor and given to the client through the project manager on a compact disk and the end of project or contract. |  | 0
| FIGURED DIMENSIONS | 0 | 0
| Figured dimensions are to be followed in preference to dimensions scaled from the Drawings; but whenever possible dimensions are to be taken on the site or the buildings. Before Sub-Contractors or Specialist Firms commences any work, dimensions must be checked on the Site and/or buildings and agreed with the Contractor, irrespective of the comparable dimensions shown on the Drawings. The Contractor shall be responsible for the accuracy of such dimensions. |  | 0
| PROVISIONAL WORK | 0 | 0
| All "provisional" and other work liable to adjustment under this Contract shall be left uncovered for a reasonable time to allow all measurements needed for such adjustment to be taken by the Quantity Surveyor. Immediately the work is ready for measurement, the Contractor shall give notice to the Quantity Surveyor. If the Contractor makes default in these respects he shall, if the Project Manager so directs, uncover the work at his own expense to enable the measurements to be taken. |  | 0
| EXISTING SERVICES | 0 | 0
| Prior to commencement of any work the Contractor is to ascertain from the relevant Authorities the exact position, depth and level of all existing electrical, date, telcom cables, water and sewer pipes or other services in the area and he shall make whatever provisions may be required by the Authorities concerned for the support and protection of such services. Any damage or disturbance caused to any services shall be reported immediately to the Project Manager and the relevant Authority and shall be made good to their satisfaction at the Contractor's expense. |  | 0
| TRANSPORT TO AND FROM THE SITE | 0 | 0
| The Contractor shall include in his prices for the transport of materials, workmen, etc., to and from the Site of the proposed Works, at such hours and by such routes as are permitted by the Authorities. |  | 0
| PUBLIC AND PRIVATE ROADS, PAVEMENTS, ETC. | 0 | 0
| The Contractor will be required to make good, at his own expense, any damage he may cause to the present road surfaces and pavements within or beyond the boundary of the Site, during the period of the Works. In particular, pavements, which may be destroyed or damaged during the progress of the Works, are to be made good by the Contractor to the approval of the Project Manager. |  | 0
| POLICE AND LOCAL AUTHORITY REGULATIONS | 0 | 0
| The Contractor is to allow for complying with all instructions and regulations of the Police and Local Authorities. The Main Contractor shall further ensure that all the necessary statutory stage inspections as carried out as required by law in liaison with the Project Architect and Project Manager |  | 0
| LIAISON WITH UTILITY SERVICE PROVIDERS | 0 | 0
| The Main Contractor is to allow for liaison with Utility Services Providers in conjunction with the consultants for facilitation of Permanent Connections as relates to the development. All utility connection charges and applications to be handled by the client and consultant respectively unless stated otherwise. |  | 0
| CONTRACTORS' SUPERINTENDENCE | 0 | 0
| The Contractor shall constantly keep on the works a literate well qualified English-speaking Agent or Representative, competent and experienced in the kind of work involved who shall give his whole time to the superintendence of the Works. Such Agent or Representative shall receive on behalf of the Contractor, directions and instructions from the Project Manager and such directions and instructions shall be deemed given to the Contractor in accordance with the Conditions of Contract. The Agent shall not be replaced without the specific approval of the Project Manager. |  | 0
| It is to be a specific condition of this Contract that the successful Tenderer shall provide on site throughout the period from the completion of the substructure to the Date for Practical Completion a suitably qualified, experienced and competent person to ensure that the works are carried out to the standard required by the specification and detailed on the Drawings; and shall ensure that upon any termination of employment a suitable replacement is found. |  | 0
| Before the Tenderer's offer is accepted the Project Manager reserves the right to interview the Contractor's proposed Representative. Curriculum vitae of past experience and qualifications must be provided for the Project Manager's scrutiny.The Project Manager's decision will be final regarding the suitability of the proposed Representative who should posses the following skills in additional to academic qualifications;1) Programming and Scheduling2) Reporting 3) Production of shop drawings with atleast knowledge in use of Autocad and drawing software4) Procurement and Expediting5) Liaison and Coordinating of Construction including managing subcontractors6) Monitoring and reporting on building activities |  | 0
| It shall be a condition of this Contract that the Contractor shall have email facilities on site for communication including emergency communication. The Contractor shall co-ordinate the work of all Subcontractors, tradesmen, workmen and others engaged or to be engaged on the works and shall liaise and coordinate with all parties to ensure the smooth functioning of the Contract, the smooth and orderly progress of construction, the closest cooperation between all the parties concerned and the timeous completion of the contract. |  | 0
| WATER | 0 | 0
| All water shall be fresh, clean and pure, free from earthy vegetable or organic matter, acid or alkaline substance in solution or suspension The Contractor shall provide at his own risk and cost all water for use in connection with the Works (including the work of Sub-Contractors). The Contractor shall provide at his own expense all temporary distribution pipes, storage tanks, meters, etc., and he shall clear away same upon completion of the Works. In case the Contractor is permitted by the Employer to use water already on site, such water shall be metered and accruing bills paid by the Contractor. |  | 0
| LIGHTING AND POWER | 0 | 0
| The Contractor shall provide at his own risk and cost all artificial lighting and power for use on the Works, including all Sub-Contractors' and Specialists' requirements and including all temporary connections, wiring, fittings, etc., and clearing away on completion. The Contractor shall pay all fees and obtain all permits in connection therewith. . In the event that the Contractor is permitted by the Employer to use power already on site, such water shall be metered and accruing bills paid by the Contractor. |  | 0
| SAFETY | 0 | 0
| The Contractor shall comply at all times with the requirements of the Factory Act and clients safety regulations at the time being in force, ensure that the safety of his work people and authorised visitors to the Site is protected at all times. In particular there shall be proper provision of planked footways and guardrails to scaffolding, etc.; protection against falling materials and tools and the Site shall be kept tidy and clear of dangerous rubbish. The Contractor shall appoint a Safety Officer as required by the Factory Act and notify the Factory Inspector of his name.The Safety Officer shall be qualified in compliance with the Factory Act and the clients safety requirements and shall have experience in First Aid.The Safety Officer shall be on site at all times and all directions given by the Project Manager to the Safety Officer shall be deemed to be Project Manager's Instructions, and shall be complied with promptly without additional cost to the contract. The Project Manager shall be empowered to suspend work on the Site should he consider that these conditions are not being observed, and no claim arising from such a suspension will be allowed. |  | 0
| PROTECTIVE CLOTHING | 0 | 0
| The Contractor shall provide all protective or any other special clothing or equipment for his employees that may be necessary. This shall include, inter-alia, safety helmets, gloves, goggles, ear muffs, gumboots and shoes with a safety metal cap, overalls, reflective jackets, safety harnesses and nets etc., according to the type of work. The Contractor shall ensure that all staff on site and visitors wears safety helmets at all times. |  | 0
| PROGRESS MEETINGS | 0 | 0
| The Contractor shall be responsible, in conjunction with the Project Manager, for arranging progress meetings. The Project Manager will determine the times and frequency of such minutes and shall be entitled to invite such Subcontractors as he deems it to attend such progress meetings. The Contractor shall report on his own and all Subcontractor's progress and all matters affecting progress and execution of the works. The Contractor shall convene additional regular meetings with his Subcontractors and Suppliers in order to monitor their progress and to discuss and cordinate all aspects of the Contract. |  | 0
| MATERIALS AND WORKMANSHIP | 0 | 0
| The Specification applicable shall be the Technical Specification as contained in these Bills of Quantities, as read together with specialist specifications that may be provided by Consultants. All materials shall be new unless otherwise directed or permitted by the Project Manager and in all cases where the quality of goods or materials is not described or otherwise specified, is to be the best quality obtainable in the ordinary meaning of the word "best" and not merely a trade signification of that word. All materials and workmanship shall, unless otherwise specified or described, conform to the appropriate British Standards Institution Specification current at the date of Tender. The Contractor shall order all materials to be obtained from overseas immediately after the Contract is signed and shall also order materials to be obtained from local sources as early as necessary to ensure that such materials are on Site when required for use in the Works. The Contractor shall be responsible for and shall replace or make good at his own expense any materials lost or damaged. Skilled workmen well versed in their respective trades shall execute the Works throughout. |  | 0
| REJECTED WORKMANSHIP OR MATERIALS | 0 | 0
| Any workmanship or materials not complying with the specific requirements or approved samples or which have been damaged, contaminated or have deteriorated, must immediately be removed from the Site and replaced at the Contractor's expense, as required. Proprietary materials specified in the tender documents shall be strictly adhered to and provided for the works.Deviations from proprietary materials specified will only be allowed as a last resort. All materials and goods, where specified to be obtained from a particular manufacturer or supplier are to be used or fixed strictly in accordance with their |  | 0
| SAMPLES OF MATERIALS | 0 | 0
| The Contractor shall furnish at the earliest possible opportunity before work commences and at his own cost, any samples of materials or workman-ship that may be called for by the Project Manager for his approval or rejection, and any further samples in the case of rejection until such samples are approved by the Project Manager and such samples, when approved, shall be the minimum standard for the work to which they apply. |  | 0
| OFFICE AND SHEDS | 0 | 0
| The Contractor shall set aside and maintain an appropriate space within the existing building office accommodation for his own use, together with ample temporary watertight sheds for the proper storage and protection of materials and for the use of artisans and remove when ordered. Floors of sheds shall be at least 150 mm above ground level. |  | 0
| OFFICES AND SERVICES FOR THE ARCHITECT | 0 | 0
| The Contractor shall set aside and maintain an appropriate space within the existing building for the use of the Project Manager and his representative with a total floor area of not less than 15 square metres. The office shall be furnished with wooden stools, tables and chairs and drawing table along the full length of one side, complete with drawers of sufficient size to carry the Drawings laid flat and drawing racks as required. The Contractor shall also set aside and maintain a lock-up lavatory for the sole use of the Project Manager and his representatives and to the satisfaction of the local Authorities and shall provide the services of a sweeper, pay all charges and keep both office and latrine in a clean and sanitary condition during the whole period of the Works.The office and latrine shall be removed on completion. The Contractor shall keep on Site and maintain in good condition one dumpy or quickset level and levelling staff, and one 30 metre steel tape for the use of the Architect and his representatives. |  | 0
| TELEPHONE AND EMAIL | 0 | 0
| The Contractor shall arrange for a Phone and Data connection facilities complete with a full office with printing capability and pay all charges in connection therewith. The Contractor shall ensure that his Site Manager is accessible by telephone and email on site which facility shall be availed to the project team for purposes of project implementation. |  | 0
| SANITATION | 0 | 0
| The Contractor shall provide the necessary sanitation facilities in the descending order of preference starting with waterborne toilets, mobile toilets and latrines for his staff and workmen to the requirement and satisfaction of the Health Authorities and maintain the same in a thoroughly clean and sanitary condition and pay all conservancy fees during the period of the Works and remove when no longer required. |  | 0
| PLANT, TOOLS, SCAFFOLDING AND PROTECTIVE NETTING | 0 | 0
| The Contractor shall provide all necessary hoists, scaffolding, steel ladders, tackles, plant, vehicles, tools and appliances of every description for the due and satisfactory completion of the Works and shall remove the same on completion. The Contractor shall provide, erect and maintain all temporary scaffolding, sufficiently strong and efficient for the due performance of the Works, including Sub-Contract Works as special attendance, provide special scaffolding as and when required during the Works and remove on completion and make good. Such scaffolding shall be constructed of tubular steel of timber of sufficient scantlings and be provided with planked footways and guard-rails to approval. All such plant, tools and scaffolding shall comply with all regulations whether general or local, in force throughout the period of the Contract and shall be altered or adapted during the Contract as may be necessary to comply with any amendments in or additions to such regualtions. Scaffolding is not measured hereinafter, and the Contractor must allow here or in his rates for the above. The Contractor shall further provide all necessary protective safety netting to be erected around the building and wherever needed to provide protetion, and safety of personnel and materials during construction. |  | 0
| HOARDING | 0 | 0
| The Contractor shall enclose parts of the site, as directed with a hoarding 2.50 metres high off ground level, with openings and gates as required, constructed of substantial timbers to approval and covered with new iron corrugated sheeting encampassing the site and/or work area to project managers approval. All charges from Local authorities relating to hoarding shall be accounted for herein. |  | 0
| WATCHING AND LIGHTING | 0 | 0
| The Contractor shall provide at his own risk and cost all watching and lighting as necessary to safeguard the Works, plant and materials against damage and theft. |  | 0
| TEMPORARY ROADS | 0 | 0
| The Contractor shall provide where directed all temporary access roads, tracks and paths necessary for the execution of the Works, including making good when no longer required. |  | 0
| PROJECT SIGNBOARD | 0 | 0
| The Signboard and lettering on same for the display of the General and Sub-Contractors' names shall be of an approved size with the Employer's name thereon. The Project Manager's, Quantity Surveyor's and Consultants' name shall be printed in 50 mm letters all to the Project Manager's design. No other signboard or advertising will be permitted without prior approval. |  | 0
| PROJECT PICTORAL VIEWS | 0 | 0
| The Contractor shall allow printing and installation of atleast a A1 3D image of the development to be printed and made weather proof. Such image as provided by the Project manager shall be placed at the entrance to the site and or the site office |  | 0
| NOMINATED, DIRECT AND DOMESTIC SUB-CONTRACTORS | 0 | 0
| The Contractor shall be responsible for Nominated Sub-Contractors in every respect and in particular it shall be the Contractor's responsibility to ensure that each Sub-Contractor commences and completes the work in such manner and is ready on the Site with his materials, labour and special plant at such times so as to conform with the Progress Schedule, as specified previously, and to ensure satisfactory progress. |  | 0
| The Client reserves the right to request for proof of payments made by the Contractor to Subcontractors/Direct Suppliers prior to honouring payments. Whereas the Contractor is unwilling or unable to provide such information, the client shall reserve the right to withhold subsequent payments or issue direct payments to the Subcontractors as may be required. |  | 0
| The Contractor shall also accept liability for and bear the cost of General Attendance on Nominated and Domestic Sub-Contractors, which shall be deemed to include for: Allowing the use of standing scaffolding, maintenance and alteration of all scaffolding, retention of all scaffolding until such time as all relevant Sub-Contractors' works are complete and removal of all scaffolding on completion. Providing space for office accommodation, and for storage of plant and materials; allowing use of sanitary accommodation; the supply of all necessary water, and lighting; and clearing away all rubbish. An allowance for such attendance shall be given in the prime cost sums as provided. Whereas this is not priced, it shall be deemed to have been included elsewhere within the contract |  | 0
| The Contractor shall also accept liability for and bear the cost of Special Attendance on Nominated Sub-Contractors, which shall include for one or more of the following: Unloading for the subcontractors, storing in appropriate storage, hoisting, placing in position, providing specific power, provision of special scaffolding for the selected contractors etc. Cutting away for and making good after the work of Sub-Contractors other than builders works as may be required will be measured and valued separately by the Quantity Surveyor. |  | 0
| The Cost of "Fix Only" materials to be obtained from Nominated Suppliers which are covered by Prime Cost or Provisional Sums shall include for taking delivery where directed, checking with invoices or indents, reporting and claiming damages for shortages and damaged goods, defraying demurrage, signing for as having been received in good order, transporting, unloading, storing, covering and protecting until the time of fixing, unpacking, replacing anything lost or damaged, sorting, assembling, hoisting to required levels and fixing as described. |  | 0
| SUBCONTRACTORS | 0 | 0
| Before placing any orders with Nominated Sub-Contractors or Nominated Suppliers the Contractor must ascertain that the terms and conditions of the quotations and the dates of delivery of materials or execution of works comply with the terms of Contract and the Progress Schedule. |  | 0
| Whereas the contractor fails to meet the requisite requirement to execute specialist works measured herein. The client on recommendation from the Project Consultant reserves the right to omit such portions of work and subcontract to a specialist as required. |  | 0
| PRIME COST RATES | 0 | 0
| The Cost of "Fix Only" materials to be obtained from Nominated Suppliers. Where description of items includes a P.C. rate per unit this rate is to cover the nett supply cost of the unit only. The Contractor's price must include for the cost of the unit at the rate stated, plus waste, taking, delivery, storage, fixing in position, profit and overheads. The actual nett cost per unit will be adjusted within the Final Account against the P.C. rate stated. |  | 0
| PROTECTION | 0 | 0
| The Contractor shall cover up and protect from damage, including damage from inclement weather, all finished work and unfixed materials, including that of Sub- Contractors, etc., to the satisfaction of the Project Manager until the completion of the Contract, and carefully preserve all trees, bushes, plants, potted plants etc. on or near the Site. |  | 0
| CLEANING | 0 | 0
| The Contractor shall, upon completion of the Works, at his own expense, remove and clear away all surplus excavated materials, plant, rubbish and unused materials and shall leave the whole of the Site and Works in a clean and tidy state to the satisfaction of the Project Manager, including clearing away and making good all traces of temporary access roads, offices, sheds, camps, etc. Particular care shall be taken to leave clean all floors and windows and to remove all paint and cement stains. He shall also, at the discretion of the Project Manager, remove all rubbish and dirt as it accumulates. Cleaning shall be done as often as need arises and as many times as necessary. The Contractor is to find his own dump and shall pay all charges in connection therewith. The Contractor shall allow for protecting all work from damage in the course of cleaning and clearing any from site. |  | 0
| NOTICES AND FEES TO LOCAL AUTHORITIES AND PUBLIC UNDERTAKINGS | 0 | 0
| The Contractor shall allow for giving notices and paying any fees and charges in respect of compliance with Local Authority and Government Regulations. |  | 0
| THE NATIONAL COUNCIL FOR CONSTRUCTION (NCC) PROJECT REGISTRATION | 0 | 0
| The Contractor shall allow for paying any fees and charges with regard to project registration with the National Council for Construction (NCC). |  | 0
| CONTINGENCIES | 0 | 0
| A Provisional Sum for contingencies is provided in the Main Summary. This shall be omitted or expended in whole or in part at the direction of the Project Manager. |  | 0
| DISCOUNTS AND GENERAL PRICE REDUCTIONS | 0 | 0
| Whereas the contractor offers discounts on the prices given or the bid sum generally, such discounts shall be applicable to the contractors rates only. Whereas an agreement is reached with the client prior to re-evaluation of the pricing by the Quantity Surveyor. The contract bills of quantities for contract administration shall be adjusted as follows regardless of the stated discount by the bidder.1) All provisional and prime cost sum values as included in the tender bills of quantities shall be omitted.2) Rates shall be adjusted individually or generally to meet the revised contract sum(s) as may have been agreed with the client or representatives thereof.3)Addition of the non-discounted provisional and prime cost sums as included in the tender bills of quantities. The adjustment of the rates shall be done uniformly to meet the revised bid sum. Any discounts shall not apply to provisional and prime cost sums included in the original tender document unless a joint value engineering exercise is carried out in the presence of the Quantity Surveyor |  | 0
| PAYMENT OF PRELIMINARIES | 0 | 0
| The Valuation of Preliminaries included in interim certificates shall be in line with breakdown as provided and/or at value of works outlined herein. Where as a breakdown is not provided, the discretion of the Project Manager and/or Quantity Surveyor shall be utilised in line with the correct proportionment as a breakdown of the cost incurred as at the date of the valuation. |  | 0
| VALUATION OF WORKS | 0 | 0
| The Contractor shall submit to the Project Manager and/or Quantity Surveyors monthly statements of the estimated value of the work executed less the cumulative amount certified previously. The Project Manager and/or Quantity Surveyor may exclude any item certified in a previous certificate or reduce the proportion of any item previously certified in any certificate in the light of later information. Items of the Works for which no rate or price has been entered in shall not be paid for by the Employer and shall be deemed covered by other rates and prices in the Contract. |  | 0
| ANY OTHER MATTERS | 0 | 0
| The Contractor shall allow here for any other matters not allowed for in this document which he considers necessary for the successful completion of the project. |  | 0
A | Fixed Cost | Item | 1
P&G TO MAIN SUMARY

## DEMOLITIONS
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
| DEMOLITIONS (ALL PROVISIONAL) | 0 | 0
| NOTES ON DEMOLITIONS | 0 | 0
A | The contractor shall take all due care to provide shoring, needling, strutting and all temporary works necessary for supporting the existing structure in the course of demolitions and construction until it becomes self supporting | Item | 1
B | All materials designed for re-use on site shall be cleaned and carefully set aside and protected until need for re-use. Other re-usable materials from demolitions shall be the property of the employer and shall be bundled and transported to a site as directed by the employer | Item | 1
C | The contractor shall allow for and ensure that all demolitions and methods employed thereof conforms to the regulations by the Zambia Environmental Management Agency and/or Local authority in terms of Dust emissions, noise, ground pollutions etc | Item | 1
D | An inventory of recoverable materials shall be issued and handed over to the client outlining a list of recoverable materials | Item | 1
E | All debris arising from demolitions shall promptly be removed from site and dumped to an approved local authority dump site | Item | 1
F | No extra claims in this section shall be entertained | Item | 1
G | Prior to demolitions, The contractor is to carry out a survey for existing services and shall notify the local authorities on all existing services in liaison with the client and shall ensure that consent be issued and approvals granted for any disturbances, relocations and removals of existing services. The contractor shall take due care of such during demolitions as no further claim shall be entertained on account of lack of knowledge in this respect having damaged any existing services. | Item | 1
| DEMOLITIONS | 0 | 0
A | Carefully demolish existing wall overall area 75m². Make good all disturbed works | Item | 1
B | Carefully and neatly remove existing partitions and hand over to the client. Make good all disturbed works . Overall area approx 20m² - Tellers | Item | 1
C | Carefully and neatly remove existing teller counters overall length 12000mm and hand over to the client. Make good all disturbed works . Banking Hall/ Tellers | Item | 1
D | Carefully remove existing Timber strip ceiling and allow for the installation of a new ceiling as required (M.S). Making good all disturbed works. Overall area 400m² | Item | 1
E | Carefully and neatly remove existing doors and related accessories. Size 900 x 2000mm (Quantity to be observed on site) and hand over to the client. Make good all disturbed works. | Item | 1
F | Carefully and neatly remove existing Aluminium partitions to entrance and related accessories. Approx length 25m and hand over to the client. Make good all disturbed works. | Item | 1
G | Allow for propping of beams where necessary and as indicated | Item | 1
H | Carefully and neatly remove/hack out existing floor finishes and prepare to receive new floor finish. Make good all disturbed works, cut away debris. Overall area 400m² | Item | 1
J | Make good all existing walls internally by sanding, skimming with Rhinolite and prepare for new finish as per wall schedule Overall area 450m² | Item | 1
K | Carefully scrap off the existing external walls approx area 600m2 or as per Project Managers instruction, prepare surfaces to receive new painting, remove all debris to an approved dump site and make good all disturbed trades | Item | 1
A | Remove all existing light fittings, defective cabling and any other as determined by the Architect to be repositioned or handed over to client according to electrical layout and Architects instructions and replace all defective items (if any), make good all disturbed works and restore to working order. | Item | 1
B | Provide for servicing of 1No. vault door size 1000 x 2000mm. Make good all disturbed works. | Item | 1
C | Allow a Provisional Sum of Forty Thousand Zambian Kwacha for Temporal Relocation of Branch to continue with branch operations | Item | 1
DEMOLITIONS TO MAIN SUMMARY

## BANK BUILDING
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
| REINFORCED CONCRETE SUPERSTRUCTURE | 0 | 0
| PREAMBLES TO CONCRETE WORKS | 0 | 0
A | The contractor shall allow for provision of mix design, factory test certificates and prepare sample cubes based on the approved mix design including testing to engineers approval | Item | 1
B | The contractor shall allow for provision of sample aggregates including testing of aggregates to engineers approval | Item | 1
| CONCRETE WORKS | 0 | 0
| Vibrated reinforced concrete class 30 in | 0 | 0
C | Staircases | m3 | 2
D | Ramps, thickness 200mm | m2 | 8
| FORMWORK AND SHUTTERING | 0 | 0
| Sawn formwork including propping to heights to engineers approval as described to | 0 | 0
E | Soffits of Staircases and ramp Landings | m2 | 17
F | Sloping soffits of Staircases and ramps | m2 | 9
G | Staircase risers not exceeding 200mm high | m | 9
H | Sides of Staircases and ramps risers and landings | m2 | 3
| REINFORCEMENT (ALL PROVISIONAL) | 0 | 0
| Mild steel bar reinforcement to B.S. 4449 | 0 | 0
J | 10 mm Diameter bars | kg | 100
| High yield deformed steel bar reinforcement to BS 4461 | 0 | 0
K | 12 mm Diameter bars | kg | 150
| Worked Finishes to concrete works | 0 | 0
A | Allow for making grooves to ramps and walkways as per architects specifications | Item | 1
| QUALITY ASSURANCE | 0 | 0
| Testing and Quality Control | 0 | 0
B | Allow for carrying out concrete cube tests in 3 No. Per test to engineers approval and satisfaction | No | 1
| REINFORCED CONCRETE TO SECTION SUMMARY |  | 0
| WALLING AND PARTITIONING SAMPLES | 0 | 0
| PREAMBLES | 0 | 0
A | Allow for providing samples of all bricks and blocks as described including testing in approved Laboratory to engineers satisfaction | Item | 1
| BLOCK WORK | 0 | 0
| Hollow concrete block walling (of Minimum crushing strength of 3.5N/sq mm) to B.S.2028 in cement mortar (1:4) | 0 | 0
B | Walling, thickness . 200 mm | m2 | 45
| WALLING ACCESSORIES | 0 | 0
| One layer of three ply bituminous felt sheeting as damp proof course as described well lapped at joint sand junctions (measured net) | 0 | 0
C | On 200 mm Walls. | m | 25
| 26 Gauge mild steel "Brickforce" reinforcement laid horizontally in mortar joint with 100mm end laps | 0 | 0
D | To walling, width size 200 mm | m | 75
| AlUMINIUM WALL PARTITIONING | 0 | 0
| Supply and Install 75mm thick Matte Black anodised aluminium frame partitions with sections 1.5mm profile guage with 6.38mm laminated clear glass and all with door closers and stainless steel complete with all required accessories to architects approval | 0 | 0
E | Matte Black anodised aluminium frame partitions with sections 1.5mm profile gauge with 6.38mm laminated clear glass and all with door closers and stainless steel complete with all required accessories to architects approval | m2 | 30
| DRY WALL PARTITION | 0 | 0
| Supply and install dry wall partition all complete with necessary structural framing, with 9mm gypsum board on both sides and skimmed to perfect finish to Architect's satisfaction and approval. | 0 | 0
A | Dry wall partition | m2 | 120
| WALLING AND PARTITIONING TO SECTION SUMMARY |  | 0
| EXTERNAL FINISHINGS | 0 | 0
| PREAMBLE NOTES | 0 | 0
A | The Contractor shall allow for provisional of all finishes samples for approval by the Architect and Project Manager. The approved sample shall be kept in the site office to be displayed through the project duration | Item | 1
B | All floor finishes, tiling to be provided with approved spacers, tile timmers, grouting colors to be laid in approved colours | Item | 1
| WALL FINISHES | 0 | 0
| Render; cement and sand (1:4); wood floated;externally to | 0 | 0
C | Blockwork and concrete surfaces . 20 mm | m2 | 1550
D | Small widths and reveals . 100 to 200 mm girth | m | 100
| EXTERNAL FINISHES TO SECTION SUMMARY |  | 0
| INTERNAL FINISHINGS | 0 | 0
| PREAMBLE NOTES | 0 | 0
A | The Contractor shall allow for provisional of all finishes samples for approval by the Architect and Project Manager. The approved sample shall be kept in the site office to be displayed through the project duration | Item | 1
B | All floor finishes, tiling to be provided with approved spacers, tile timmers, grouting colors to be laid in approved colours | Item | 1
C | The contractor shall allow for tile transition and expansion strips in line with the various finishes outlined in the drawings | Item | 1
| CEILING FINISHES | 0 | 0
| Suspended Ceiling; in aluminium grid with main and cross Tees including fixing with 2.5mm diameter wire and stainless steel hangers to support to architects approved samples | 0 | 0
D | 9.5mm thick BPB Gyprex Fissured factory painted white Gypsum ceiling tiles, laid on and including donn SQ/T38 white pre-painted main Tees, cross Tees holding down clips, wedges etc. all suspended with galvanised hangers from roof system. hanger centres n.e 1200mm, size 600 x 600 mm | m2 | 400
| Bulkhead ceilings measured complete with galvanised steel hangers, wires and ties as support framework | 0 | 0
E | 9mm flush plastered gypsum ceiling to horizontal bulkhead members including suspending on concealed galvanized steel brandering at centres as required complete with all suspension systems and nailing gypsum ceiling panel with 25mm dry wall screws spaced at 150mm centres,at 2450mm A.F.F.L | m2 | 42
A | 9mm flush plastered gypsum ceiling to vertical bulkhead members including suspending on concealed galvanized steel brandering at centres as required complete with all suspension systems and nailing gypsum ceiling panel with 25mm dry wall screws spaced at 150mm centres,at 2100mm A.F.F.L | m2 | 30
| FLOOR FINISHES | 0 | 0
| Cement and sand (1:4) paving, steel trowelled smooth | 0 | 0
B | Paving steel trowelled to floor slabs to match floor finish, thickness 40 mm | m2 | 370
| Supply and install Porcelain Tiles in Client approved colours and pattern C60812 supplied by: Make a Home. | 0 | 0
C | 600 x 600 x 10mm High Grade MATTE WHITE porcelain tiles other equal and approved tiles fixed with approved adhesive and pointed in lighter grout to joints | m2 | 130
| Supply and install Rubber mat as ' HEAVY DUTY ZANACO BRANDED RUBBER MAT' to be supplied by William Scott or equal and approved to Architect's approval. | 0 | 0
D | Supply and fix heavy duty as 'ZANACO BRANDED RUBBER MAT' to Architect's approval, overall size 1.8m x 1.2m | No | 3
| Supply and install Carpet tiling including fixing with approved adhesive and accessories as Berber Point 920 Carpet tiles code; Mpande brown supplied by Belgotex or other equal and approved | 0 | 0
E | 500 x 500 Rubberised Heavy Commercial Induna Carpet tile- Mpande ( Brown Coloured) Tile on screeded floor with approved fixed with approved adhesive | m2 | 87
| Supply and install Wood finish Porcelain Floor tiles as Grade A-150 x 600 including fixing with approved adhesive and accessories, Code 025-50161506 supplier Make a home | 0 | 0
F | 150 x 600mm Ambrosia (2) Baobab Brown type wood finished | m2 | 35
| Supply and install Non -slip porcelain tiling including fixing with approved adhesive and accessories, code IMI230A as supplied by Handmans | 0 | 0
A | 600 x 600mm Non-slip Porcelain tiles SILVER GREY | m2 | 120
| Raised flooring complete with all accessories and finishes to architects details | 0 | 0
B | Anti-static Rubber Tiles | m2 | 50
| Supply and install Anti-static Rubber fixed to cement/sand floor screed finish | 0 | 0
C | Supply and fix 100mm site cut concore or steel floor panel complete with 3/4-10 UNC galvanised adjusting jan nut and stub, locking stay and 7/8" square galvanised steel tube, complete with 4x4 galvanised steel base and top plate, pedestal assembles with swivled head finished with conductive rubber tiles class-0 qualified floor with stringes and deep draw access floor panels all as detailed on the relevant architectural drawings | m2 | 30
| WALL AND SURFACE FINISHES | 0 | 0
| Render; cement and sand (1:4); steel trowelled smooth;internally | 0 | 0
D | 13 mm thick coat to blockwork, beams and columns | m2 | 450
E | Small widths and reveals . 100 to 200 mm girth | m | 80
| Supply and install Grey Non-slip Ceramic wall tiles as supplied by Handymans with approved adhesive, corner beads and pointed in lighter grout to joints to clients approved colour range and to the satisfaction of the Architect | 0 | 0
F | 300 x 300mm x 8mm Grey -Non Slip Ceramic wall tiles fixed to walls with approved tile adhesive, grouting and pointing to architects approval | m2 | 140
| Supply and fix the following in tile Skirtings to match floor finish | 0 | 0
A | Supply and fix skirtings to match floor finish including fixing to walls and floor and with approved adhesive, size . 100 x 25 mm | m | 180
| INTERNAL FINISHES TO SECTION SUMMARY |  | 0
| PAINTING AND BRANDING INSTALLATIONS | 0 | 0
A | The contractor shall allow for testing and provision of manufacturers warranty and certification. Quality assurance shall be issued prior to commencement of works. Failure to attain specifications and per manufacturers details shall render the contractor to carry out re-works without claim for additional costs. | Item | 1
B | The contractor shall ensure that the finishing final coat on all paint works to be done a month before hand over to the Bank | Item | 1
C | The painting contractor shall ensure that all walls are sufficiently prepared before any paint works | Item | 1
| WALL CLADDINGS AND SPECIALISED FINISHES | 0 | 0
| Supply and fix the following in stone cladding complete with bonding to walling/sufaces to engineers specifications | 0 | 0
D | ZANACO approved stone cladding to Architects approval including fixing to manufacturers details to architects approval and satisfaction as WF1 | m2 | 60
| EXTERNAL FINISHES PAINTING | 0 | 0
| Prepare and apply three coats Exterior Weather Guard Paint as " Plascon" or " Dulux" in ZANACO Lion's Den to plastered walls | 0 | 0
E | Blockwork | m2 | 1550
F | Small widths and reveals, 100 to 200 mm girth | m | 100
| INTERNAL FINISHES PAINTING | 0 | 0
| Prepare and apply three coats WHITE LUXURIOUS Silk Paint to match " Plascon" Wall & all product Range to Architects Approval | 0 | 0
G | Plastered walls and columns | m2 | 360
A | Plastered Small widths and reveals . 100 to 200 mm girth | m | 48
| Prepare and apply three coats GREY APPROVED LUXURIOUS Silk Paint to match " Plascon" Wall & all product Range to Architects Approval | 0 | 0
B | Paint to plastered walls and columns | m2 | 336
C | Paint to Plastered small widths and reveals. 100 to 200mm girth | m | 10
| Prepare and apply three coats LAMSAAT TEXTURED PAINT as "MONOCOUCHE M19 " with MINERAL YELLOW ACLYRIC cover paint by " Plascon" as '10Y40/608' | 0 | 0
D | Paint to plastered walls and colulmns | m2 | 45
E | Paint to Plastered small widths and reveals. 100 to 200mm girth | m | 10
| Prepare and apply three coats LAMSAAT TEXTURED PAINT as "PEBBLE BLACK " Exterior Weather Guard Cover Paint as 'S-334" Colour Code Pantone P179-14c | 0 | 0
F | Paint to plastered walls and colulmns | m2 | 10
G | Paint to Plastered small widths and reveals. 100 to 200mm girth | m | 5
| PAINTING TO DOORS | 0 | 0
| Prepare, touch up primer, one universal undercoat, and two coats 'Plascon' non - drip low gloss enamel finish to all door frames | 0 | 0
H | Surfaces . 100 - 200 mm girth | m | 34
| Preparing, knot, stop, prime with pink wood primer, stop and paint, one universal undercoat, two coats ' PLASCON' non - drip low - gloss enamel finish at flush doors | 0 | 0
J | General Surfaces of woodwork | m2 | 38
| Preparing, knot, stop and vanish, one universal undercoat, two coats ' PLASCON' non - drip low - gloss enamel finish at hardwood doors | 0 | 0
A | Hardwood tile skirting in approved design including fixing to walls to Project Managers approval, 100mm high | m | 156
| PAINTING AND BRANDING INSTALLATION TO SECTION SUMMARY |  | 0
| DOORS AND SHOPFRONTS | 0 | 0
| PREAMBLES AND NOTES | 0 | 0
A | The following items and descriptions shall be read in conjunction with the Arhitectural Drawings and Spefications which shall form part of the tender documents | Item | 1
B | All sizes and specifications of items in this section should be confirmed and approved by the project architect prior to purchase | Item | 1
| ALUMINIUM SHOPFRONTS AND DOORS | 0 | 0
C | All works under this section are to be executed by an approved specialist | Item | 1
D | All doors under this section are measured complete with glazing and other associated fixtures | Item | 1
| Supply and fix 6.3mm thick glazing in purpose made Natural Anodised aluminium framed (Matt black in colour)shopfront with top hang opening out sections and fixed sections as indicated on drawing complete with clear safety glazing to comply with NBR ,lockset, fitting to walls with specialised bolts, including associated accessories all as per architectural details and specialist specifications, | 0 | 0
E | Natural Anodised Aluminium Shop front with folding panels as complete with 6.3mm thick laminated clear glass with silicon sealed joints ,complete and locking devices, associated fixtures and fitments to make it workable to the satisfaction of the Architect, overall size including doors and dwarf walls as Panel 1 | m2 | 10
| Supply and fix 6.3mm thick purpose made powder coated aluminium framed (Approved colour)shopfront with top hang opening out sections and fixed sections as indicated on drawing complete with clear safety glazing to comply with NBR ,lockset, fitting to walls with specialised bolts, including associated accessories all as per architectural details and specialist specifications, | 0 | 0
A | Anodized Aluminium Frame with 6mm Laminated glass with silicon sealed joints,all doors complete with cranked -T Type Push -Pull handles, stainless steel door stoppers, 4 No. Stainless steel hinges and approved quality QS 690V Type High traffic door closers, including all associated fixtures and fitments to make it workable to the satisfaction of the Architect, overall size including doors and fixed frames 2329 X 2200 mm as Panel 3 | m2 | 5
| SPECIALISED DOORS | 0 | 0
B | All doors are measured complete with associated glazing, locking devices and all other associated fittings and fitments required for their complete functionality | Item | 1
| The following in high level security doors complete with frames, locks, barrel bolts, closers and other accessories including fixing to manufacturers details | 0 | 0
C | ATM Door to be CAT. 2 Chubb Door with grill, supplied by Zambia Safes & Equipment Limited complete with frame and ironmongery to manufacturer's specification, including Heavy Duty Steel wall mounted door stops complete all other accessories fixtures and fitments Overall size 1000 x 2000mm | No | 1
D | C.I.T Entrance as CAT.1 Security Type Double door to be supplied by Zambian Safes & Equipment Overall size 1200 x 2000mm as D5 | No | 1
| The following Glazed panel door upplied complete with all closers, locks and accessories as per architects schedule | 0 | 0
A | Glazed Panel door with Cranked T Type Push/ Pull Handles to Architect's approval supplied complete with all aluminium door retainers and other accessories as per architects door schedule or equal and approved to the approval of the Architect, size 800 x 2200mm as D2 | No | 6
| HARDWOOD AND FLUSH DOORS | 0 | 0
| Supply and fix the following Hardwood doors to BS 459 as supplied by Mukatasha ot other equal and approved. | 0 | 0
B | Cherry wood Veenered Hardwood door with QS 4434 Type coat Hanger complete with YALE industrial Lockset and HAFELE Mortice to Architects Approval. Overall size 800 x 2000mm as D3 | No | 4
C | Cherry wood Veenered Hardwood door with QS 4434 Type coat Hanger complete with YALE industrial Lockset and HAFELE Mortice to Architects Approval. Overall size 700 x 2000mm as D4 | No | 6
| IRON MONGERY AND ACCESSORIES | 0 | 0
| Supply and fix ironmongery with matching screws as 'union' or other equal and approved | 0 | 0
D | Three lever mortice lock as "HAFELE " or other equal and approved Lever handle furniture | No | 10
E | QS 690v Type High Traffic door closer to architects approval | No | 17
F | Stainless steel or Rubber floor mounted type door stops screwed to floor or wall to Architects Approval | No | 17
G | Supply and install Indicator bolts as per architectural drawings; | No | 4
H | Supply and install aluminium push handle complete with aluminium push plate and associated three lever lock including all accessories to architects approval | No | 10
A | Supply and fix Barrel bolts as union or other equal and approved including mounting to doors with screws to architects approval | No | 4
| DOORS AND SHOPFRONTS TO SECTION SUMMARY |  | 0
| WINDOWS | 0 | 0
| PREAMBLES AND NOTES | 0 | 0
A | All windows are measured complete with associated glazing, locking devices and all associated fittings and fitments. No extra claim will be entertained for non compliance of this item. | Item | 1
B | All sizes and specifications of items in this section should be confirmed and approved by the project architect prior to purchase | Item | 1
| Supply and fix the following aluminium windows | 0 | 0
C | Anodized Aluminium 3 No. glazed staggered windows each measuring 2000 x 400mm including 6mm thick laminated clear glass including all associated beading to main fixed panel and locking devices as aluminium city handles and locks to make it workable and fixing in position all as shown on appropriate Architectural Drawing to the satisfaction and approval of the Architect, overall size 2000 x 2000mm as W2 | No | 1
D | Anodized Aluminium 3 No. glazed staggered windows each measuring 1580 x 400mm including 6mm thick laminated clear glass including all associated beading to main fixed panel and locking devices as aluminium city handles and locks to make it workable and fixing in position all as shown on appropriate Architectural Drawing to the satisfaction and approval of the Architect, overall size 2000 x 2000mm as W3 | No | 1
WINDOWS TO SECTION SUMMARY
0
SECTION SUMMARY
1 | REINFORCED CONCRETE SUPERSTRUCTURE | Page | 6
2 | WALLING AND PARTITIONING | Page | 8
3 | EXTERNAL FINISHES | Page | 9
4 | INTERNAL FINISHES | Page | 13
5 | PAINTING AND BRANDING INSTALLATIONS | Page | 16
6 | DOORS AND SHOPFRONTS | Page | 20
7 | WINDOWS | Page | 21
TOTAL TO MAIN SUMMARY

## EXTERNAL WORKS
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
| DRIVEWAYS AND PARKING | 0 | 0
| Earthworks and Layer Works | 0 | 0
| Scarify surface | 0 | 0
C | Prepare the surface to receive layer works by Scarifying/chiping or any method specified by the Engineer, roll and compact to falls and cambers, well watered to a density of 93% modified A.A.S.H.O | m2 | 200
| Sub base material | 0 | 0
D | Imported laterite filling to make up levels, (CBR 60) well compacted and watered to 95% A.A.S.H.T.O in layers, thickness . 150mm | m2 | 200
| Crusher run Base material | 0 | 0
E | Imported Crusher run filling to make up levels, well compacted with 4% cement stabilsation to 98% A.A.S.H.T.O in layers, thickness 150mm | m2 | 200
| DRIVEWAY FINISHES | 0 | 0
| Paving Bricks | 0 | 0
F | 85mm Heavy Duty Paving bricks on compacted base laid to falls, with butt joints and with a dry cement/sand mixture well rubbed into all joints, wet gently with sprinkler and all excess sand swept off, all to Engineer's detail. | m2 | 200
| EXTERNAL WORKS TO MAIN SUMMARY |  | 0

## ELECTRICALS
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
| ELECTRICAL, TELEPHONE AND DATA INSTALLATIONS | 0 | 0
| NOTES ON ELECTRICAL INSTALLATIONS | 0 | 0
A | The following items and descriptions shall be read in conjunction with the Electrical Engineers Drawings which shall form part of the tender documents | Item | 1
B | CAS and IEE wiring rules shall be followed for all Electrical installations | Item | 1
C | All materials and workmanship to be tested and approved by the Engineers in compliance with the regulations before execution on site. All quries and discrepancies to be refered to the Engineer | Item | 1
D | MCB's/MCCB's to be 'MERLIN GERIN' or 'CBI' 'HYMAG' mak with applicable short circuit current rating. | Item | 1
| Main Distribution Board (MDB) | 0 | 0
E | Allow a provisional sum of Forty- Thousand Kwacha for the installation and setting to work a Distribution Board including all necessary breakers to make it workable | No | 1
| THE FOLLOWING LIGHT AND POWER INSTALLATIONS AND FITTINGS FROM DISTRIBUTION BOARDS |  | 0
| LIGHTING INSTALLATIONS AND FITTINGS | 0 | 0
| Supply, deliver, install, connect and set to work cabling for lights and switches, including cabling, cable glands, switch and socket outlet boxes and all accessories as specified on the relevant drawings | 0 | 0
F | Light and associated switch points in 2 x 1.5 square milimetres PVC/CU+1.5 square milimetres ECC in conduits for light fittings | No | 91
G | Light and associated switch points in 2 x 1.5 square milimetres PVC + E cables in conduits for Photocell | No | 1
| Supply, deliver, install, connect and set to work the following power fittings as specified or others of similar standard and performance specification approved by the Electrical Engineer | 0 | 0
A | 600 x 600mm, 42W reccessed LED panel light c/w philips driver - IP41 and all required accessories as "GENLUX LIGHTING" GME -PL606042SL-F or other equal and approved | No | 43
B | 2XPL26W Recessed down lightfitting C/w Deco Glass | No | 36
C | External Industrial Spolight to Architect's Approval | No | 10
D | Wall mounted 2x36W 1200mm Long Batten Fluorescent Light Fitting C/W Ballast, capacitor & Starter | No | 2
E | L.E.D Light (Red) Bead | m | 85
| Supply, deliver, install, connect and set to work the following power fittings as specified or others of similar standard and performance specification approved by the Electrical Engineer | 0 | 0
F | Photocell as 'LEGRAND' | No | 1
G | 10A One gang two way light switch as "LEGRAND BELANKO" 6 170 01 WHITE | No | 18
H | 10A Two gang Two way Plate switch as "LEGRAND SYNERGY" 7 300 01, WHITE | No | 4
J | 10A Three gang Three way Plate switch as "LEGRAND SYNERGY" 7 301 24, WHITE | No | 1
| POWER INSTALLATIONS AND FITTINGS | 0 | 0
| Supply, deliver, install, connect and set to work cabling for lights and switches, including cabling, cable glands,switch and socket outlet boxes and all accessories as specified on the relevant drawings | 0 | 0
K | Power points in 2 x 2.5mm square milimetres PVC + E cables in conduits for socket outlet | No | 62
A | Power points in 2 x 2.5mm square milimetres PVC + E cables in conduits for Hand dryer. | No | 2
B | Power points in 2 x 2.5mm square milimetres PVC + E cables in conduits for socket outlet for weather proof isolator points for AC external unit | No | 6
C | Power points in 2 x 4mm square milimetres PVC + E cables in conduits for socket outlet for weather proof isolator points for AC external unit | No | 5
D | Power points in 2 x 4mm square milimetres PVC + E cables in conduits for socket outlet for Cooker control | No | 1
| Supply, deliver, install, connect and set to work the following power fittings as specified on the relevant drawings | 0 | 0
E | 45A double pole cooker control unit as "MK" complete with flexible conduit mounted at 1450mm A.F.F.L | No | 1
F | 13A Single switch socket outlet wall(Flush) Normal power mounted at high level for extract fan/fap as "LEGRAND BELANKO" 6170 41 WHITE | No | 25
G | 13A Double switch socket outlet wall(Flush) Dedicated power red colour mounted as "LEGRAND BELANKO" 6170 | No | 27
H | 20A DP Switch as "LEGRAND SYNERGY" | No | 6
J | 15A DP Switch as "LEGRAND SYNERGY" | No | 5
K | 15A SP One gang switched socket outlet ah high level Flush Mounted as "LEGRAND SYNERGY" 7 338 70 | No | 8
L | 3 Compartment flush installed floor box in Floor Slab complete with 2No. 13A Double shuttered retractable sockets and flush fitted cover | No | 10
M | Hand dryer ( at 1400mmAFFL) as "XPELAIR" XHDI c/w isolator point (20A DP Switch) at 2200mm AFFL | No | 2
| Trunking mounted fittings | 0 | 0
A | 3 compartment, 2 cover PVC DLP trunking 150mmx50mm depth as "LEGRAND" 104 27 | m | 40
| CABLE TRAYS AND ACCESSORIES | 0 | 0
| Supply, deliver, install, connect and set to work the following cable tray and conduits and all accessories as specified on the relevant drawings | 0 | 0
B | 152x38mm height medium duty perforated cable tray c/w mounting bracket & accessories for electrical cables as 'CABSTRUT' | m | 100
| TELEPHONE AND DATA INSTALLATIONS | 0 | 0
| Supply, deliver, install, connect and set to work cabling telephone outlet and all accessories as specified on the relevant drawings | 0 | 0
C | Telephone point suitable for RJ45 CAT-6 cable as " LEGRAND" | No | 17
D | Computer data socket point trunking as "LEGRAND" RJ 45 CAT-6 | No | 26
| Supply, deliver, install, connect and set to work telephone and data outlet and all accessories as specified on the relevant drawings | 0 | 0
E | HUB Panel | No | 2
F | Telephone Fitting suitable for RJ45 CAT-6 cable as " LEGRAND" | No | 17
G | Data Fitting suitable for RJ45 CAT-6 cable as " LEGRAND" | No | 24
H | Telephone/data draw in box (300x300x100mm GI) | No | 41
| FIRE ALARM INSTALLATIONS | 0 | 0
| Supply, deliver, install, connect and set to work conduits for fire alarm system fittings including cabling, cable glands, junction boxes, draw wires, switch and socket outlet boxes and all accessories as specified on the relevant drawings | 0 | 0
A | Fire alarm auxiliary panel 2-Zone cable in conduits | No | 1
B | Manual fire alarm break glass points in class 3 cable in conduits | No | 1
C | Fire alarm bell points in class 3 cable in conduits | No | 2
D | Smoke detector point class in class 3 cable in conduit. | No | 19
E | Heat detector point class in class 3 cable in conduit. | No | 2
F | Beacon | No | 3
G | Fire retardent cable in 25mm diameter PVC conduit in ceiling as REPUTED | m | 150
| Supply, deliver, install, connect and set to work the following Fire fighting fittings as specified or others of similar standard and performance specification approved by the Electrical Engineer | 0 | 0
H | Fire alarm auxiliary panel as 'JSB FIRE SYSTEMS' FX2202 | No | 1
J | Manual Fire alarm break glass unit (intelligent addressable) as 'JSB FIRE SYSTEMS' FXN501 | No | 1
K | Fire alarm break glass unit as 'JSB FIRE SYSTEMS' FX201 | No | 2
L | Smoke detector as JSB FIRE SYSTEMS FXN533 | No | 19
M | Heat detector as JSB FIRE SYSTEMS FXN524+FXN520 | No | 2
N | Beacon | No | 3
| BUILDERS WORKS IN CONNECTION WITH ELECTRICAL AND ELECTRONIC INSTALLATIONS | 0 | 0
A | Provide for Builders Work in connection with electrical installations. | Item | 1
0
ELECTRICAL INSTALLATIONS TO MAIN SUMMARY

## PROVISIONAL COST
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
| PROVISIONAL AND PRIME COST SUMS | 0 | 0
| PREAMEBLES/NOTES ON PROVISIONAL SUMS | 0 | 0
| The Contractors attention is drawn to the preliminaries where the administration of prime costs and provisional sums is further outlined. All works herein remain subject to the Clients/Project Managers discretion in terms of administration. |  | 0
| All provisions as given shall not form part of/be subject to any discounts given by the contractor either during tender or negotiations unless done in the presence of the Quantity Surveyor. |  | 0
A | All allowances made herein are provisional and remain subject to adjustments for final designs/tender and installations to be carried out. | Item | 1
| PROVISIONAL SUMS | 0 | 0
B | Allow provisional sum of Twenty Thousand Kwacha for additional Landscaping, additional external lighting and external works as approved by Architect | Item | 1
C | Allow provisional sum of Twenty-Five Thousand Kwacha for plumbing installation and making good any disturbed works in the Ablutions as per Architects detail | Item | 1
D | Allow for General Attendance | %IT | 5
E | Allow provisional sum of Thirty-Five Thousand Kwacha for Construction of Teller Counters complete with blockwork and granite tops as per Architects detail | Item | 1
F | Allow for General Attendance | %IT | 5
PC SUMS TO MAIN SUMMARY

## MAIN SUMMARY
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | PRELIMINARIES AND GENERAL ITEMS
2 | DEMOLITIONS/REMOVALS
3 | BUILDERS WORKS
4 | ELECTRICAL INSTALLATIONS
5 | EXTERNAL WORKS
| SUB-TOTAL | ST | 0
| CONTINGENCY |  | 0
| Provide for Contingencies a Provisional Sum of Zambian Kwacha Equivalent to 10% of the measured works | TAX | 10
| SUB-TOTAL | ST | 0
6 | PRIME COST AND PROVISIONAL SUMS | Page |  | 0
| SUB-TOTAL | ST | 0
| VALUE ADDED TAX | TAX | 16
| GRAND TOTAL | ST | 0