## PRELIMINARIES
PROPOSED REMODELING WORKS ZANACO BRANCH- ACACIA - NOVEMBER 2022
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATES | AMOUNT
PRELIMINARIES AND GENERAL ITEMS
DESCRIPTION OF THE WORKS
The works comprises the Renovations of Zambia National Commercial Bank (ZANACO) Acacia Branch including Demiltions and Installation of new items including floor, wall and Ceiling Finishes including power and lighting and Air-Conditioning. All Services Installations and other specialist works and fittings are to be installed in strict compliance to the Engineer’s detail and manufacturers specifications by an approved specialist.
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
| DRAWINGS AND SCHEDULE OF WORKS | 0 | 0
| The Drawings used in preparing the Bills of Quantities are scheduled under an appropriate section in the appendices at the end of the Bills of Quantities and provided as part of the tender documents. These drawings are representative of the work to be carried out and, when read with the specification, provide information for installation purposes. It will be the contractor's responsibility to check dimensions and details with the Project Manager’s, Structural Engineer's, Electrical and Mechanical Engineer's and other relevant drawings prior to installation, and any discrepancy must be reported to the Project Manager before work is put in hand. |  | 0
| Where necessary, the contractor shall provide, at his own cost, such detail drawings, working drawings, detail builders work drawings, wiring drawings, etc as may be called for by the Project Manager to assist co-ordination, proper installation and completion of the works. |  | 0
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
Carried forward
Brought Forward
| The contractor shall keep on site, available for reference by the Project Manager or other authorised person a full set of installation drawings on which he shall record deviations as the work proceeds. |  | 0
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
| GENERAL DESCRIPTION OF MATERIALS AND WORKMANSHIP | 0 | 0
| A document giving a general description of materials and workmanship may be inspected at the offices of the Project Manager and shall form a part of this contract whereas these are not attached to the document.The Contractor shall carry liability over and above the defects liability period in terms of warranties on specified materials/brands and shall be responsible and carry the sole risk of ensuring counterfeit products are not used on the Project. The contractor shall replace all items failing before the expiration of the manufacturers warranty period irrespective of the stated defects liability period provided such materials fail within the manufacturers warranty period. |  | 0
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
CONSTRUCTION PROGRAM
| The Contractor shall provide as part of his tender a gantt chart program indicating how he plans to achieve completion of the works within the proposed construction period. The bidder shall further be required to provide detailed programs from time to time as required by the Project Manager. Failure to provide such programs shall result in punitive measures as outlined in the contract |  | 0
G | Fixed Cost | Item | 1
H | Value Related Cost | Item | 1
J | Time Related Cost | Item | 1
Carried forward
Brought Forward
PHASED CONSTRUCTION PROGRAM
The works as measured in the Bills of Quantities may be phased in implementation as mutually agreed by the Client and Contractor
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
EXISTING AND ADJACENT PROPERTY
| The attention of the Contractor is drawn to the fact that the adjoining premises/buildings will be fully occupied and operational during the course of the works and that he must comply with all requirements or restrictions regarding the phasing and control of pollution applying to these works. The restrictions may relate to type of plant to be used, the methods of works to be adopted, the hours of working amd may, in addition impose a maximum noise level within the work area which may not be exceeded. The Contractor must take all steps necessary to safeguard existing and adjacent property, make good at his own expense any damage to persons or property caused thereon, and hold the Employer indemnified against any such claim arising. |  | 0
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
The Contractor shall confine to the site all persons employed on the works including Subcontractors ans Suppliers, keeping all unauthorised persons off the site, take all measures to safeguard the works against theft and provide, erect, maintain and alter as necessary temporary barriers and the like required for this purpose.
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
Carried forward
Brought Forward
The Contractor will be held fully responsible for the safety of the existing and adjacent buildings, Landscaped areas and for any damage caused in consequences of these Works. He must reinstate all damages at his own expense and indemnify the Employer against any loss.
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
NUISANCE, NOISE AND ENVIRONMENTAL POLLUTION
| All operations necessary for the execution of the works and for the construction of any temporary works shall, as far as compliance with the requirements of the contract permits, be carried on so as not to interfere access unnecessary or improperly with the Employers convenience or the access to use or occupation of the building, public or private roads and footpaths or of properties, whether in the possession of the Employer in respect of all claims, demands, proceedings, damages, costs, charges and expenses whatsoever arising out of it in relation to any such matters. The Contractor must take such steps and exercise such care and diligence as to minimise nuisance from dust, noise or any other cause to the occupiers of the existing and adjacent property as well as the general public at large. The Contractor shall deal with any complaints which may arise due to lack of the foregoing precautions and such arrangements and negotiations as may be necessary, including temporarily suspending any portion of the works. No instruction issued by the Project Manager shall relieve the Contractor from his obligation to comply with these clauses. |  | 0
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
Carried forward
Brought Forward
If through neglect, nuisance, noise, pollution etc does occur, the Contractor will be held wholly responsible and he is to indemnify the Employer and hold him harmless against all or any claims which may be made in this respect.
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
DEFINITIONS AND ABBREVIATIONS
| Terms used in these Bills of Quantities shall be interpreted as follows: "Works" Shall mean the whole of the works envisaged by this contract including, unless expressly stated otherwise, the works of subcontractors, specialists, Local authorities and Public Undertakings. " Project Manager" Shall mean the Project Project Manager "Approved" Shall mean approved by the Project Manager. "as directed" Shall mean as directed by the Project Manager. "B.S." Shall mean the current British Standard Specification published by the British Standards Institution, 2 Park Street, London W.1., England. "Z.S." Shall mean Zambian Standard Specification as published by the Zambia Bureau of Standards. "m3" Shall mean Cubic Metres "m2" Shall mean Square Metres "m" Shall mean Metres "mm" Shall mean Milimetres "kg" Shall mean Kilograms "no." Shall mean Number "ZMW" or "K" Shall mean Zambian Kwacha "USD" or "US$" Shall mean United State Dollars "SABS" Shall mean South African Bureau of Standards "ZABS" Shall mean Zambia Bureau of Standards |  | 0
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
Carried forward
Brought Forward
FORM OF CONTRACT
The Contractor will be required to enter into a Contract which will be the form based Clients standard form of contract document for works as included in the "Conditions of Contract" in this tender document. The contractors attention is drawn to the various clauses within the proposed contract and allowances such made for contractual obligations therein. Whereas the contract remains silent on certain provisions. The clauses herein shall take effect. The contractor is further drawn to other prevailing governing statutes which shall form part of this contract
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
PERFORMANCE BOND
The Contractor shall provide one Surety who must be an established Registered Commercial Bank, Insurance company, or Financial Institution to the approval of the Client and Project Manager who will be bound to the Employer in the sum equivalent to ten per cent (10%) of the Contact Sum for the due performance of the Contract until the certified Date of Practical Completion or end of defects liability period.
The format of the Performance Bond shall be that shown under the appendices at the end of the Bills of Quantities or in line with the clients requirements. The Project Manager reserves the right to withhold payment certificates and the Client reserves the right to withhold payment for failure to provide/extend expired guarantees by the Contractor to maintain validity
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
Carried forward
Brought Forward
ADVANCE PAYMENT BOND
| Whereas the provisions/forms of the contract allow for an advance payment, the Contractor shall provide and advance payment guarantee/bond to the full value of the payment to be received inclusive of all taxes from an established Registered Commercial Bank, Insurance company, or Financial Institution to the approval of the Client and Project Manager. This bond shall remain in full effect until the full amount of advance is recovered and shall be utilised solely for the intended purpose as stipulated in the Forms of Contract. The Project Manager reserves the right to withhold payment certificates and/or the Client reserves the right to withhold payment for failure to maintain validity of the said bonds. |  | 0
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
| VALUE ADDED TAX | 0 | 0
| This project is subject to Value Added Tax (VAT) unless stated otherwise. All rates shall be priced exclusive of VAT, with due regard to the Contractor's ability to reclaim input taxes, and VAT shall be added to the total price included in the space provided in the Main Summary of the Bills of Quantities to provide a Tender Sum inclusive of VAT. Due regard for the above shall be deemed to have been included in the Contractor's rates and no claim for additional liabilities in this respect shall be entertained. |  | 0
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
Carried forward
Brought Forward
| APPENDIX TO THE CONDITIONS OF CONTRACT | 0 | 0
| The appendix to the Conditions will be filled in as follows: Defects Liability Period Twelve (12) Months Percentage to cover Professional fees N/A Date for Possession " Date of Completion " Period of delay Other reason Prime Cost Sums for which Contractor desires to tender Period of interim Certificates Period of Honouring Certificates Percentage of Certified Value Retained Limit of Retention Fund Period of Final Amount of Advance Payment for early purchase of materials Price Fluctuations. N/A Amount of Performance Surety Performance bond name of Surety Amount of Bid Surety The contractor is further drawn to the prevailing statutes as relates to latent defects. Whereas none is stated, a latent defects liability of not less than 4 years shall apply. |  | 0
| GENERAL MATTERS | 0 | 0
The Copyright of the Bills of Quantities is vested in QS-Pro Consults, Registered Quantity Surveyors and Project Managers, situated at No.260 Lukanga Road, Kalundu Lusaka and they may not be reproduced in whole or in part without their written permission.
SUFFICIENCY OF TENDER
| The Contractor shall be deemed to have been satisfied before tendering as to the correctness and sufficiency of his Tender for the Works and of the rates and prices stated in the priced Bills of Quantities, which rates and prices shall cover all his obligations under the Contract and all matters and things necessary for the proper completion and maintenance of the Works. |  | 0
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
Carried forward
Brought Forward
STAMP CHARGES
| The Contractor shall allow for the payment of all Stamp Charges in connection with the Surety Bond and Contract Agreement. |  | 0
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
SITE LEVELS
The Contractor must arrange for and agree with the Project Manager, before commencing the work, the existing site levels and similarly establish and agree a benchmark. The levels and bench mark thus agreed with them be used for the duration of the works for all purposes.
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
PRESERVATION OF LAND SURVEY AND STAND PEGS
The Contractor shall be responsible for the preservation of all land survey, stand, boundary or other pegs and beacons and any disturbed or removed from their position for any course whatsoever during the progress of the works, shall be replaced by the appropriate authority and all charges in connection therewith shall be borne by the Contractor.
G | Fixed Cost | Item | 1
H | Value Related Cost | Item | 1
J | Time Related Cost | Item | 1
Carried forward
Brought Forward
SETTING OUT OF THE WORKS
The Contractor shall set out the works in accordance with the dimensions and levels shown on the drawings and shall be responsible for the correctness of all dimensions and levels so set out by him and will be required to amend all errors arising from inaccurate setting out at his own cost and expense. In the event of any error or discrepancy in the dimensions or levels marked on the drawings being discovered, the Contractor to the Project Manager for his immediate attention and action must report such error or discrepancy.
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
USE OF SITE
The Contractor shall not use the site for any purpose other than for the carrying out of his obligations under this contract. He is to obtain the approval from the Project Manager for the siting of all spoil heaps, temporary roads, working areas, sheds and other structures.
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
Carried forward
Brought Forward
PROGRAM OF WORKS
The Contractor shall, upon receiving instructions to proceed with the work draw up a Program of Works Schedule setting out the order in which the Works are to be carried out with the appropriate dates thereof. This Program of Works Schedule is to be agreed with the Project Manager and no deviation from the order set out in this Schedule will be permitted without the written consent of the Project Manager. The Main Contractor will be responsible for arranging the above programme with all Sub-Contractors including the Nominated Sub-Contractors and Nominated Suppliers. The Contractor shall submit to the Project Manager for approval an updated Program at intervals no longer than the period 2 months. If the Contractor does not submit an updated Program within this period or as per project managers request, the Project Manager may withhold the amount equivalent to 0.5% of the value of works or other amounts stated in the contract from the next payment certificate and continue to withhold this amount until the next payment after the date on which the overdue Program has been submitted. In the case of a lump sum contract, the Contractor shall provide an updated Activity Schedule within 14 days of being instructed to by the Project Manager.
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
PROGRESS PHOTOGRAPHS
The Contractor shall allow for progress photos through the duration of the assignment issued at regular intervals of atleast weekly or as may be agreed with project manager. These shall be transmitted to the project manager at the end of the week electronically. Such record shall then be collated by the contractor and given to the client through the project manager on a compact disk and the end of project or contract.
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
Carried forward
Brought Forward
| FIGURED DIMENSIONS | 0 | 0
| Figured dimensions are to be followed in preference to dimensions scaled from the Drawings; but whenever possible dimensions are to be taken on the site or the buildings. Before Sub-Contractors or Specialist Firms commences any work, dimensions must be checked on the Site and/or buildings and agreed with the Contractor, irrespective of the comparable dimensions shown on the Drawings. The Contractor shall be responsible for the accuracy of such dimensions. |  | 0
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
PROVISIONAL WORK
All "provisional" and other work liable to adjustment under this Contract shall be left uncovered for a reasonable time to allow all measurements needed for such adjustment to be taken by the Quantity Surveyor. Immediately the work is ready for measurement, the Contractor shall give notice to the Quantity Surveyor. If the Contractor makes default in these respects he shall, if the Project Manager so directs, uncover the work at his own expense to enable the measurements to be taken.
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
EXISTING SERVICES
Prior to commencement of any work the Contractor is to ascertain from the relevant Authorities the exact position, depth and level of all existing electrical, date, telcom cables, water and sewer pipes or other services in the area and he shall make whatever provisions may be required by the Authorities concerned for the support and protection of such services. Any damage or disturbance caused to any services shall be reported immediately to the Project Manager and the relevant Authority and shall be made good to their satisfaction at the Contractor's expense.
Carried forward
Brought Forward
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
TRANSPORT TO AND FROM THE SITE
The Contractor shall include in his prices for the transport of materials, workmen, etc., to and from the Site of the proposed Works, at such hours and by such routes as are permitted by the Authorities.
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
PUBLIC AND PRIVATE ROADS, PAVEMENTS, ETC.
The Contractor will be required to make good, at his own expense, any damage he may cause to the present road surfaces and pavements within or beyond the boundary of the Site, during the period of the Works. In particular, pavements, which may be destroyed or damaged during the progress of the Works, are to be made good by the Contractor to the approval of the Project Manager.
G | Fixed Cost | Item | 1
H | Value Related Cost | Item | 1
J | Time Related Cost | Item | 1
POLICE AND LOCAL AUTHORITY REGULATIONS
The Contractor is to allow for complying with all instructions and regulations of the Police and Local Authorities. The Main Contractor shall further ensure that all the necessary statutory stage inspections as carried out as required by law in liaison with the Project Architect and Project Manager
K | Fixed Cost | Item | 1
L | Value Related Cost | Item | 1
M | Time Related Cost | Item | 1
Carried forward
Brought Forward
LIAISON WITH UTILITY SERVICE PROVIDERS
The Main Contractor is to allow for liaison with Utility Services Providers in conjunction with the consultants for facilitation of Permanent Connections as relates to the development. All utility connection charges and applications to be handled by the client and consultant respectively unless stated otherwise.
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
CONTRACTORS' SUPERINTENDENCE
The Contractor shall constantly keep on the works a literate well qualified English-speaking Agent or Representative, competent and experienced in the kind of work involved who shall give his whole time to the superintendence of the Works. Such Agent or Representative shall receive on behalf of the Contractor, directions and instructions from the Project Manager and such directions and instructions shall be deemed given to the Contractor in accordance with the Conditions of Contract. The Agent shall not be replaced without the specific approval of the Project Manager.
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
It is to be a specific condition of this Contract that the successful Tenderer shall provide on site throughout the period from the completion of the substructure to the Date for Practical Completion a suitably qualified, experienced and competent person to ensure that the works are carried out to the standard required by the specification and detailed on the Drawings; and shall ensure that upon any termination of employment a suitable replacement is found.
G | Fixed Cost | Item | 1
H | Value Related Cost | Item | 1
J | Time Related Cost | Item | 1
Carried forward
Brought Forward
| Before the Tenderer's offer is accepted the Project Manager reserves the right to interview the Contractor's proposed Representative. Curriculum vitae of past experience and qualifications must be provided for the Project Manager's scrutiny.The Project Manager's decision will be final regarding the suitability of the proposed Representative who should posses the following skills in additional to academic qualifications;1) Programming and Scheduling2) Reporting 3) Production of shop drawings with atleast knowledge in use of Autocad and drawing software4) Procurement and Expediting5) Liaison and Coordinating of Construction including managing subcontractors6) Monitoring and reporting on building activities |  | 0
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
It shall be a condition of this Contract that the Contractor shall have email facilities on site for communication including emergency communication. The Contractor shall co-ordinate the work of all Subcontractors, tradesmen, workmen and others engaged or to be engaged on the works and shall liaise and coordinate with all parties to ensure the smooth functioning of the Contract, the smooth and orderly progress of construction, the closest cooperation between all the parties concerned and the timeous completion of the contract.
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
Carried forward
Brought Forward
WATER
All water shall be fresh, clean and pure, free from earthy vegetable or organic matter, acid or alkaline substance in solution or suspension The Contractor shall provide at his own risk and cost all water for use in connection with the Works (including the work of Sub-Contractors). The Contractor shall provide at his own expense all temporary distribution pipes, storage tanks, meters, etc., and he shall clear away same upon completion of the Works. In case the Contractor is permitted by the Employer to use water already on site, such water shall be metered and accruing bills paid by the Contractor.
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
LIGHTING AND POWER
The Contractor shall provide at his own risk and cost all artificial lighting and power for use on the Works, including all Sub-Contractors' and Specialists' requirements and including all temporary connections, wiring, fittings, etc., and clearing away on completion. The Contractor shall pay all fees and obtain all permits in connection therewith. . In the event that the Contractor is permitted by the Employer to use power already on site, such water shall be metered and accruing bills paid by the Contractor.
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
Carried forward
Brought Forward
| SAFETY | 0 | 0
| The Contractor shall comply at all times with the requirements of the Factory Act and clients safety regulations at the time being in force, ensure that the safety of his work people and authorised visitors to the Site is protected at all times. In particular there shall be proper provision of planked footways and guardrails to scaffolding, etc.; protection against falling materials and tools and the Site shall be kept tidy and clear of dangerous rubbish. The Contractor shall appoint a Safety Officer as required by the Factory Act and notify the Factory Inspector of his name.The Safety Officer shall be qualified in compliance with the Factory Act and the clients safety requirements and shall have experience in First Aid.The Safety Officer shall be on site at all times and all directions given by the Project Manager to the Safety Officer shall be deemed to be Project Manager's Instructions, and shall be complied with promptly without additional cost to the contract. The Project Manager shall be empowered to suspend work on the Site should he consider that these conditions are not being observed, and no claim arising from such a suspension will be allowed. |  | 0
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
| PROTECTIVE CLOTHING | 0 | 0
| The Contractor shall provide all protective or any other special clothing or equipment for his employees that may be necessary. This shall include, inter-alia, safety helmets, gloves, goggles, ear muffs, gumboots and shoes with a safety metal cap, overalls, reflective jackets, safety harnesses and nets etc., according to the type of work. The Contractor shall ensure that all staff on site and visitors wears safety helmets at all times. |  | 0
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
Carried forward
Brought Forward
| PROGRESS MEETINGS | 0 | 0
| The Contractor shall be responsible, in conjunction with the Project Manager, for arranging progress meetings. The Project Manager will determine the times and frequency of such meeting and shall be entitled to invite such Subcontractors as he deems it to attend such progress meetings. The Contractor shall report on his own and all Subcontractor's progress and all matters affecting progress and execution of the works. The Contractor shall convene additional regular meetings with his Subcontractors and Suppliers in order to monitor their progress and to discuss and cordinate all aspects of the Contract. |  | 0
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
| MATERIALS AND WORKMANSHIP | 0 | 0
| The Specification applicable shall be the Technical Specification as contained in these Bills of Quantities, as read together with specialist specifications that may be provided by Consultants. All materials shall be new unless otherwise directed or permitted by the Project Manager and in all cases where the quality of goods or materials is not described or otherwise specified, is to be the best quality obtainable in the ordinary meaning of the word "best" and not merely a trade signification of that word. All materials and workmanship shall, unless otherwise specified or described, conform to the appropriate British Standards Institution Specification current at the date of Tender. The Contractor shall order all materials to be obtained from overseas immediately after the Contract is signed and shall also order materials to be obtained from local sources as early as necessary to ensure that such materials are on Site when required for use in the Works. The Contractor shall be responsible for and shall replace or make good at his own expense any materials lost or damaged. Skilled workmen well versed in their respective trades shall execute the Works throughout. |  | 0
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
Carried forward
Brought Forward
| REJECTED WORKMANSHIP OR MATERIALS | 0 | 0
| Any workmanship or materials not complying with the specific requirements or approved samples or which have been damaged, contaminated or have deteriorated, must immediately be removed from the Site and replaced at the Contractor's expense, as required. Proprietary materials specified in the tender documents shall be strictly adhered to and provided for the works.Deviations from proprietary materials specified will only be allowed as a last resort. All materials and goods, where specified to be obtained from a particular manufacturer or supplier are to be used or fixed strictly in accordance with their |  | 0
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
| SAMPLES OF MATERIALS | 0 | 0
| The Contractor shall furnish at the earliest possible opportunity before work commences and at his own cost, any samples of materials or workman-ship that may be called for by the Project Manager for his approval or rejection, and any further samples in the case of rejection until such samples are approved by the Project Manager and such samples, when approved, shall be the minimum standard for the work to which they apply. |  | 0
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
| OFFICE AND SHEDS | 0 | 0
| The Contractor shall set aside and maintain an appropriate space within the existing building office accommodation for his own use, together with ample temporary watertight sheds for the proper storage and protection of materials and for the use of artisans and remove when ordered. Floors of sheds shall be at least 150 mm above ground level. |  | 0
G | Fixed Cost | Item | 1
H | Value Related Cost | Item | 1
J | Time Related Cost | Item | 1
Carried forward
Brought Forward
| OFFICES AND SERVICES FOR THE PROJECT MANAGER | 0 | 0
| The Contractor shall set aside and maintain an appropriate space within the existing building for the use of the Project Manager and his representative with a total floor area of not less than 15 square metres. The office shall be furnished with wooden stools, tables and chairs and drawing table along the full length of one side, complete with drawers of sufficient size to carry the Drawings laid flat and drawing racks as required. The Contractor shall also set aside and maintain a lock-up lavatory for the sole use of the Project Manager and his representatives and to the satisfaction of the local Authorities and shall provide the services of a sweeper, pay all charges and keep both office and latrine in a clean and sanitary condition during the whole period of the Works.The office and latrine shall be removed on completion. The Contractor shall keep on Site and maintain in good condition one dumpy or quickset level and levelling staff, and one 30 metre steel tape for the use of the Architect and his representatives. |  | 0
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
| TELEPHONE AND EMAIL | 0 | 0
| The Contractor shall arrange for a Phone and Data connection facilities complete with a full office with printing capability and pay all charges in connection therewith. The Contractor shall ensure that his Site Manager is accessible by telephone and email on site which facility shall be availed to the project team for purposes of project implementation. |  | 0
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
Carried forward
Brought Forward
| SANITATION | 0 | 0
| The Contractor shall provide the necessary sanitation facilities in the descending order of preference starting with waterborne toilets, mobile toilets and latrines for his staff and workmen to the requirement and satisfaction of the Health Authorities and maintain the same in a thoroughly clean and sanitary condition and pay all conservancy fees during the period of the Works and remove when no longer required. |  | 0
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
| PLANT, TOOLS, SCAFFOLDING AND PROTECTIVE NETTING | 0 | 0
| The Contractor shall provide all necessary hoists, scaffolding, steel ladders, tackles, plant, vehicles, tools and appliances of every description for the due and satisfactory completion of the Works and shall remove the same on completion. The Contractor shall provide, erect and maintain all temporary scaffolding, sufficiently strong and efficient for the due performance of the Works, including Sub-Contract Works as special attendance, provide special scaffolding as and when required during the Works and remove on completion and make good. Such scaffolding shall be constructed of tubular steel of timber of sufficient scantlings and be provided with planked footways and guard-rails to approval. All such plant, tools and scaffolding shall comply with all regulations whether general or local, in force throughout the period of the Contract and shall be altered or adapted during the Contract as may be necessary to comply with any amendments in or additions to such regualtions. Scaffolding is not measured hereinafter, and the Contractor must allow here or in his rates for the above. The Contractor shall further provide all necessary protective safety netting to be erected around the building and wherever needed to provide protetion, and safety of personnel and materials during construction. |  | 0
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
Carried forward
Brought Forward
| HOARDING | 0 | 0
| The Contractor shall enclose parts of the site, as directed with a hoarding 2.50 metres high off ground level, with openings and gates as required, constructed of substantial timbers to approval and covered with new iron corrugated sheeting encampassing the site and/or work area to project managers approval. All charges from Local authorities relating to hoarding shall be accounted for herein. |  | 0
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
| WATCHING AND LIGHTING | 0 | 0
| The Contractor shall provide at his own risk and cost all watching and lighting as necessary to safeguard the Works, plant and materials against damage and theft. |  | 0
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
| TEMPORARY ROADS | 0 | 0
| The Contractor shall provide where directed all temporary access roads, tracks and paths necessary for the execution of the Works, including making good when no longer required. |  | 0
G | Fixed Cost | Item | 1
H | Value Related Cost | Item | 1
J | Time Related Cost | Item | 1
| PROJECT SIGNBOARD | 0 | 0
| The Signboard and lettering on same for the display of the General and Sub-Contractors' names shall be of an approved size with the Employer's name thereon. The Project Manager's, Quantity Surveyor's and Consultants' name shall be printed in 50 mm letters all to the Project Manager's design. No other signboard or advertising will be permitted without prior approval. |  | 1
Carried forward
Brought Forward
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
| PROJECT PICTORAL VIEWS | 0 | 0
| The Contractor shall allow printing and installation of atleast a A1 3D image of the development to be printed and made weather proof. Such image as provided by the Project manager shall be placed at the entrance to the site and or the site office |  | 0
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
| NOMINATED, DIRECT AND DOMESTIC SUB-CONTRACTORS | 0 | 0
| The Contractor shall be responsible for Nominated Sub-Contractors in every respect and in particular it shall be the Contractor's responsibility to ensure that each Sub-Contractor commences and completes the work in such manner and is ready on the Site with his materials, labour and special plant at such times so as to conform with the Progress Schedule, as specified previously, and to ensure satisfactory progress. |  | 0
G | Fixed Cost | Item | 1
H | Value Related Cost | Item | 1
J | Time Related Cost | Item | 1
| The Client reserves the right to request for proof of payments made by the Contractor to Subcontractors/Direct Suppliers prior to honouring payments. Whereas the Contractor is unwilling or unable to provide such information, the client shall reserve the right to withhold subsequent payments or issue direct payments to the Subcontractors as may be required. |  | 0
K | Fixed Cost | Item | 1
L | Value Related Cost | Item | 1
M | Time Related Cost | Item | 1
Carried forward
Brought Forward
| The Contractor shall also accept liability for and bear the cost of General Attendance on Nominated and Domestic Sub-Contractors, which shall be deemed to include for: Allowing the use of standing scaffolding, maintenance and alteration of all scaffolding, retention of all scaffolding until such time as all relevant Sub-Contractors' works are complete and removal of all scaffolding on completion. Providing space for office accommodation, and for storage of plant and materials; allowing use of sanitary accommodation; the supply of all necessary water, and lighting; and clearing away all rubbish. An allowance for such attendance shall be given in the prime cost sums as provided. Whereas this is not priced, it shall be deemed to have been included elsewhere within the contract |  | 0
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
| The Contractor shall also accept liability for and bear the cost of Special Attendance on Nominated Sub-Contractors, which shall include for one or more of the following: Unloading for the subcontractors, storing in appropriate storage, hoisting, placing in position, providing specific power, provision of special scaffolding for the selected contractors etc. Cutting away for and making good after the work of Sub-Contractors other than builders works as may be required will be measured and valued separately by the Quantity Surveyor. |  | 0
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
| The Cost of "Fix Only" materials to be obtained from Nominated Suppliers which are covered by Prime Cost or Provisional Sums shall include for taking delivery where directed, checking with invoices or indents, reporting and claiming damages for shortages and damaged goods, defraying demurrage, signing for as having been received in good order, transporting, unloading, storing, covering and protecting until the time of fixing, unpacking, replacing anything lost or damaged, sorting, assembling, hoisting to required levels and fixing as described. |  | 0
Carried forward
Brought Forward
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
| SUBCONTRACTORS | 0 | 0
| Before placing any orders with Nominated Sub-Contractors or Nominated Suppliers the Contractor must ascertain that the terms and conditions of the quotations and the dates of delivery of materials or execution of works comply with the terms of Contract and the Progress Schedule. |  | 0
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
| Whereas the contractor fails to meet the requisite requirement to execute specialist works measured herein. The client on recommendation from the Project Consultant reserves the right to omit such portions of work and subcontract to a specialist as required. |  | 0
G | Fixed Cost | Item | 1
H | Value Related Cost | Item | 1
J | Time Related Cost | Item | 1
| PRIME COST RATES | 0 | 0
| The Cost of "Fix Only" materials to be obtained from Nominated Suppliers. Where description of items includes a P.C. rate per unit this rate is to cover the nett supply cost of the unit only. The Contractor's price must include for the cost of the unit at the rate stated, plus waste, taking, delivery, storage, fixing in position, profit and overheads. The actual nett cost per unit will be adjusted within the Final Account against the P.C. rate stated. |  | 0
K | Fixed Cost | Item | 1
L | Value Related Cost | Item | 1
M | Time Related Cost | Item | 1
Carried forward
Brought Forward
| PROTECTION | 0 | 0
| The Contractor shall cover up and protect from damage, including damage from inclement weather, all finished work and unfixed materials, including that of Sub- Contractors, etc., to the satisfaction of the Project Manager until the completion of the Contract, and carefully preserve all trees, bushes, plants, potted plants etc. on or near the Site. |  | 0
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
| CLEANING | 0 | 0
| The Contractor shall, upon completion of the Works, at his own expense, remove and clear away all surplus excavated materials, plant, rubbish and unused materials and shall leave the whole of the Site and Works in a clean and tidy state to the satisfaction of the Project Manager, including clearing away and making good all traces of temporary access roads, offices, sheds, camps, etc. Particular care shall be taken to leave clean all floors and windows and to remove all paint and cement stains. He shall also, at the discretion of the Project Manager, remove all rubbish and dirt as it accumulates. Cleaning shall be done as often as need arises and as many times as necessary. The Contractor is to find his own dump and shall pay all charges in connection therewith. The Contractor shall allow for protecting all work from damage in the course of cleaning and clearing any from site. |  | 0
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
| NOTICES AND FEES TO LOCAL AUTHORITIES AND PUBLIC UNDERTAKINGS | 0 | 0
| The Contractor shall allow for giving notices and paying any fees and charges in respect of compliance with Local Authority and Government Regulations. |  | 0
Carried forward
Brought Forward
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
| THE NATIONAL COUNCIL FOR CONSTRUCTION (NCC) PROJECT REGISTRATION | 0 | 0
| The Contractor shall allow for paying any fees and charges with regard to project registration with the National Council for Construction (NCC). |  | 0
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
| CONTINGENCIES | 0 | 0
| A Provisional Sum for contingencies is provided in the Main Summary. This shall be omitted or expended in whole or in part at the direction of the Project Manager. |  | 0
G | Fixed Cost | Item | 1
H | Value Related Cost | Item | 1
J | Time Related Cost | Item | 1
Carried forward
Brought Forward
| DISCOUNTS AND GENERAL PRICE REDUCTIONS | 0 | 0
| Whereas the contractor offers discounts on the prices given or the bid sum generally, such discounts shall be applicable to the contractors rates only. Whereas an agreement is reached with the client prior to re-evaluation of the pricing by the Quantity Surveyor. The contract bills of quantities for contract administration shall be adjusted as follows regardless of the stated discount by the bidder.1) All provisional and prime cost sum values as included in the tender bills of quantities shall be omitted.2) Rates shall be adjusted individually or generally to meet the revised contract sum(s) as may have been agreed with the client or representatives thereof.3)Addition of the non-discounted provisional and prime cost sums as included in the tender bills of quantities. The adjustment of the rates shall be done uniformly to meet the revised bid sum. Any discounts shall not apply to provisional and prime cost sums included in the original tender document unless a joint value engineering exercise is carried out in the presence of the Quantity Surveyor |  | 0
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
| PAYMENT OF PRELIMINARIES | 0 | 0
| The Valuation of Preliminaries included in interim certificates shall be in line with breakdown as provided and/or at value of works outlined herein. Where as a breakdown is not provided, the discretion of the Project Manager and/or Quantity Surveyor shall be utilised in line with the correct proportionment as a breakdown of the cost incurred as at the date of the valuation. |  | 0
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
Carried forward
Brought Forward
| VALUATION OF WORKS | 0 | 0
| The Contractor shall submit to the Project Manager and/or Quantity Surveyors monthly statements of the estimated value of the work executed less the cumulative amount certified previously. The Project Manager and/or Quantity Surveyor may exclude any item certified in a previous certificate or reduce the proportion of any item previously certified in any certificate in the light of later information. Items of the Works for which no rate or price has been entered in shall not be paid for by the Employer and shall be deemed covered by other rates and prices in the Contract. |  | 0
A | Fixed Cost | Item | 1
B | Value Related Cost | Item | 1
C | Time Related Cost | Item | 1
| ANY OTHER MATTERS | 0 | 0
| The Contractor shall allow here for any other matters not allowed for in this document which he considers necessary for the successful completion of the project. |  | 0
D | Fixed Cost | Item | 1
E | Value Related Cost | Item | 1
F | Time Related Cost | Item | 1
| TOTAL PRELIMINARIES TO MAIN SUMMARY |  | 0

## DEMOLITIONS
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATES | AMOUNT
DEMOLITIONS (ALL PROVISIONAL)
Notes on demolitions
A | The contractor shall take all due care to provide shoring, needling, strutting and all temporary works necessary for supporting the existing structure in the course of demolitions and construction until it becomes self supporting | Item | 1 |  | 0
B | All materials designed for re-use on site shall be cleaned and carefully set aside and protected until need for re-use. Other re-usable materials from demolitions shall be the property of the employer and shall be bundled and transported to a site as directed by the employer | Item | 1 |  | 0
C | The contractor shall allow for and ensure that all demolitions and methods employed thereof conforms to the regulations by the Zambia Environmental Management Agency and/or Local authority in terms of Dust emissions, noise, ground pollutions etc | Item | 1 |  | 0
D | An inventory of recoverable materials shall be issued and handed over to the client outlining a list of recoverable materials | Item | 1 |  | 0
E | All debris arising from demolitions shall promptly be removed from site and dumped to an approved local authority dump site | Item | 1 |  | 0
F | No extra claims in this section shall be entertained | Item | 1 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
A | Prior to demolitions, The contractor is to carry out a survey for existing services and shall notify the local authorities on all existing services in liaison with the client and shall ensure that consent be issued and approvals granted for any disturbances, relocations and removals of existing services. The contractor shall take due care of such during demolitions as no further claim shall be entertained on account of lack of knowledge in this respect having damaged any existing services. | Item | 1
B | The contractor must provide a rebate on individual items at an acceptable market value for all scrap metal and salvaged building materials, fittings and fitments either in whole or in part as described | Item | 1
Demolitions and Downtakings
C | Carefully take down the existing shopfronts including removal of associated doors and fixtures and handover recovered materials for client's own use and cart away arising debris to an approved dumping site including making good all trades disturbed (Main entrance shopfront) | m2 | 25 |  | 0
D | Carefully take down the existing shopfronts including removal of associated doors and fixtures and handover recovered materials for client's own use and cart away arising debris to an approved dumping site including making good all trades disturbed (Second entrance shopfront) | m2 | 18.9 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
A | Carefully remove existing Aluminium and Dry wall partitioning, including careful and safely removal of associated fixtures, structural supports, horizontal and vertical members, glazing and partition boards, handover all recoverable items to the client for their own use, cart away debris arising to an approved dumping site and make good all trades disturbed. | m2 | 261.75 |  | 0
B | Carefully remove existing Doors, including careful and safely removal of associated fixtures, handover all recoverable items to the client for their own use, cart away debris arising to an approved dumping site and make good all trades disturbed. | No. | 15 |  | 0
C | Carefully remove existing folding Doors, including careful and safely removal of associated fixtures, handover all recoverable items to the client for their own use, cart away debris arising to an approved dumping site and make good all trades disturbed. | No. | 2 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
A | Carefully remove existing Ceiling boards and handover all recoverable items to the client for their own use, cart away debris arising to an approved dumping site and make good all trades disturbed. | m2 | 580 |  | 0
B | Carefully remove existing floor finishes, including scrapping off paint work and handover all recoverable items to the client for their own use, cart away debris arising to an approved dumping site and make good all trades disturbed. | m2 | 580 |  | 0
| TOTAL TO MAIN SUMMARY |  |  |  | 0

## BANK BUILDING
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATES | AMOUNT
WALLING
Hollow concrete block walling (of Minimum crushing strength of 3.5N/sq mm) to B.S.2028 in cement mortar (1:4)
A | Walling, thickness . 100 mm | m2 | 83 |  | 0
B | Walling, thickness . 150 mm | m2 | 53.4 |  | 0
C | Walling, thickness . 200 mm | m2 | 32.7 |  | 0
WALLING ACCESSORIES
One layer of three ply bituminous felt sheeting as damp proof course as described well lapped at joint sand junctions (measured net)
D | On 100 mm Walls. | m | 27 |  | 0
E | On 150 mm Walls. | m | 18 |  | 0
F | On 200 mm Walls. | m | 11 |  | 0
26 Gauge mild steel "Brickforce" reinforcement laid horizontally in mortar joint with 100mm end laps
G | To walling, width size 100 mm | m | 166 |  | 0
H | To walling, width size 150 mm | m | 106.8 |  | 0
I | To walling, width size 200 mm | m | 65.4 |  | 0
| WALLING AND PARTITIONING TO SECTION SUMMARY |  |  |  | 0
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
| INTERNAL FINISHINGS | 0 | 0
A | The Contractor shall allow for provisional of all finishes samples for approval by the Architect and Project Manager. The approved sample shall be kept in the site office to be displayed through the project duration | Item | 1
B | All floor finishes, tiling to be provided with approved spacers, tile timmers, grouting colors to be laid in approved colours | Item | 1
C | The contractor shall allow for tile transition and expansion strips in line with the various finishes outlined in the drawings | Item | 1
| CEILING FINISHES | 0 | 0
| Suspended Ceiling; in aluminium grid with main and cross Tees including fixing with 2.5mm diameter wire and stainless steel hangers to support to architects approved samples | 0 | 0
D | 600 x 600 x12.7mm BPB Gyprex Fissured factory painted white Gypsum ceiling tiles, laid on and including donn SQ/T38 white pre-painted exposed main Tees, cross Tees holding down clips, wedges etc. all suspended with galvanised hangers from roof system fixed at 3,030mm high above finish floor level | m2 | 260.5 |  | 0
E | Supply and fix Bulkhead ceiling board to architects specification | m2 | 88 |  | 0
| Carried forward |  |  |  | 0 | 0
| Brought forward |  |  |  | 0
A | Supply and fix 50x100mm American walnut wood trips glued to the ceiling spaced at 175mm c/c | m2 | 33 |  | 0
FLOOR FINISHES
Porcelain tiling as 'HIGH GRADE A MATTE' Union Tiles in client approved colours; to regular pattern, (Code:037-C60812,Supplier : Make a Home)
B | Supply and fix 600 x 600 x 10 mm Porcelain floor Tiles as ' HIGH GRADE A MATTE' (WHITE) applied with tylon dove grey grouting, 1st Grade of Italy or other equal and approved tiles fixed with approved adhesive and pointed in lighter grout to joints | m2 | 122 |  | 0
Porcelain tiling as 'AMBROSIA (2) BAOBAB ' Union Tiles in client approved colours; to regular pattern ( Code: 025-501606, Supplier: Make a Home)
C | Supply and fix 600 x 600 x 10 mm Wood finished Porcelain floor Tiles as ' AMBROSIA (2) BAOBAB' (BROWN TYPE) applied with tylon dove grey grouting, 1st Grade of Italy or other equal and approved tiles fixed with approved adhesive and pointed in lighter grout to joints | m2 | 27.8 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
Rubber mat as 'HEAVY DUTY ZANACO BRANDED RUBBER MAT TO BE SUPPLIED BY WILLIAM SCOTT' to architect's approval
A | Supply and fix heavy duty as 'ZANACO BRANDED RUBBER MAT' to architects approval, Overall size 1.8mx1.2m | no | 0 |  | 0
Porcelain tiling as 'NON-SLIP (SILVE GRAY) ' Union Tiles in client approved colours; to regular pattern( Code: IMI230A,Sipplier: Handymans)
B | Supply and fix 600 x 600 x 10 mm NON-SLIP Porcelain floor Tiles applied with tylon dove grey grouting, 1st Grade of Italy or other equal and approved tiles fixed with approved adhesive and pointed in lighter grout to joints | m2 | 10 |  | 0
Carpet tiles as berber point 920 (Code: Neutral brown, Supplier : Belgotex)
C | Supply and fix 500x500mm heavy duty Mpande rubberised carpet tiles | m2 | 52.3 |  | 0
D | Supply and fix anti-static rubber tiles fixed to cement and sand floor screed finish | m2 | 0
E | 200mm high 600x600x40mm raised floor on ultra steel frames to specialists detail and architects approval | m2 | 0 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
Carpet tiles as Atlantis radiant (Code: Black and white, Supplier : Belgotex)
A | Supply and fix 500x500mm heavy duty rubberised carpet tiles ; Code black and red i.e atlantis colour | m2 | 80.4 |  | 0
B | Supply and fix rubberised, heavy duty carpet tiles, Mswati range to Architect's specification and approval (Supplier: Belgotex) | m2 | 45 |  | 0
Supply and fix the following Anti-Termite treated Hardwood Skirtings to the satisfaction of the architect's
C | Hardwood skirting fixed to floor and wall with approved adhesive, size . 150 x 25 mm | m | 72 |  | 0
WALL AND SURFACE FINISHES
Wall finish type 1
D | Supply and fix ZANACO approved Stone Cladding as 150x600mm riven glitterstone quartzite interlocking stone tiles to Architect's approval. | m2 | 31.5 |  | 0
Wall finish type 2
E | Prepare and apply three coats of White luxurious silk paint to match ' Plascon wall and all product range to architects approval | m2 | 336.6 |  | 0
Wall finish type 3
F | Prepare and apply three coats of Gray luxurious silk paint to match ' Plascon wall and all product range to architects approval | m2 | 384 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
Wall finish type 4
A | Prepare and apply three coats lamasat textured as Monocouche M19 with mineral yellow aclyric cover paint by plascon as ;10YY40/608' | m2 | 80.7 |  | 0
Wall finish type 5
B | Supply and fix 300 x 600 x 8mm NON-SLIP ceramic wall Tiles applied with tylon dove grey grouting and approved tiles fixed with approved adhesive and pointed in lighter grout to joints | m2 | 32.1 |  | 0
Wall finish type 6
C | Prepare and apply three coats lamasat textured as 'S-334' with 'PEBBLE BLACK' exterior weather guard cover paint | m2 | 9.9 |  | 0
Wall finish type 7
D | Prepare and apply three coats Pascon/Dulux exterior weather guard paint | m2 | 11.1 |  | 0
Wall finish type 8
E | Prepare and apply three coats textured paint with ZANACO red aclyric cover paint | m2 | 34.2 |  | 0
Wall finish type 9
F | Prepare and apply three coats textured paint with light gray aclyric cover paint | m2 | 8.1 |  | 0
G | Supply and fix walnut wood wall finish to architects specifications and clients approval | m2 | 35.1 |  | 0
| CEILING, FLOOR AND WALL FINISH TO SECTION SUMMARY |  |  |  | 0
DOORS AND PARTITIONS
PREAMBLES AND NOTES
A | The following items and descriptions shall be read in conjunction with the Arhitectural Drawings and Spefications which shall form part of the tender documents | Item | 1
B | All sizes and specifications of items in this section should be confirmed and approved by the project architect prior to purchase | Item | 1
ALUMINIUM PARTITIONS AND DOORS
C | All works under this section are to be executed by an approved specialist | Item | 1
D | All partitions and doors under this section are measured complete with glazing and other associated fixtures | Item | 1
Carried forward
Brought forward
Supply and fix matte black powder coated partition frame complete with 6.38mm laminated clear glass. all doors complete with cranked-t type push handles stainless steel door stoppers. 4 stainless steel hinges and approved quality QS 690V type high traffic door closers all as per architectural details and specialist specifications,
Panel 1
A | Black powder Coated Aluminium Partitions as complete with folding door and 6.38mm thick laminated clear glass with silicon sealed joints ,complete and locking devices, associated fixtures and fitments to make it workable to the satisfaction of the Architect, overall size 6983x3000mm | no | 0 |  | 0
Panel 2
B | Matte black powder Coated Aluminium Partitions as complete with double swing opening doorsand 6.38mm thick laminated clear glass with silicon sealed joints ,complete and locking devices, associated fixtures and fitments to make it workable to the satisfaction of the Architect, overall size 5381x3000mm | no | 1 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
Panel 3
A | Matte black powder Coated Aluminium Partitions as complete with double sliding door and 6.38mm thick laminated clear glass with silicon sealed joints ,complete and locking devices, associated fixtures and fitments to make it workable to the satisfaction of the Architect, overall size 3675x3000mm | no | 1 |  | 0
Panel 4
B | Matte black powder Coated Aluminium Partitions as complete with single swing opening door and 6.38mm thick laminated clear glass with silicon sealed joints ,complete and locking devices, associated fixtures and fitments to make it workable to the satisfaction of the Architect, overall size 2340x3000mm | no | 1 |  | 0
Panel 5
C | Matte black powder Coated Aluminium Partitions as complete with single swing opening door and 6.38mm thick laminated clear glass with silicon sealed joints ,complete and locking devices, associated fixtures and fitments to make it workable to the satisfaction of the Architect, overall size 1200x3000mm | no | 1 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
Panel 6
A | Matte black powder Coated Aluminium Partitions as complete with single swing opening door and 6.38mm thick laminated clear glass with silicon sealed joints ,complete and locking devices, associated fixtures and fitments to make it workable to the satisfaction of the Architect, overall size 7793x3000mm | no | 1 |  | 0
Panel 7
B | Matte black powder Coated Aluminium Partitions as complete with 2no double swing opening doors and 6.38mm thick laminated clear glass with silicon sealed joints ,complete and locking devices, associated fixtures and fitments to make it workable to the satisfaction of the Architect, overall size 11400x3000mm | no | 0 |  | 0
Panel 8
C | Matte black powder Coated Aluminium Partitions as complete with 2no single swing opening doors and 6.38mm thick laminated clear glass with silicon sealed joints ,complete and locking devices, associated fixtures and fitments to make it workable to the satisfaction of the Architect, overall size 4658x3000mm | no | 1 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
Panel 9
A | Matte black powder Coated Aluminium Partitions as complete with 2no single swing opening doors and 2no double sliding door and 6.38mm thick laminated clear glass with silicon sealed joints ,complete and locking devices, associated fixtures and fitments to make it workable to the satisfaction of the Architect, overall size 13146x3000mm | no | 1 |  | 0
Panel 10
B | Matte black powder Coated Aluminium Partitions as complete with 6.38mm thick laminated clear glass with silicon sealed joints ,complete with associated fixtures and fitments to make it workable to the satisfaction of the Architect, overall size 3153x3000mm | no | 1 |  | 0
Panel 11
C | Matte black powder Coated Aluminium Partitions as complete with 6.38mm thick laminated clear glass with silicon sealed joints ,complete with associated fixtures and fitments to make it workable to the satisfaction of the Architect, overall size 3125x3000mm | no | 1 |  | 0
Panel 12
D | Matte Black powder Coated Aluminium Partitions as complete with 6.38mm thick laminated clear glass with silicon sealed joints ,complete with associated fixtures and fitments to make it workable to the satisfaction of the Architect, overall size 3135x3000mm | no | 0 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
Panel 13
A | Matte black powder Coated Aluminium Partitions as complete with 6.38mm thick laminated clear glass with silicon sealed joints ,complete with associated fixtures and fitments to make it workable to the satisfaction of the Architect, overall size 3140x3000mm | no | 0 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
DOORS
Supply and fix 12mm thick purpose made powder coated aluminium framed (Approved Colour) and fixed indicated on drawing complete with clear safety glazing to comply with NBR ,lockset, fitting to walls with specialised bolts, including associated accessories all as per architectural details and specialist specifications,
A | Matte Black Aluminium Glazed panelled door as complete with with silicon sealed joints ,complete and locking devices, associated fixtures and fitments to make it workable to the satisfaction of the Architect, overall size 2200 x 900mm | No | 3 |  | 0
Supply and fix the following Hardwood doors to BS 459 as supplied by Mukatasha ot other equal and approved.
B | Hardwood door as complete with with hinges and 'HAFELE' type mortice lock and stainless steel /rubber floor mounted door stopper to the satisfaction of the Architect, overall size 2200 x 900mm | No | 2 |  | 0
C | Hardwood door with louvered panels with QS 4434 type coat hanger as complete with with hinges and 'HAFELE' type mortice lock and stainless steel/rubber floor mounted door stopperto the satisfaction of the Architect, overall size 2200 x 800mm | No | 2 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
A | Hardwood door with louvered panels with QS 4434 type coat hanger as complete with with hinges and 'HAFELE' type mortice lock and stainless steel/rubber floor mounted door stopper to the satisfaction of the Architect, overall size 2200 x 700mm | No | 6 |  | 0
Supply and fix ATM door to specialist
B | ATM CAT.2 door supplied by CHUBB as complete with with provision for time lock and industrial door stopper wall mounted to the satisfaction of the Architect, overall size 2000 x 1000mm | No | 0 |  | 0
DOOR FRAMES
Supply and fix the following aluminium door frames to be supplied complete with dry wall partition boards, glazing and all associated locks, fixtures to architects details and approval
C | Matte black powder coated aluminium door frames to acrchitect's approval , overall size 900x2200mm | No | 5 |  | 0
D | Aluminium door frame to architec's approval, overall size 900x2200mm | No | 2 |  | 0
E | Aluminium door frame to architect's approval, overall size 800x2200mm | No | 0 |  | 0
F | Aluminium door frame to architect's approval, overall size 700x2200mm | No | 0 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
KITCHEN UNIT
A | Supply and install kitchen unit as citimental design catering or equal as type S2 04C06243 with 600mm wide wide granite worktop with provision for 1no double bowl sink complete with all shelving compartments all to architects details and approval, overall size 11384 x 3000mm (As per Architects detailed drawing) | No
| DOORS AND PARTITIONS CARRIED TO SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
PLUMBING INSTALLATION
PREAMBLES AND NOTES
A | All internal pipes to be Chlorinated Polyvinyl Chloride (CPVC) or Polypropylene Random Copolymer (PPR) as Genova or equal and approved | Item | 0
B | The plumbing contractor to provide all necessary steelwork to form support brackets for pipework. Waterheaters, either wall mounted or in ceiling void or other position specified by the design engineer | Item | 0
C | Fittings to pipes 20mm diameter and under shall be deemed to be included in the pipe runs measured. Sockets of all diameters shall be deemed to be included in the pipe runs in which they occur | Item | 0
D | Allow for GI - PVC Adaptors where necessary all to the satisfaction and approval of the Engineer | Item | 0
E | The Contractor shall allow for provision of all Operational manuals for all final fix items being provided which shall state mode of operation, use and cleaning. | Item | 0
Carried forward
Brought forward
Supply and fix as described the following sanitary appliances as supplied by Handymans paradise or equal including 13mm diameter Flexible connectors, 13mm Angle regulating valsves and jointing to some overflow, waste and soil pipe
A | White glazed ceramic Water closet suite, closed couple as 'VAAL', Flamingo fitted between 460mm minimum to 480mm maximum above finish floor level complete with wash down pan with P trap including domex screws, 100 to 600 kpa operating pressure concealed flush master with sides supply fitting , rigid plastic seat and cover all to architects details and approval | No | 0 |  | 0
B | White glazed Vitreous China wash hand basin as 'VAAL' Flamingo With pedestal as supplied by handymans paradise code 49-267 with and including 15mm diameter chromium plated pillar tap with carina handle as 'COBRA', overflow and waste, fixed with semi - concealed brackets reference 8118, to background plugging, size . 560 x 405 mm | No | 0 |  | 0
C | 1800mm double bowl double drainer stainless steel sink c/w plug and chain,38mm waste fittings, 13mm CP sink mixer tap incl. fixing on pipe brackets as described | No | 0 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
Supply and fix the following fitting accessories as "Cobra" or other equal to architects sanitary schedule
A | Supply and Fix Chromium plated swivel type wash hand basin mix as "Cobra" or other equal and approved to architects detail | No | 0 |  | 0
B | Standard type Vitreous China toilet roll holder as Vaal 'Flamingo'by Potteries (Pty) ltd as suppplied by handymans paradise code code 0701835 or other equal and approved, fixing to tiling background with cement - based adhesive, at all water closet suites | No | 0 |  | 0
C | White glazed Vaal wall hang Urinal Bowl as ''SWEETPEA'' reference code 705126 with top inlet overall size, 565 x 275 x 310mm complete with top inlet fittings reference code 705470 including a 30mm CP Domical grating spreader with a 20mm dia thread and 2 hanger brackets and fixing in position to manufacturer's recommendations and to the approval and satisfaction of the Mechanical Engineer - Applicable to Male Toilet | No | 0 |  | 0
Additional Pipework to Sanitary Fittings
D | Provide a provisional sum of Zambian Kwacha Ten Thousand Only for pipework to Sanitary Fittings | Item | 0 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
BUILDERS WORKS
Builder's work in connection with Plumbing installation
A | Provide a provisional sum of Zambian Kwacha Ten Thousand Only for builder's work in connection with Plumbing Installation | Item | 0 |  | 0
| PLUMBING INSTALLATION CARRIED TO SUMMARY |  |  |  | 0
SECTION SUMMARY
1 | WALLING | Page |  |  | 0
2 | CEILING,FLOOR AND WALL FINISH | Page |  |  | 0
3 | DOORS AND PARTITIONING | Page |  |  | 0
4 | PLUMBING INSTALLATIONS | Page |  |  | 0
| TOTAL TO MAIN SUMMARY |  |  |  | 0

## ELECTRICALS
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATES | AMOUNT
Electrical Installation
Notes on Electrical Installation
A | The following items and descriptions shall be read in conjunction with the Electrical Engineers Drawings which shall form part of the tender documents | Item | 1
B | CAS and IEE wiring rules shall be followed for all Electrical installations | Item | 1
C | All materials and workmanship to be tested and approved by the Engineers in compliance with the regulations before execution on site. All quries and discrepancies to be refered to the Engineer | Item | 1
D | MCB's/MCCB's to be 'MERLIN GERIN' or 'CBI' 'HYMAG' mak with applicable short circuit current rating. | Item | 1
LIGHT FITTINGS & POWER INSTALLATION
Supply, deliver, install, connect and set to work the following power fittings as specified or others of similar standard and performance specification approved by the Electrical Engineer
F | 42W LED Recessed Panel light fitting, (To fit ceiling Grid 600x600mm) c/w philips driver-IP20 and all required accessories as Genlux Lighting -GME-PL606042SL-ES, Warm White 4000K | No. | 80 |  | 0
G | 2xPL 36W recessed down light fitting as Eurolux lighting with IP65 rating or other equal and approved surface mounted light fitting | No. | 27 |  | 0
H | E27/100W (200 Diameter) | No. | 4 |  | 0
J | 3x18W 600x600mm surface mounted flourescent light fitting complete with ballast and copacitor | No. | 4 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
A | 14W (2x7W) recessed down light fitting (diameter 100) | No. | 24 |  | 0
B | LED pendant light ring light (diameter 600) | No | 2 |  | 0
C | LED Red light bead | m | 161 |  | 0
Supply, deliver, install, connect and set to work the following power fittings as specified on the relevant drawings
G | 15A Single switch socket outlet wall mounted at 1100mm/2200 as "LEGRAND BELANKO" 6170 51 WHITE | No | 5 |  | 0
H | Electrical districbution boards wall (recessed) mounted as legend | No | 0 |  | 0
PVC TRUNKING c/w ACCESSORIES
M | Supply, deliver, install the following PVC Trunking c/w End cap, Tee & all required accessories
N | 2 Copartment, 2 cover PVC Trunking 150x50mm depth, Make-'Legrand' 010427 | M | 10 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
A | 13A Double Switch Socket Outlets, Square Pin as 'Legrand' c/w cover for Normal Power - White | No. | 26 |  | 0
B | 13A Double Switch Socket Outlets, Square Pin as 'Legrand' c/w cover for Dedicated Power - Red | No. | 15 |  | 0
C | 13A Double Switch Socket Outlets complete with square pic raised above at the height of the TV installation | No. | 5 |  | 0
D | Approved quality trunking risers from ceiling cable tray to include full drop trunking length to reticulation point | No | 5 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
CABLE TRAY & WIRING DUCT c/w ACCESSORIES
Supply, deliver, install the following Cable tray and Wiring Duct c/w all required accessories
A | 229x38mm Height, Medium Duty Perforated Cable Tray c/w Mounting Bracket at each.1.5 Meter for Elect./Tele./Data Cable-Make "Cabstrut or Eqv." | M | 50 |  | 0
FIRE ALARM COMPONENTS (Re-use existing)
Provision Supply, deliver, install & set to work the following Fire Alarm Panel and accessories including cabling in "Fire Retardant Cables"
C | High Specification Conventional Fire Alarm Panel - 4 Zone with 24 Hours Battery back-up, Make: "JSB Fire Systems" FX42084 | No. | 0 |  | 0
D | Conventional Fire Alarm Break Glass Unit, Make: "JSB Fire Systems" FX201 | No. | 3 |  | 0
E | Conventional Fire Alarm Call Bell-6", Make: "JSB Fire Systems" MBM 246 | No. | 3 |  | 0
F | Conventional Optical Smoke Detector c/w Base, Make: "JSB Fire Systems" FNX533+FNX520 | No. | 9 |  | 0
G | Conventional Optical Heat Detector c/w Base, Make: "JSB Fire Systems" FNX524+FNX520 | No. | 1 |  | 0
H | Fire Retardant cable- 2.5mm sq PVC/Cu in 25mm sq PVC Conduit to connect Fire Panels to Break Glass, Sounder, Smoke Detectors | M | 30 |  | 0
J | Beacon to engineers details | No | 3 |  | 0
K | Fire banket to engineers details and specifications | No | 1 |  | 0
| Carried forward |  |  |  | 0
| Brought forward |  |  |  | 0
Supply Fire extinguishers and fixing to walls on approved brackets as described
A | 9kg DCP Fire Extinguisher equal and approved complete with Gun Metal Cap, hose with squeeze grip nozzle, wall fixing brackets conforming to BIS. | No | 5 |  | 0
| TOTAL CARRIED TO MAIN SUMMARY |  |  |  | 0

## PC & PROVISIONAL SUMS (hidden)
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
PRIME COST AND PROVISIONAL SUMS
A | Allow provisional sum of ZMW 40,000.00 for attendance to making good to walls, electricals and the like as a result of Furniture Installation Works as approved by the Architect | Item | 1 | 40000 | 40000
B | Allow provisional sum of ZMW 20,000.00 for rewiring existing Small Power DB as approved by Architect | Item | 1 | 20000 | 20000
C | Allow provisional sum of ZMW 30, 000 for attendance to making good to walls, electricals and the like as a result of Branding Works as approved by Architect | Item | 1 | 30000 | 30000
D | Allow a Provisional Sum of ZMW50,000.00 for Private Banking Additional Works, to be directed by the Architect | Item | 1 | 50000 | 50000
D | Allow a Provisional Sum of ZMW50,000.00 for Additional I.T. Related Works, to be directed by the Architect | Item | 1 | 50000 | 50000
| TOTAL CARRIED TO SUMMARY |  |  |  | 190000

## PC& PROVISIONAL
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATES | AMOUNT
PRIME COST AND PROVISIONAL SUMS
A | Allow provisional sum of ZMW 10,000.00 for attendance to making good to walls, electricals and the like as a result of Furniture Installation Works as approved by the Architect | Item | 1 | 10000
B | Allow provisional sum of ZMW 5,000.00 for rewiring existing Small Power DB as approved by Architect | Item | 1 | 5000
| TOTAL CARRIED TO SUMMARY |  |  |  | 0

## MAIN SUMMARY
MAIN SUMMARY
1 | PRELIMINARIES AND GENERAL ITEMS | Page |  | 0
2 | DEMOLITIONS | Page |  | 0
3 | BANK BUILDING | Page | 0 | 0
4 | ELECTRICAL INSTALLATION | Page |  | 0
5 | PC AND PROVISIONAL SUMS | Page |  | 0
| SUB-TOTAL |  |  | 0
0
6 | CONTINGENCY @ 10% |  |  | 0
| SUB-TOTAL |  |  | 0
7 | VALUE ADDED TAX @ 16% |  |  | 0
| TOTAL TO FORM OF TENDER |  |  | 0