P O Box 33611						Tel:  260 211 221355/227989

Lusaka 							Fax:  260 211 238181

- 17th February, 2023

- ADDENDUM NO.2

- RE: ZNCB/RFP/COO/009/2023 - TENDER FOR THE SUPPLY, DELIVERY AND INSTALLATION OF ONE ATM DROP DOWN UNIT FOR THE ZAMBIA NATIONAL COMMERCIAL BANK PLC

Reference is made to the above captioned request.

Kindly be informed as follows:

| No | Questions from Prospective Vendors | Response from Zanaco |
| --- | --- | --- |
| 1 | What materials do we make them up with? i. e Fibreglass | Steel Plate |
| 2 | Security requirements? Floor, ceiling, side panels | Steel plate floor, side panels |
| 3 | Safe Door specs? | CAT 2 safe door |
| 4 | Lighting inside the cubicle and in the customer area? | Yes, as per Mockup |
| 5 | Electrical requirements i.e. Plug Points, data etc | 2 socket Power supply + Aircon |
| 6 | Counting table inside the unit? | No |
| 7 | Is the outside illuminated? | Yes |
| 8 | What quantities are they looking for? | 01 |
| 9 | Do they have a mould for the bezel and dustbin? | Yes |
| 10 | Do they have proto type? | Yes – Drop Down Mockup on the Website |
| 11 | Size of the Dropdown? | W- 2700, H- 2600 D- 3440 |

All other information in the RFP remains the same.

Regards