## Routine Maintenance
GENSET PREVENTIVE MAINTENACE
UNIT PRICE SCHEDULE
1 | LUSAKA PROVINCE
Specification |  |  |  | Preliminaries & General Items |  |  |  |  | Consumables Spares |  |  |  |  | Quarterly Service
S/N | Location | Size (KVA) | Make | Distance (Km) | Mileage/Km | Mileage Cost | Labour | Field Expenses | Engine Oil | Oil Filter | Fuel Filter | Air Filter | Sundries | Amount (ZMW)
1.01 | Acacia | 60KVA | Cummins | 10 |  | 0 | [7 empty] | 0
1.02 | Twin Palm | 60KVA | SDMO | 10 |  | 0 | [7 empty] | 0
1.03 | CRBC | 45KVA | Perkins | 10 |  | 0 | [7 empty] | 0
1.04 | City Market | 13KVA | Perkins | 10 |  | 0 | [7 empty] | 0
1.05 | Civic Centre | 40KVA | Perkins | 10 |  | 0 | [7 empty] | 0
| Command Center | 40KVA | Perkins | 10 |  | 0 | [7 empty] | 0
1.06 | Findeco | 40KVA | Perkins | 10 |  | 0 | [7 empty] | 0
1.07 | Head Office | 450KVA | SDMO | 10 |  | 0 | [7 empty] | 0
1.08 | Head Office | 200KVA | Perkins | 10 |  | 0 | [7 empty] | 0
1.09 | Kwacha | 20KVA | Perkins | 10 |  | 0 | [7 empty] | 0
,1.10 | Lusaka Centre | 60KVA | Perkins | 10 |  | 0 | [7 empty] | 0
1.11 | Data Centre | 550KVA | SDMO | 10 |  | 0 | [7 empty] | 0
1.12 | Data Centre | 550KVA | SDMO | 10 |  | 0 | [7 empty] | 0
1.13 | Northmead | 80KVA | Perkins | 10 |  | 0 | [7 empty] | 0
1.14 | Government Complex | 25KVA | Cummins | 10 |  | 0 | [7 empty] | 0
1.15 | Premium | 20KVA | Lister Peter | 10 |  | 0 | [7 empty] | 0
1.16 | Makeni | 30KVA | Perkins | 10 |  | 0 | [7 empty] | 0
1.17 | Waterfalls | 44KVA | Cummins | 10 |  | 0 | [7 empty] | 0
1.18 | Longacres | 45KVA | Cummins | 10 |  | 0 | [7 empty] | 0
1.19 | Kafue | 10.5KVA | MF | 60 |  | 0 | [7 empty] | 0
1.20 | Chirundu | 42KVA | Perkins | 115 |  | 0 | [7 empty] | 0
| Total Lusaka Province carried to Summary | [12 empty] | 0
2 | CENTRAL PROVINCE
Specification |  |  |  | Preliminaries & General Items |  |  |  |  | Consumables Spares |  |  |  |  | Quarterly Service
S/N | Location | Size (KVA) | Make | Distance (Km) | Mileage/Km | Transport | Labour | Field Expenses | Engine Oil | Oil Filter | Fuel Filter | Air Filter | Sundries | Amount (ZMW)
2.01 | Chisamba | 13KVA | Perkins | 90 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.02 | Kabwe | 40KVA | Atlas Cop | 160 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.03 | Kapiri | 40KVA | Perkins | 200 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.04 | Mkushi | 40KVA | Perkins | 260 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Central Province carried to Summary | [12 empty] | 0
3 | SOUTHERN PROVINCE
Specification |  |  |  | Preliminaries & General Items |  |  |  |  | Consumables Spares |  |  |  |  | Quarterly Service
S/N | Location | Size (KVA) | Make | Distance (Km) | Mileage/Km | Transport | Labour | Field Expenses | Engine Oil | Oil Filter | Fuel Filter | Air Filter | Sundries | Amount (ZMW)
3.01 | Mazabuka | 40KVA | Aksa | 135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.02 | Monze | 44KVA | Cummins | 175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.03 | Choma | 20KVA | Perkins | 225 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.04 | Maamba | 40KVA | Perkins | 250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.05 | Namwala | 44KVA | Cummins | 315 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.06 | Livingstone | 44KVA | Perkins | 415 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.07 | Itezhi Tezhi | 30KVA | Deutz | 347 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.08 | Siavonga | 40KVA | Perkins | 134 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Southern Province carried to Summary | [12 empty] | 0
4 | LUAPULA PROVINCE
Specification |  |  |  | Preliminaries & General Items |  |  |  |  | Consumables Spares |  |  |  |  | Quarterly Service
S/N | Location | Size (KVA) | Make | Distance (Km) | Mileage/Km | Transport | Labour | Field Expenses | Engine Oil | Oil Filter | Fuel Filter | Air Filter | Sundries | Amount (ZMW)
4.01 | Kawambwa | 40KVA | Perkins | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.02 | Mansa | 60KVA | John Deere | 545 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Luapula Province carried to Summary | [12 empty] | 0
5 | NORTHERN / MUCHINGA PROVINCE
Specification |  |  |  | Preliminaries & General Items |  |  |  |  | Consumables Spares |  |  |  |  | Quarterly Service
S/N | Location | Size (KVA) | Make | Distance (Km) | Mileage/Km | Transport | Labour | Field Expenses | Engine Oil | Oil Filter | Fuel Filter | Air Filter | Sundries | Amount (ZMW)
5.01 | Mpika | 40KVA | Perkins | 430 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5.02 | Kasama | 40KVA | Perkins | 590 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5.03 | Chinsali | 44KVA | SDMO | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5.04 | Nakonde | 50KVA | Perkins | 460 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Northern/Muchinga Province carried to Summary | [12 empty] | 0
6 | NORTH WESTERN PROVINCE
Specification |  |  |  | Preliminaries & General Items |  |  |  |  | Consumables Spares |  |  |  |  | Quarterly Service
S/N | Location | Size (KVA) | Make | Distance (Km) | Mileage/Km | Transport | Labour | Field Expenses | Engine Oil | Oil Filter | Fuel Filter | Air Filter | Sundries | Amount (ZMW)
6.01 | Solwezi | 80KVA | SDMO | 260 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total North Western Province carried to Summary | [12 empty] | 0
7 | EASTERN PROVINCE
Specification |  |  |  | Preliminaries & General Items |  |  |  |  | Consumables Spares |  |  |  |  | Quarterly Service
S/N | Location | Size (KVA) | Make | Distance (Km) | Mileage/Km | Transport | Labour | Field Expenses | Engine Oil | Oil Filter | Fuel Filter | Air Filter | Sundries | Amount (ZMW)
7.01 | Petauke | 40KVA | John Deere | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7.02 | Chipata | 40KVA | Atlas Cop | 600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Mfuwe | 10KVA | Lister Peter | 214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7.03 | Lundazi | 40KVA | Cummins | 405 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Eastern Province carried to Summary | [12 empty] | 0
8 | WESTERN PROVINCE
Specification |  |  |  | Preliminaries & General Items |  |  |  |  | Consumables Spares |  |  |  |  | Quarterly Service
S/N | Location | Size (KVA) | Make | Distance (Km) | Mileage/Km | Transport | Labour | Field Expenses | Engine Oil | Oil Filter | Fuel Filter | Air Filter | Sundries | Amount (ZMW)
8.01 | Mongu | 33KVA | Atlas Cop | 605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8.02 | Senanga | 30KVA | John Deere | 675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Western Province carried to Summary | [12 empty] | 0
9 | COPPERBELT PROVINCE
Specification |  |  |  | Preliminaries & General Items |  |  |  |  | Consumables Spares |  |  |  |  | Quarterly Service
S/N | Location | Size (KVA) | Make | Distance (Km) | Mileage/Km | Transport | Labour | Field Expenses | Engine Oil | Oil Filter | Fuel Filter | Air Filter | Sundries | Amount (ZMW)
9.01 | Ndola West | 40KVA | Perkins | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.02 | Ndola Business Centre | 80KVA | Perkins | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.03 | Masala | 13KVA | Perkins | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.04 | Luanshya | 35KVA | Perkins | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.05 | Kitwe Industrial | 10.5KVA | Perkins | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.06 | Kitwe Business | 60KVA | Perkins | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Kasumbalesa (new) | 40KVA | Perkins | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.07 | Mukuba Mall | 44KVA | SDMO | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.08 | CBU | 44KVA | SDMO | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.09 | Chingola | 40KVA | SDMO | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9.10 | Mufulira | 60KVA | Perkins | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Copperbelt Province carried to Summary | [12 empty] | 0
| Grand Total All Province carried to Summary | [12 empty] | 0

## Consolidated Maintenance
BOQ FOR GENSET MAINTENACE
NO | DESCRIPTION | UOM | Qty | RATE (ZMW) | AMOUNT (ZMW)
1 | Bill No.1 - Preliminaries & General Items
1.1 | The Contractor is to allow for all contract Preliminaries and General items which he considers necessary to comply with all his obligations and all his charges including mobilisation and demobilisation, general attendance, security of works, transportation of materials, tools and equipment, supervision of labour, Insurance, possession and completion of works, safety requirements and a standy mobile generator upto 60KVA to cover break down periods. | Item | 1 | 0 | 0
| Sub Total Bill No.1 carried to summary |  |  |  | 0
2 | Bill No. 2 - Preventive Maintenace
Carry out Preventive Maintenance, Repairs and Routine Servicing for the Generator Set which includes: General Inspection, Lubrication service, Cooling system service, Fuel system service, Battery service, Power Unit service and Regular Engine exercise.
2.1 | LUSAKA PROVINCE | Quarter | 4 | 0 | 0
2.2 | CENTRAL PROVINCE | Quarter | 4 | 0 | 0
0
2.3 | SOUTHERN PROVINCE | Quarter | 4 | 0 | 0
0
2.4 | LUAPULA PROVINCE | Quarter | 4 | 0 | 0
0
2.5 | NORTHERN / MUCHINGA PROVINCE | Quarter | 4 | 0 | 0
0
2.6 | NORTH WESTERN PROVINCE | Quarter | 4 | 0 | 0
0
2.7 | EASTERN PROVINCE | Quarter | 4 | 0 | 0
0
2.8 | WESTERN PROVINCE | Quarter | 4 | 0 | 0
2.9 | COPPERBELT PROVINCE | Quarter | 4 | 0 | 0
| Sub Total Bill No.2 carried to summary |  |  | 0 | 0
3 | Bill No. 3 - General Repairs and Shutdown Maintenance
Carry out general repairs such as breakdown /emergency repairs and maintetance shutsowns that may include replacement of spare parts and engine overhauls
3.1 | Allow for provision of replacement spare parts including associated labour costs to restore the genset to functional condition | Quarter | 4 | 0 | 0
| Sub Total Bill No.3 Carried to Summary |  |  |  | 0
| Gross total maintenance carried to summary |  |  |  | 0

## Summary
GENERAL SUMMARY
ZMW
1 | Bill No. 01: Preliminary and General Items |  | 0
2 | Bill No. 02: Preventive Maintenance |  | 0
3 | Bill No. 03: General Repairs |  | 0
| Sub Total |  | 0
| ADD: VAT @ 16% | 16% | 0
| TOTAL BID PRICE PER YEAR |  | 0
Name and Address of Contractor:
Date:
Signature of Authorised Representative: _____________________

## Spares Price List
PRICE LIST FOR GENERATOR SET REPLACEMENT SPARE PARTS
NO | DESCRIPTION OF SPARE PART | MAKE | CAPACITY (KVA) | PRICE (ZMW) | DELIVERY PERIOD
ENGINE PARTS
1 | Starter motor
2 | Alternator DC
3 | Nozzle & injectors
4 | Starter battery
5 | Water pump
6 | V. belt
7 | Radiator hose
8 | Radiator pressure cap
9 | Radiator
10 | Fan blade
11 | Injector pump Service
12 | Front and rear seals
13 | Injector pump
14 | Solenoid fuel
15 | Lift pump
16 | Oil switch/ oil pressure
17 | Water tempreture
18 | Dip sticks
19 | Fuel Pump
20 | Battery Charger
21 | Battery
22 | Heavy Duty Battery
23 | AC Alternator
ENGINE OVERHAUL
24 | Piston
25 | Piston rings set
26 | Corn Rod
27 | Main bear
28 | Corn rod bear
29 | Corn rod bush
30 | gudgeon pin
31 | Center bearing
32 | Gear and bearing
33 | cylinder head Gasket
34 | Valve Seals
35 | Overhaul gasket
36 | Cylinder head bolts
37 | push rods
38 | thrust washer kit
39 | exhaust value
40 | inlet valve
41 | Valve spring
42 | Rocker lever
43 | fuel pipes
44 | exhaust silencer
ALTERNATOR SPARE PARTS
45 | AVR
46 | Diodes + And Brushes
47 | Alternator clutch plates
ELECTRICALS
48 | Control Unit
49 | Contactors
50 | Breakers
51 | Timers
52 | Phase Monitor
53 | Relays
54 | Change Over Panel
55 | voltage monitor
56 | Current meters
57 | PF meters
58 | Frequency Meters