## Variation Account (hidden)
| Description | Variation Amount | Provision In Main BOQ | Difference
1 | Atm Works | 87456.5621 | 0
2 | Aircon | 58696.29 | #REF! | #REF!
3 | Raised Floor | 196867.66 |  | -196867.66
4 | Server Room | 8990 |  | -8990
5 | Electrical Cable Tray (Provisional) | 45000 |  | -45000
6 | Transparent Burglar Bars | 96000 |  | -96000
7 | Contingency | 49301.0512 | 100000 | 50698.9488
0
| Total | 542311.5633 | #REF! | #REF!

## Raised Floor (hidden)
S/N | DESCRPTION OF WORKS | UNIT | QTY | RATE | AMOUNT
1 | Supply & install raised floor in Global Markets using ultra steel frames & 600 x 600 x 40mm thick panels | m2 | 55 | 2950 | 162250
2 | Preliminaries and general items | item | 1 |  | 7463.5 | 7463.5
| Sub total Cost Zmw |  |  |  | 169713.5
| Add 16% VAT |  |  |  | 27154.16
| Grand total Cost Zmw |  |  |  | 196867.66
Note on H6: Malambo Gumbo Ziko: P&G Rate is 4.6%=7463.5

## ATM (hidden)
S/N | DESCRPTION OF WORKS | UNIT | QTY | RATE | AMOUNT
1 | Construction of 150mm thick hollow conrete block wall | m2 | 28 | 135 | 3780
2 | 12mm thick plaster on both sides of 150mm thick wall | m2 | 56 | 35 | 1960
3 | Brickforce 150mm every third course | m | 48 | 10 | 480
4 | Supply & install alumimium partition marked Panel 1 size 6255w x 2800h glazed with 6,38mm clear laminated glass. | no | 1 | 23436 | 23436
5 | Supply & install alumimium partition marked Panel 2 size 2350w x 2800h glazed with 6,38mm clear laminated glass. | no | 1 | 8880 | 8880
6 | Supply & install steel door frame 900w x 2000h complete with Hardwood door & lock. | no | 1 | 4550 | 4550
7 | Supply & install retractable trellidor door size 900 x 2000h | no | 1 | 5500 | 5500
8 | Supply & install steel mesh with Y12 mild steel bars in ceiling vold | m2 | 13 | 439 | 5707
9 | Supply & install suspended ceiling in ATM Room | m2 | 13 | 205 | 2665
10 | Electrical works in ATM room, wiring, switch, socket, lighting. | item | 1 | 5000 | 5000
11 | Painting works of walls to ATM using Dulux paint | m2 | 56 | 45 | 2520
12 | Supply & Install skirting along new walls | m | 20 | 65 | 1300
13 | Provisional sum for making good floor tiles | m2 | 28 | 225 | 6300 | 72078 | 3315.588
14 | Preliminaries and General items | item | 1 |  | 3315.588
| Sub total Cost Zmw |  |  |  | 75393.588
| Add 16% VAT |  |  |  | 12062.9741
| Grand total Cost Zmw |  |  |  | 87456.5621
Note on C18: Malambo Gumbo Ziko: Y16 Bars not Y12
Note on H30: Malambo Gumbo Ziko: P&G Rate is 4.6%=3315.59

## Aircons (hidden)
S/N | DESCRPTION OF WORKS | UNIT | QTY | RATE | AMOUNT
1 | Carefully remove existing airconditioning cassatte units & reinstall to new position & make good all disturbed areas. | no | 7 | 1650 | 11550
2 | Carefully remove existing airconditioning cassatte units & reinstall to new position & make good all disturbed areas. | no | 8 | 1650 | 13200
3 | Re fill repositioned all airconditions with gas & fix new piping & armaflex & power cables | no | 7 | 3375 | 23625
4 | Supply & install ceramic floor tiles in kitchens on ground & first floor | m2 | 30 | 360 |  | 48375
2225.25
5 | Preliminaries and general items | item | 1 |  | 2225.25
| Sub total Cost Zmw |  |  |  | 50600.25
| Add 16% VAT |  |  |  | 8096.04
| Grand total Cost Zmw |  |  |  | 58696.29
Note on H10: Malambo Gumbo Ziko: Covered under Provisional Sum in BOQ
Note on H12: Malambo Gumbo Ziko: P&G Rate is 4.6%=2722.5

## BoQ
BILL NO. 1
PRELIMINARIES AND GENERAL ITEMS
Item | PREAMBLES | Qty | Unit | Rate | BoQ Amount
A | The Contractor shall be deemed to have included in his
rates for the following:-
(i) Making good finishing’s and other works disturbed
(ii) Constant supervision by a Supervisor possessing approved qualifications
(iii) Protection of the works until handed over
(iv) Disposal to authoised dumpsites
B | Allow for complete Preliminary and General Items | Item
___________________________
| Carried to Collection |  |  | K | 0
Page 1/22
BILL NO. 1
PRELIMINARIES AND GENERAL ITEMS
Item | PREAMBLES | Qty | Unit | Rate | BoQ Amount
COLLECTION PAGE
Page No.
|  |  | 1/1, |  | INCLUDED
|  |  | 1/2, |  | INCLUDED
|  |  | 1/3, |  | INCLUDED
|  |  | 1/4, |  | INCLUDED
|  |  | 1/5, |  | INCLUDED
|  |  | 1/6, |  | INCLUDED
|  |  | 1/7, |  | INCLUDED
|  |  | 1/8, |  | INCLUDED
|  |  | 1/9, |  | INCLUDED
|  |  | 1/10, |  | INCLUDED
|  |  | 1/11, |  | INCLUDED
|  |  | 1/12, |  | INCLUDED
|  |  | 1/13, |  | INCLUDED
|  |  | 1/14, |  | INCLUDED
|  |  | 1/15, |  | INCLUDED
|  |  | 1/16, |  | INCLUDED
|  |  | 1/17, |  | INCLUDED
|  |  | 1/18, |  | INCLUDED
|  |  | 1/19, |  | INCLUDED
|  |  | 1/20, |  | INCLUDED
|  |  | 1/21, |  | INCLUDED
|  |  | 1/22, |  | 0
| BILL NO. 1 TO GENERAL SUMMARY |  |  | K | 0
Page 1/23
BILL NO. 2
DEMOLITIONS AND ALTERATIONS
Item | NOTES: | Qty | Unit | Rate | K n
A | The Contractor is strongly advised to visit the site
| before pricing this section of the works |  | Item |  | INCLUDED
B | All demolition works described herein are shown on Architects Drawings |  | Item |  | INCLUDED
C | The Contractor’s attention is drawn to the fact that the locations used for room areas refers to the existing usage |  |  |  | INCLUDED
Old Materials required to remain the property of the Employer
D | All salvage materials to be carefully taken down or removed intact, stored safely and later handed to Employer
| Note: Where ever indicated “hand to Client”, this shall mean the owners of the Building |  | Item |  | INCLUDED
E | At the Architect’s discretion, the Contractor may be instructed to re-use some or all of these materials in the new work. |  | Item |  | INCLUDED
F | Should the Contractor however, be interested in the salvage materials, a credit allowance should be indicated in the space provided at the collection page |  | Item |  | INCLUDED
PREAMBLES
G | Demolition works are to be carried out only after express approval has been given by the Architect regarding the proposed method statement of the works. This method statement should be submitted prior to commencement on site and whilst approval will not be unreasonably with held, no claims will be allowed due to a change being imposed on this method statement by the Architect |  | Item |  | INCLUDED
| Carried to Collection |  |  | K | INCLUDED
Page 2/1
BILL NO. 2
DEMOLITIONS AND
ALTERATIONS
Item | PREAMBLES (Cont’d) | Qty | Unit | Rate | K n
A | The works have been described in reasonable detail but the Contractor shall consider them in conjunction with the actual work on site and allow for everything necessary for carrying out the works whether specifically mentioned or not
B | The Contractor shall include here or within his rates for making good with materials to match existing any damage that may be caused to adjacent work of whatever kind, during or in consequence of the work as no claim will be entertained for the making good of damage arising from these clauses
Definitions
C | (i) The terms ‘remove’ ‘demolish’ and ‘break out’ shall include for all demolitions, clearing and carting away debris from site unless otherwise directed and for making good all work disturbed
D | (ii) The terms ‘take up’, ‘hack up’ and ‘hack off’ shall include for clearing and carting away all debris from site, making good all work disturbed and preparing backgrounds where directed to properly receive new finish
E | (iii) The terms ‘form openings’ and ‘enlarge opening’ shall include for all necessary demolitions, temporary supports, removal of debris from site, insertion of concrete lintol designed and reinforced at contractor’s desecration and as approved, size to be determined by the thickness of wall, quoining up jambs and making good all finishings as necessary to match existing
| Carried to Collection |  |  | K | INCLUDED
Page 2/2
BILL NO. 2
DEMOLITIONS AND
ALTERATIONS
Item | Definitions (Cont’d) | Qty | Unit | Rate | K n
A | (iv) The term ‘block up opening’ shall include for blocking up in blocks or bricks as described removal of waste and making good all work and finishings as necessary to match existing
B | (v) Removing services shall be deemed to include sealing off and making safe and shall include the taking out of equipment, appliances, ancillaries fittings, accessories, brackets, clips supports and the like
Electricity, Water and Telephones
C | (i) The Contractor shall give notice regarding disconnections to the relevant statutory companies prior to any demolitions and shall allow them facilities to remove from the site any fixtures, fittings, or services as may belong to them |  | Item |  | INCLUDED
D | (ii) The Contractor shall allow for liaising with, and providing all necessary attendances on, the authorities concerned in the disconnection of all services |  | Item |  | INCLUDED
Shoring and Supports
E | Allow for all necessary dead or raking shores and other supports as described and for removing and making good on completion |  | Item |  | INCLUDED
Protection
F | The Contractor is to allow for taking all measures necessary for the proper protection of the workforce and public in general and surrounding roads and property |  | Item |  | INCLUDED
| Carried to Collection |  |  | K | INCLUDED
Page 2/3
BILL NO. 2
DEMOLITIONS AND
ALTERATIONS
Item | NOTES: | Qty | Unit | Rate | K n
Redundant Demolition Materials
A | Materials from the demolitions must not be stacked or allowed to accumulate on existing structures in such a way as to cause obstruction or danger |  | Item |  | INCLUDED
Avoidance of Nuisance
B | All demolition, forming of openings etc. are to be carried out in such a manner as to cause as little inconvenience as possible to the occupants of the building and surrounding buildings. It must be noted that the contractor will be held responsible for any claims which may arise from the disregard of this clause |  | Item |  | INCLUDED
C | All rubbish, debris etc. is to be regularly sprinkled with water or such other means as to prevent dust arising |  | Item |  | INCLUDED
Protection of Existing Buildings etc.
D | The Contractor must provide all requisite shores, needles, struts, props or other supports for the necessary protection of the existing building and the supply of all fans, screens and the like for the protection of the general public and in particular any occupants of the buildings. The Contractor shall alter, adapt and maintain all such temporary works as may be necessary from time to time and finally clear away and making good all disturbed. The contractor will be held responsible for the safety of the existing building and the sufficiency of all temporary works | 1 | Item |  | 0
| Carried to Collection |  |  | K | 0
Page 2/4
BILL NO. 2
DEMOLITIONS AND
ALTERATIONS
Item | NOTES: | Qty | Unit | Rate | K n
Forming New and Blocking Up Openings
A | When cutting or adapting openings through walls for doors, windows, pipework and the like the Contractor shall take particular care not to endanger the stability bearings of beams, joists or any structural difficulties. When during the progress of cutting the existing structure any unforeseen obstruction or unusual circumstance is encountered whereby the effects of proceeding with the work could entail hazard the Contractor shall immediately halt, work, notify the Architect and await instructions |  | Item |  | INCLUDED
B | All making good shall be executed with materials and workmanship to match, in every respect, the surrounding work and is to be properly bonded thereto |  | Item |  | INCLUDED
Preparation of Surfaces
C | Finishings shall include for all making good, keying, levelling and other works necessary to ensure proper and smooth bonding of the new finishings to the surfaces the existing |  | Item |  | INCLUDED
Items for Re-use
D | Items described as being ‘handed to Employer’ ‘set aside’ must be removed extremely carefully to avoid damage. The Contractor should allow for any repairs or replacement should any damage occur as or he will be held responsible in this regard. |  | Item |  | INCLUDED
DEMOLITIONS
E | Carefully demolish existing wall overall area 101m². Make good all disturbed works | 101 | sqm |  | 0
| Carried to Collection |  |  | K | 0
Page 2/5
BILL NO. 2
DEMOLITIONS AND
ALTERATIONS
Item | Description | Qty | Unit | Rate | K n
A | Carefully and neatly remove existing partitions and hand over to the client. Make good all disturbed. Overall area 69m² - Tellers | 1 | Item |  | 0
0
B | Carefully and neatly remove existing teller counters overall length 8000mm and hand over to the client. Make good all disturbed. Banking Hall/ Tellers | 1 | Item |  | 0
0
C | Carefully and neatly remove existing window and replace it with staggered windows as per schedule (M.S.) hand over to the client. Overall window length 1850mm. Make good all disturbed works | 1 | Item |  | 0
0
F | Carefully and neatly remove 4no. existing Wash Hand Basins and all related plumbing pipes. Make good all disturbed works. | 1 | Item |  | 0
0
G | Carefully and neatly remove 2no. existing Water Closets and all related plumbing pipes. Make good all disturbed works. | 1 | Item |  | 0
0
H | Carefully and neatly remove existing double doors and related accessories. size 1400 x 2000mm and hand over to the client. Make good all disturbed works. | 1 | Item |  | 0
0
J | Carefully and neatly remove existing Aluminium partitions to entrance and related accessories. size 1600 x 2000mm x 2No. and hand over to the client. Make good all disturbed works. | 1 | Item |  | 0
0
K | Carefully and neatly remove existing doors and related accessories. Size 900 x 2000mm (Quantity to be observed on site) and hand over to the client. Make good all disturbed works. | 1 | Item |  | 0
0
L | To Clients approval, Carefully remove existing Ceiling and allow for the installation of a new ceiling as required (M.S). Make good all disturbed works. Overall area 400m² (Maintain Tiles in Areas directed by Client) | 1 | Item |  | 0
0
0
0
| Carried to Collection |  |  | K | 0
Page 2/6
BILL NO. 2
DEMOLITIONS AND
ALTERATIONS
Item | Description | Qty | Unit | Rate | K n
A | Allow for propping of beams where necessary and as indicated | 1 | Item
B | Carefully and neatly remove/hack out existing floor finishes and prepare to receive new floor finish. Make good all disturbed works, cut away debris. Overall area 400m² (Maintain Tiles in Areas directed by Client) | 1 | Item
C | Make good all existing walls internally & externally by sanding, skimming with rhinolite and prepare for new finish as per wall schedule Overall area 2360m² | 1 | Item
D | Remove all existng light fittings, defective cabling and any other as determined by the Architect to be repositioned or handed over to client according to electrical layout and Architects instructions and replace all defective items (if any), make good all disturbed works and restore to working order. | 1 | Item
G | Remove existing exterior shopfronts (Quantity to be determined on site | 1 | Item
H | Remove existing Kitchen unit and provide for a new one (m/s) | 1 | Item
J | Remove existing CIT door, make good associated works and provide for a new one (m/s) | 1 | Item
| Carried to Collection |  |  | K
Page 2/7
BILL NO. 2
DEMOLITIONS AND
ALTERATIONS
COLLECTION
|  | Page |  |  | K n
No.
|  | P 2/1 |  |  | INCLUDED
|  | P 2/2 |  |  | INCLUDED
|  | P 2/3 |  |  | INCLUDED
|  | P 2/4 |  |  | 0
|  | P 2/5 |  |  | 0
|  | P 2/6 |  |  | 0
|  | P 2/7 |  |  | 0
| DEMOLITIONS AND ALTERATIONS TO GENERAL SUMMARY |  |  | K | 0
Page 2/8
BILL NO. 3
MEASURED WORKS
Item | Description | Qty | Unit | Rate | K n
SUPERSTRUCTURE
BLOCKWORK
Hollow concrete blocks in composition
mortar as described
A | 150mm walls | 6 | m² |  | 0
0
B | 250mm walls | 13 | m² |  | 0
0
| SUNDRIES |  |  |  | 0
0
C | "Brickforce" or other equal and approved brick reinforcement to suit 150mm walls built into horizontal joints to blockwork | 10 | m |  | 0
0
D | Ditto 250mm blockwork | 23 | m |  | 0
0
E | Damp proof course size 250mm | 4 | m |  | 0
0
F | Allow for cutting and handpacking in floor slab | 2 | m |  | 0
0
G | Allow ZMW 1, 000 for cutting, toothing and bonding end of blockwork to existing wall complete with all necessary filling and making good. | 1 | Item |  | 0
0
| One coat plastering as described with steel float finish |  |  |  | 0
0
H | To concrete, brickwork or blockwork walls | 77 | m² |  | 0
0
| Vibrated reinforced insitu concrete (Grade 25) as described |  |  |  | 0
0
J | To Lintols and beams | 2 | m3 |  | 0
0
K | In Ramps and Steps | 1 | m3 |  | 0
0
0
| FORMWORK (All Provisional) |  |  |  | 0
0
| Sawn formwork, including making good exposed surfaces after removal of formwork as described to |  |  |  | 0
0
L | To sides and soffits of lintols, beams, stairs, ramps and the like | 23 | m |  | 0
| Carried to Summary page |  |  | K | 0
Page 3/1
Item | Description | Qty | Unit | Rate | K n
WALL FINISHES
WF1 - ZANACO approved stone cladding to Architects approval
A | To walls | 23 | m² |  | 0
WF2 - Prepare skim and apply two coats "White luxurious silk to match Dulux/plascon wall and all products range" on the following surfaces:-
B | To walls, ditto | 199 | m² |  | 0
WF3 - Gray approved luxurious silk paint to match Dulux/plascon wall and all product range applied by specialist to Architects approval
C | To walls, ditto | 400 | m² |  | 0
WF4 - LAMASAAT TEXTURED PAINT AS 'MONOCOUCHE M19 19' WITH 'MINERAL YELLOW ACLYRIC COVER PAINT BY PLASCON AS '10YY40/608' TO ARCHITECTS APPROVAL
D | To walls | 31 | m² |  | 0
WF5 -GRAY NON-SLIP CERAMIC WALL TILES SUPPLIER: HANDYMANS CODE: OMLA20A3ATA
E | To walls | 80 | m² |  | 0
WF-6 LAMASAAT TEXTURED PAINT AS 'S-334' WITH 'PEBBLE BLACK' EXTERIOR WEATHER GUARD COVER PAINT SUPPLIER: LAMASAAT & DULUX/PLASCON COLOR CODE: PANTONE P179 -
F | To walls | 40 | m² |  | 0
WF7 -Weather guard paint, colour to match existing paint, to Architects approval CODE: LIONS DEN
G | To External walls | 1685 | m² |  | 0
WF8- Black Oil Based Gloss Paint. SUPPLIER: PLASCON/DULUX CODE: TBA
H | To Gate, poles and other metal features to be determined | 30 | m² |  | 0
| Carried to Collection |  |  | K | 0
Page 3/2
BILL NO. 3
MEASURED WORKS
Item | Description | Qty | Unit | Rate | K n
FLOOR FINISHES
600 x 600 mm high grade Plain Matte White porcelain floor tiles supplied by Make a Home with aluminium tile trimmers grouting according to the Project Managers Approval - CODE:037-C60812
A | Floor tiling laid level on screeded bed (measured separately). Place aluminium strips as required | 75 | m² |  | 0
AMBROSIA (2)' BAOBAB BROWN/CHARCOAL TYPE WOOD FINISHED PORCELAIN FLOOR TILES-Grade A- 150x600 CODE:025-50161506 SUPPLIER: MAKE A HOME.
B | Floor tiling laid level on screeded bed (measured separately). Place aluminium strips as required | 22 | m² |  | 0
Light Duty ZANACO Branded Rubber Mat To Be Supplied by William Scott To Clients Preference. Code: LOGO BRANDED
C | Floor tiling laid level on screeded bed as required Size 1500mm x 1000mm | 1 | No. |  | 0
D | Ditto; Size 1400mm x 1000mm | 1 | No. |  | 0
600 x 600mm Non-Slip Porcelain Tiles, Silver Gray; Supplied By Handymans to The Project Managers Approval. CODE: IMI230A
E | Floor tiling laid level on screeded bed as required | 50 | m² |  | 0
500 x 500mm Berber Point 920 carpet tiles supplied by Belgotex to Architects Apporoal. CODE-Neutral Brown
F | Floor tiling laid level on screeded bed as required | 50 | m² |  | 0
200 x 200mm Natural Slate Stone Floor Tiles ; Supplied by Stoneworx Zambia to Architects Approval
J | Floor Tiles on screeded bed as required | 11 | m² |  | 0
| Carried to Collection |  |  | K | 0
Page 3/3
BILL NO. 3
MEASURED WORKS
Item | Description | Qty | Unit | Rate | K n
CEILING FINISHES
High yield steel deformed bar reinforcement as described including all cutting bending, hooking and cranking, assembling etc., in accordance with the drawings and wiring with and including No. 16SWG annealed iron binding wire and hoisting and lowering and fixing in position
A | Y16 Steel vertical mesh spaced at 200mm c/c to be inspected before casting above suspended ceiling anchored with angle iron borders (m.s) fixed to sides of perimeter walls and roof trusses to specialists details and specifications. | 160 | kg |  | 0
B | 75 x 75mm angle iron boarder | 13 | m |  | 0
Bulkheads in Ceiling
C | 1000mm wide x 250mm deep suspended ceiling bulkheads with downlights and double strip L.E.D light beads (Measured seperately) | 35 | m² |  | 0
Down Vanguard Aluminium Ceiling
D | Down Vanguard Aluminium Ceiling tile size 600 x 600mm in an exposed suspended aluminium grid system complete with all installations and accessories to Architects approval | 100 | m² |  | 0 | 147
0
Collection Page
| Page 3/2 |  |  |  | 0
| Page 3/3 |  |  |  | 0
| Page 3/4 |  |  |  | 0
| Carried to Summary |  |  | K | 0
Page 3/4
BILL NO. 3 | BILL NO. 3
MEASURED WORKS | MEASURED WORKS
Item | Description | Qty | Unit | Rate | K n
METAL WORK
Presses Steel Frame to approval of Project Manager
A | Size 900 x 2000mm 1.5M Profile | 2 | No. |  | 0
Security door to be CAT 1 suppled by Zambian Safes & Equipment with steel dor frame to specialist detail
B | Double door overall size 1400 x 2000mm 1.5M Profile - CIT ENTRANCE | 1 | No. |  | 0
DOORS
White flash Semi-Solid Doors as supplied by Nzito to Architects specifications.
C | Double door set size 725 x 1960mm | 4 | No. |  | 0
D | Door size 825 x 1960mm with aluminium frame (MS) | 4 | No. |  | 0
Hardwood Door to Architects specifications.
E | Door size 825 x 1960mm | 1 | No. |  | 0
Supply and fix the following Yale ironmongery complete with matching screws to timber or metal doors and metal or aluminium frames
F | Yale mortice lockset | 9 | No. |  | 0
G | Rubber door stop, to approval | 14 | No. |  | 0
H | Stainless steel door stop, to approval | 15 | No. |  | 0
KITCHEN UNITS
J | Allow for kitchen units and shelving overall dimension 10,000mm wide x 6000mm long x 935mm high making good all disturbed works as approved by Architect. Description as follows; 30mm thick Granite top with polished and slightly chamfered edges with cut out for sink and oven; provide samples for client. CARCASS-Melamine finished MDF; White finish internally; Externally provide sample for Client. Door- Melamine finished MDF 3mm thick arrowline edging matching colour. Handles-350mm long stainless or satin chrome finished bar handles. | 1 | Item |  | 30000
| Carried to Summary |  |  | K
Page 3/5
BILL NO. 3 | BILL NO. 3
MEASURED WORKS | MEASURED WORKS
Item | Description | Qty | Unit | Rate | K n
GLAZED ALUMINIUM PARTITIONS
Supply and Install 150mm thick Matte Black anodised aluminium frame partitions with sections 1.5mm profile guage with 6.38mm laminated S10 tinted glass and all with door closers and stainless steel complete with all required accessories
A | Glazed aluminum partition size 7000 x 3000mm (Panel 1-Mantrap) | 1 | No. |  | 0
Supply and Install 75mm thick Matte Black anodised aluminium frame partitions with sections 1.5mm profile guage with 6.38mm laminated clear glass and all with door closers and stainless steel complete with all required accessories to architects approval
B | Glazed aluminum partition size 3000 x 3000mm including 1no. 900 x 2400mm doors (Panel 4-Meeting Room) | 1 | No |  | 0
F | Glazed aluminum partition size 5000 x 3000mm including 1no. 900 x 2400mm doors (Panel 7-Bulk Teller) | 1 | No |  | 0
G | Glazed aluminium Doors with frame 900 x 2000mm (D2) | 3 | No. |  | 0
| Carried to Summary |  |  | K | 0
Page 3/6
BILL NO. 3
MEASURED WORKS
Item | Description | Qty | Unit | Rate | K n
DRY WALL PARTITIONS
Dry wall assembled by 12mm fire rated gypsum boards fixed on aluminium plastered stud 2 Hour fire rating drywall partition all as per Manufacturers installation manual
A | Overall size 18,000 x 4368mm | 54 | m2 |  | 0
| Carried to Summary |  |  | K | 0
Page 3/7
BILL NO. 3
MEASURED WORKS
Item | Description | Qty | Unit | Rate | K n
PLUMBING AND SANITARY FITTINGS
Supply and fix as described the following sanitary appliances including jointing to some overflow, waste and soil pipe
A | White glazed ceramic Water closet suite, Low Level, complete with wash down pan with P trap including domex screws, 9 liter ceramic cistern with sides supply fitting and flush pipe, rigid plastic seat and cover and all other accessories | 5 | No. |  | 0
B | Double bowl and single drain stainless steel sink complete with pillar tap and all othe accessories to Architects satisfaction. | 1 | No. |  | 0
C | White glazed Vitreous China wash hand basin as 'Jaguar Type' or other equal and approved with and including wall type chromium plated mixer, overflow and waste, fixed with semi - concealed brackets reference 8118, to background plugging, size 585 x 435 mm, complete with all accessories | 4 | No. |  | 0
D | Standard type Nemchem type toilet roll holder or other equal and approved, fixing to tiling background with cement - based adhesive, at all water closet suites | 4 | No. |  | 0
Pipework to Additional Sanitary Fittings
E | Provide a provisional sum of Zambian Kwacha Ten Thousand Only for Additional pipework to new Sanitary Fittings | 1 | Item |  | 0
| Carried to Collection |  |  | K | 0
Page 3/8
BILL NO. 3
MEASURED WORKS
Item | Description | Qty | Unit | Rate | K n
ELECTRICAL WORKS (All Provisional)
SWITCHES AND THE LIKE
Supply, install and set to work the following switches as manufactured by “Legrand" or similar approved including all conduit, conduit, fittings, cable, cable connections and boxes as necessary
A | 10A One-gang, one-way wall switch, Ref. LEGEND 7300 00 WHI | 10 | No. |  | 0
C | Photocell sensors | 1 | No. |  | 0
LIGHTING, POWER AND OTHER FITTINGS
Supply and fix the following lighting, power and other
fittings in accordance with manufacturers instructions
D | 600 x 600mm recessed LED light Warm White Panel | 33 | No. |  | 0
E | 2 x PL36 Recessed Warm White down light fitting as approved by Client | 18 | No. |  | 0
G | 36W Neon Cool Red L.E.D Lighting double strip beads in 20mm Approved quality P.V.C Casing Tubes Fixed/Glued to Gypsum Bulkhead to Architects Approval | 66.4 | m |  | 0
H | allow a Provisional Sum of 35,000,00 for any related Electrical works to be approved by the Project Manager | 1 | Item |  | 0
| Carried to Summary |  |  | K | 0
Page 3/10
BILL NO 3
MEASURED WORKS
Item | Description | Qty | Unit | Rate | K n
EXTERNAL WORKS
A | Excavate to remove topsoil average Thickness 150mm | 200 | m2 |  | 0
B | Disposal of excavated material to authorised damp site | 30 | m3 |  | 0
C | Laterite in foundation compacted in layers 95% aashto | 200 | m2 |  | 0
Paving
D | Black Uniturtle type pavers laid in c/s mix 1:3 | 200 | m2 |  | 0
E | Provide for concrete kerbs to retain paving | 30 | m |  | 0
F | Provide for concrete benching to support kerbs | 1 | Item |  | 0
| Carried to Summary |  |  | K | 0
Page 3/11
BILL NO 4
PROVISIONAL & PRIME COST SUMS
Item | PRIME COST AND PROVISIONAL SUMS | Qty | Unit | Rate | K n
C | Allow provisional sum of ZMW 75, 000 for installation/making good of HVAC Installations as approved by the Architect |  | Item |  | 75000
D | Allow provisional sum of ZMW 20, 000 to fix leakages and general repair and maintanance to existing roof |  | Item |  | 20000
F | Allow provisional of ZMW 15, 000.00 for water supply and the like as approved by Architect |  | Item |  | 15000
J | Allow provisional of ZMW 30, 000.00 for Construction of Teller Counters complete with blockwork and granite tops as per Architects detail |  | Item |  | 30000
140000
| Carried to Collection |  |  | K
Page 4/1
SUMMARY PAGE
Item | Details | Qty | Unit | Rate | K n
COLLECTION
K n
| SUPERSTRUCTURE WORK |  |  |  | 0
| FINISHES |  |  |  | 0
| METAL WORK |  |  |  | 0
| ALUMINIUM PARTITIONS |  |  |  | 0
| DRY WALLING |  |  |  | 0
| PLUMBING AND SANITARY FITTNGS |  |  |  | 0
| ELECTRICAL WORKS |  |  |  | 0
| EXTERNAL WORKS |  |  |  | 0
| SUB TOTAL |  |  | K | 0
Page 3/12
PROPOSED REFURBISHMENTS TO ZANACO KITWE INDUSTRIAL BRANCH
GENERAL
| GENERAL SUMMARY |  |  |  | SUMMARY
Page
|  | No. |  |  | K n
| BILL NO. 1 PRELIMINARIES & GENERAL ITEMS | P1/23 |  |  | 0
| BILL NO. 2 DEMOLITION WORKS | P2/8 |  |  | 0
| BILL NO. 3 MEASURED WORKS | P3/18 |  |  | 0
| SUB TOTAL |  |  |  | 0
| BILL NO. 4 PROVISIONAL & PRIME COST SUMS | P4/1 |  |  | 0
| SUB TOTAL |  |  | ZMW | 0
| ADD: Contigency @ 10% |  |  |  | 0
0
| ADD: VALUE ADDED TAX @ 16% |  |  | ZMW | 0
| SUB TOTAL |  |  |  | 0
| SUB TOTAL |  |  | ZMW | 0
| GRAND TOTAL |  |  |  | 0
NAME OF CONTRACTOR:
SIGNATURE:……………………………………………………………… DATE:
GS/1

## BoQ (2)
BILL NO. 1
PRELIMINARIES AND GENERAL ITEMS
Item | PREAMBLES | Qty | Unit | Rate | BoQ Amount
A | The Contractor shall be deemed to have included in his
rates for the following:-
(i) Making good finishing’s and other works disturbed
(ii) Constant supervision by a Supervisor possessing approved qualifications
(iii) Protection of the works until handed over
(iv) Disposal to authoised dumpsites
B | Allow for complete Preliminary and General Items | Item |  |  | 55000
___________________________
| Carried to Collection |  |  | K | 55000
Page 1/22
BILL NO. 1
PRELIMINARIES AND GENERAL ITEMS
Item | PREAMBLES | Qty | Unit | Rate | BoQ Amount
COLLECTION PAGE
Page No.
|  |  | 1/1, |  | INCLUDED
|  |  | 1/2, |  | INCLUDED
|  |  | 1/3, |  | INCLUDED
|  |  | 1/4, |  | INCLUDED
|  |  | 1/5, |  | INCLUDED
|  |  | 1/6, |  | INCLUDED
|  |  | 1/7, |  | INCLUDED
|  |  | 1/8, |  | INCLUDED
|  |  | 1/9, |  | INCLUDED
|  |  | 1/10, |  | INCLUDED
|  |  | 1/11, |  | INCLUDED
|  |  | 1/12, |  | INCLUDED
|  |  | 1/13, |  | INCLUDED
|  |  | 1/14, |  | INCLUDED
|  |  | 1/15, |  | INCLUDED
|  |  | 1/16, |  | INCLUDED
|  |  | 1/17, |  | INCLUDED
|  |  | 1/18, |  | INCLUDED
|  |  | 1/19, |  | INCLUDED
|  |  | 1/20, |  | INCLUDED
|  |  | 1/21, |  | INCLUDED
|  |  | 1/22, |  | 55000
| BILL NO. 1 TO GENERAL SUMMARY |  |  | K | 55000
Page 1/23
BILL NO. 2
DEMOLITIONS AND ALTERATIONS
Item | NOTES: | Qty | Unit | Rate | K n
A | The Contractor is strongly advised to visit the site
| before pricing this section of the works |  | Item |  | INCLUDED
B | All demolition works described herein are shown on Architects Drawings |  | Item |  | INCLUDED
C | The Contractor’s attention is drawn to the fact that the locations used for room areas refers to the existing usage |  |  |  | INCLUDED
Old Materials required to remain the property of the Employer
D | All salvage materials to be carefully taken down or removed intact, stored safely and later handed to Employer
| Note: Where ever indicated “hand to Client”, this shall mean the owners of the Building |  | Item |  | INCLUDED
E | At the Architect’s discretion, the Contractor may be instructed to re-use some or all of these materials in the new work. |  | Item |  | INCLUDED
F | Should the Contractor however, be interested in the salvage materials, a credit allowance should be indicated in the space provided at the collection page |  | Item |  | INCLUDED
PREAMBLES
G | Demolition works are to be carried out only after express approval has been given by the Architect regarding the proposed method statement of the works. This method statement should be submitted prior to commencement on site and whilst approval will not be unreasonably with held, no claims will be allowed due to a change being imposed on this method statement by the Architect |  | Item |  | INCLUDED
| Carried to Collection |  |  | K | INCLUDED
Page 2/1
BILL NO. 2
DEMOLITIONS AND
ALTERATIONS
Item | PREAMBLES (Cont’d) | Qty | Unit | Rate | K n
A | The works have been described in reasonable detail but the Contractor shall consider them in conjunction with the actual work on site and allow for everything necessary for carrying out the works whether specifically mentioned or not
B | The Contractor shall include here or within his rates for making good with materials to match existing any damage that may be caused to adjacent work of whatever kind, during or in consequence of the work as no claim will be entertained for the making good of damage arising from these clauses
Definitions
C | (i) The terms ‘remove’ ‘demolish’ and ‘break out’ shall include for all demolitions, clearing and carting away debris from site unless otherwise directed and for making good all work disturbed
D | (ii) The terms ‘take up’, ‘hack up’ and ‘hack off’ shall include for clearing and carting away all debris from site, making good all work disturbed and preparing backgrounds where directed to properly receive new finish
E | (iii) The terms ‘form openings’ and ‘enlarge opening’ shall include for all necessary demolitions, temporary supports, removal of debris from site, insertion of concrete lintol designed and reinforced at contractor’s desecration and as approved, size to be determined by the thickness of wall, quoining up jambs and making good all finishings as necessary to match existing
| Carried to Collection |  |  | K | INCLUDED
Page 2/2
BILL NO. 2
DEMOLITIONS AND
ALTERATIONS
Item | Definitions (Cont’d) | Qty | Unit | Rate | K n
A | (iv) The term ‘block up opening’ shall include for blocking up in blocks or bricks as described removal of waste and making good all work and finishings as necessary to match existing
B | (v) Removing services shall be deemed to include sealing off and making safe and shall include the taking out of equipment, appliances, ancillaries fittings, accessories, brackets, clips supports and the like
Electricity, Water and Telephones
C | (i) The Contractor shall give notice regarding disconnections to the relevant statutory companies prior to any demolitions and shall allow them facilities to remove from the site any fixtures, fittings, or services as may belong to them |  | Item |  | INCLUDED
D | (ii) The Contractor shall allow for liaising with, and providing all necessary attendances on, the authorities concerned in the disconnection of all services |  | Item |  | INCLUDED
Shoring and Supports
E | Allow for all necessary dead or raking shores and other supports as described and for removing and making good on completion |  | Item |  | INCLUDED
Protection
F | The Contractor is to allow for taking all measures necessary for the proper protection of the workforce and public in general and surrounding roads and property |  | Item |  | INCLUDED
| Carried to Collection |  |  | K | INCLUDED
Page 2/3
BILL NO. 2
DEMOLITIONS AND
ALTERATIONS
Item | NOTES: | Qty | Unit | Rate | K n
Redundant Demolition Materials
A | Materials from the demolitions must not be stacked or allowed to accumulate on existing structures in such a way as to cause obstruction or danger |  | Item |  | INCLUDED
Avoidance of Nuisance
B | All demolition, forming of openings etc. are to be carried out in such a manner as to cause as little inconvenience as possible to the occupants of the building and surrounding buildings. It must be noted that the contractor will be held responsible for any claims which may arise from the disregard of this clause |  | Item |  | INCLUDED
C | All rubbish, debris etc. is to be regularly sprinkled with water or such other means as to prevent dust arising |  | Item |  | INCLUDED
Protection of Existing Buildings etc.
D | The Contractor must provide all requisite shores, needles, struts, props or other supports for the necessary protection of the existing building and the supply of all fans, screens and the like for the protection of the general public and in particular any occupants of the buildings. The Contractor shall alter, adapt and maintain all such temporary works as may be necessary from time to time and finally clear away and making good all disturbed. The contractor will be held responsible for the safety of the existing building and the sufficiency of all temporary works | 1 | Item | 5000 | 5000
| Carried to Collection |  |  | K | 5000
Page 2/4
BILL NO. 2
DEMOLITIONS AND
ALTERATIONS
Item | NOTES: | Qty | Unit | Rate | K n
Forming New and Blocking Up Openings
A | When cutting or adapting openings through walls for doors, windows, pipework and the like the Contractor shall take particular care not to endanger the stability bearings of beams, joists or any structural difficulties. When during the progress of cutting the existing structure any unforeseen obstruction or unusual circumstance is encountered whereby the effects of proceeding with the work could entail hazard the Contractor shall immediately halt, work, notify the Architect and await instructions |  | Item |  | INCLUDED
B | All making good shall be executed with materials and workmanship to match, in every respect, the surrounding work and is to be properly bonded thereto |  | Item |  | INCLUDED
Preparation of Surfaces
C | Finishings shall include for all making good, keying, levelling and other works necessary to ensure proper and smooth bonding of the new finishings to the surfaces the existing |  | Item |  | INCLUDED
Items for Re-use
D | Items described as being ‘handed to Employer’ ‘set aside’ must be removed extremely carefully to avoid damage. The Contractor should allow for any repairs or replacement should any damage occur as or he will be held responsible in this regard. |  | Item |  | INCLUDED
DEMOLITIONS
E | Carefully demolish existing wall overall area 101m². Make good all disturbed works | 101 | sqm | 75 | 7575
| Carried to Collection |  |  | K | 7575
Page 2/5
BILL NO. 2
DEMOLITIONS AND
ALTERATIONS
Item | Description | Qty | Unit | Rate | K n
A | Carefully and neatly remove existing partitions and hand over to the client. Make good all disturbed. Overall area 69m² - Tellers | 1 | Item | 5000 | 5000
B | Carefully and neatly remove existing teller counters overall length 8000mm and hand over to the client. Make good all disturbed. Banking Hall/ Tellers | 1 | Item | 1000 | 1000
C | Carefully and neatly remove existing window and replace it with staggered windows as per schedule (M.S.) hand over to the client. Overall window length 1850mm. Make good all disturbed works | 1 | Item | 500 | 500
F | Carefully and neatly remove 4no. existing Wash Hand Basins and all related plumbing pipes. Make good all disturbed works. | 1 | Item | 100 | 100
G | Carefully and neatly remove 2no. existing Water Closets and all related plumbing pipes. Make good all disturbed works. | 1 | Item | 100 | 100
H | Carefully and neatly remove existing double doors and related accessories. size 1400 x 2000mm and hand over to the client. Make good all disturbed works. | 1 | Item | 100 | 100
J | Carefully and neatly remove existing Aluminium partitions to entrance and related accessories. size 1600 x 2000mm x 2No. and hand over to the client. Make good all disturbed works. | 1 | Item | 100 | 100
K | Carefully and neatly remove existing doors and related accessories. Size 900 x 2000mm (Quantity to be observed on site) and hand over to the client. Make good all disturbed works. | 1 | Item | 100 | 100
L | Carefully remove existing Ceiling and allow for the installation of a new ceiling as required (M.S). Make good all disturbed works. Overall area 400m² | 1 | Item | 500 | 1000
| Carried to Collection |  |  | K | 8000
Page 2/6
BILL NO. 2
DEMOLITIONS AND
ALTERATIONS
Item | Description | Qty | Unit | Rate | K n
A | Allow for propping of beams where necessary and as indicated | 1 | Item | 500 | 500
B | Carefully and neatly remove/hack out existing floor finishes and prepare to receive new floor finish. Make good all disturbed works, cut away debris. Overall area 400m² | 1 | Item | 200 | 200
C | Make good all existing walls internally & externally by sanding, skimming with rhinolite and prepare for new finish as per wall schedule Overall area 2360m² | 1 | Item | 4000 | 4000
D | Remove all existng light fittings, defective cabling and any other as determined by the Architect to be repositioned or handed over to client according to electrical layout and Architects instructions and replace all defective items (if any), make good all disturbed works and restore to working order. | 1 | Item | 5000 | 5000
G | Remove existing exterior shopfronts (Quantity to be determined on site | 1 | Item | 500 | 500
H | Remove existing Kitchen unit and provide for a new one (m/s) | 1 | Item | 500 | 500
J | Remove existing CIT door, make good associated works and provide for a new one (m/s) | 1 | Item | 500 | 500
| Carried to Collection |  |  | K | 11200
Page 2/7
BILL NO. 2
DEMOLITIONS AND
ALTERATIONS
COLLECTION
|  | Page |  |  | K n
No.
|  | P 2/1 |  |  | INCLUDED
|  | P 2/2 |  |  | INCLUDED
|  | P 2/3 |  |  | INCLUDED
|  | P 2/4 |  |  | 5000
|  | P 2/5 |  |  | 7575
|  | P 2/6 |  |  | 8000
|  | P 2/7 |  |  | 11200
| DEMOLITIONS AND ALTERATIONS TO GENERAL SUMMARY |  |  | K | 31775
Page 2/8
BILL NO. 3
MEASURED WORKS
Item | Description | Qty | Unit | Rate | K n
SUPERSTRUCTURE
BLOCKWORK
Hollow concrete blocks in composition
mortar as described
A | 150mm walls | 6 | m² | 150 | 900
0
B | 250mm walls | 13 | m² | 160 | 2080
0
| SUNDRIES |  |  |  | 0
0
C | "Brickforce" or other equal and approved brick reinforcement to suit 150mm walls built into horizontal joints to blockwork | 10 | m | 5 | 50
0
D | Ditto 250mm blockwork | 23 | m | 6 | 138
0
E | Damp proof course size 250mm | 4 | m | 25 | 100
0
F | Allow for cutting and handpacking in floor slab | 2 | m | 20 | 40
0
G | Allow ZMW 1, 000 for cutting, toothing and bonding end of blockwork to existing wall complete with all necessary filling and making good. | 1 | Item | 1000 | 1000
0
| One coat plastering as described with steel float finish |  |  |  | 0
0
H | To concrete, brickwork or blockwork walls | 77 | m² | 25 | 1925
0
| Vibrated reinforced insitu concrete (Grade 25) as described |  |  |  | 0
0
J | To Lintols and beams | 2 | m3 | 1200 | 2400
0
K | In Ramps and Steps | 1 | m3 | 1200 | 1200
0
0
| FORMWORK (All Provisional) |  |  |  | 0
0
| Sawn formwork, including making good exposed surfaces after removal of formwork as described to |  |  |  | 0
0
L | To sides and soffits of lintols, beams, stairs, ramps and the like | 23 | m | 80 | 1840
| Carried to Summary page |  |  | K | 11673
Page 3/1
Item | Description | Qty | Unit | Rate | K n
WALL FINISHES
WF1 - ZANACO approved stone cladding to Architects approval
A | To walls | 23 | m² | 1200 | 27600
WF2 - Prepare skim and apply two coats "White luxurious silk to match Dulux/plascon wall and all products range" on the following surfaces:-
B | To walls, ditto | 199 | m² | 50 | 9950
WF3 - Gray approved luxurious silk paint to match Dulux/plascon wall and all product range applied by specialist to Architects approval
C | To walls, ditto | 400 | m² | 50 | 20000
WF4 - LAMASAAT TEXTURED PAINT AS 'MONOCOUCHE M19 19' WITH 'MINERAL YELLOW ACLYRIC COVER PAINT BY PLASCON AS '10YY40/608' TO ARCHITECTS APPROVAL
D | To walls | 31 | m² | 180 | 5580
WF5 -GRAY NON-SLIP CERAMIC WALL TILES SUPPLIER: HANDYMANS CODE: OMLA20A3ATA
E | To walls | 80 | m² | 450 | 36000
WF-6 LAMASAAT TEXTURED PAINT AS 'S-334' WITH 'PEBBLE BLACK' EXTERIOR WEATHER GUARD COVER PAINT SUPPLIER: LAMASAAT & DULUX/PLASCON COLOR CODE: PANTONE P179 -
F | To walls | 40 | m² | 180 | 7200
WF7 -Weather guard paint, colour to match existing paint, to Architects approval CODE: LIONS DEN
G | To External walls | 1685 | m² | 50 | 84250
WF8- Black Oil Based Gloss Paint. SUPPLIER: PLASCON/DULUX CODE: TBA
H | To Gate, poles and other metal features to be determined | 30 | m² | 30 | 900
| Carried to Collection |  |  | K | 191480
Page 3/2
BILL NO. 3
MEASURED WORKS
Item | Description | Qty | Unit | Rate | K n
FLOOR FINISHES
600 x 600 mm high grade Plain Matte White porcelain floor tiles supplied by Make a Home with aluminium tile trimmers grouting according to the Project Managers Approval - CODE:037-C60812
A | Floor tiling laid level on screeded bed (measured separately). Place aluminium strips as required | 75 | m² | 600 | 45000
AMBROSIA (2)' BAOBAB BROWN/CHARCOAL TYPE WOOD FINISHED PORCELAIN FLOOR TILES-Grade A- 150x600 CODE:025-50161506 SUPPLIER: MAKE A HOME.
B | Floor tiling laid level on screeded bed (measured separately). Place aluminium strips as required | 22 | m² | 850 | 18700
Light Duty ZANACO Branded Rubber Mat To Be Supplied by William Scott To Clients Preference. Code: LOGO BRANDED
C | Floor tiling laid level on screeded bed as required Size 1500mm x 1000mm | 1 | No. | 7000 | 7000
D | Ditto; Size 1400mm x 1000mm | 1 | No. | 7000 | 7000
600 x 600mm Non-Slip Porcelain Tiles, Silver Gray; Supplied By Handymans to The Project Managers Approval. CODE: IMI230A
E | Floor tiling laid level on screeded bed as required | 50 | m² | 450 | 22500
500 x 500mm Berber Point 920 carpet tiles supplied by Belgotex to Architects Apporoal. CODE-Neutral Brown
F | Floor tiling laid level on screeded bed as required | 50 | m² | 300 | 15000
200 x 200mm Natural Slate Stone Floor Tiles ; Supplied by Stoneworx Zambia to Architects Approval
J | Floor Tiles on screeded bed as required | 11 | m² | 250 | 2750
| Carried to Collection |  |  | K | 117950
Page 3/3
BILL NO. 3
MEASURED WORKS
Item | Description | Qty | Unit | Rate | K n
CEILING FINISHES
High yield steel deformed bar reinforcement as described including all cutting bending, hooking and cranking, assembling etc., in accordance with the drawings and wiring with and including No. 16SWG annealed iron binding wire and hoisting and lowering and fixing in position
A | Y16 Steel vertical mesh spaced at 200mm c/c to be inspected before casting above suspended ceiling anchored with angle iron borders (m.s) fixed to sides of perimeter walls and roof trusses to specialists details and specifications. | 160 | kg | 18 | 2880
B | 75 x 75mm angle iron boarder | 13 | m | 50 | 650
Bulkheads in Ceiling
C | 1000mm wide x 250mm deep suspended ceiling bulkheads with downlights and double strip L.E.D light beads (Measured seperately) | 35 | m² | 50 | 1750
Down Vanguard Aluminium Ceiling
D | Down Vanguard Aluminium Ceiling tile size 600 x 600mm in an exposed suspended aluminium grid system complete with all installations and accessories to Architects approval | 100 | m² | 150 | 15000 | 147
20280
Collection Page
| Page 3/2 |  |  |  | 191480
| Page 3/3 |  |  |  | 117950
| Page 3/4 |  |  |  | 20280
| Carried to Summary |  |  | K | 329710
Page 3/4
BILL NO. 3 | BILL NO. 3
MEASURED WORKS | MEASURED WORKS
Item | Description | Qty | Unit | Rate | K n
METAL WORK
Presses Steel Frame to approval of Project Manager
A | Size 900 x 2000mm 1.5M Profile | 2 | No. | 500 | 1000
Security door to be CAT 1 suppled by Zambian Safes & Equipment with steel dor frame to specialist detail
B | Double door overall size 1400 x 2000mm 1.5M Profile - CIT ENTRANCE | 1 | No. | 15000 | 15000
DOORS
White flash Semi-Solid Doors as supplied by Nzito to Architects specifications.
C | Double door set size 725 x 1960mm | 4 | No. | 3000 | 12000
D | Door size 825 x 1960mm with aluminium frame (MS) | 4 | No. | 3000 | 12000
Hardwood Door to Architects specifications.
E | Door size 825 x 1960mm | 1 | No. | 3500 | 3500
Supply and fix the following Yale ironmongery complete with matching screws to timber or metal doors and metal or aluminium frames
F | Yale mortice lockset | 9 | No. | 500 | 4500
G | Rubber door stop, to approval | 14 | No. | 50 | 700
H | Stainless steel door stop, to approval | 15 | No. | 50 | 750
KITCHEN UNITS
J | Allow for kitchen units and shelving overall dimension 10,000mm wide x 6000mm long x 935mm high making good all disturbed works as approved by Architect. Description as follows; 30mm thick Granite top with polished and slightly chamfered edges with cut out for sink and oven; provide samples for client. CARCASS-Melamine finished MDF; White finish internally; Externally provide sample for Client. Door- Melamine finished MDF 3mm thick arrowline edging matching colour. Handles-350mm long stainless or satin chrome finished bar handles. | 1 | Item | 30000 | 30000
| Carried to Summary |  |  | K | 79450
Page 3/5
BILL NO. 3 | BILL NO. 3
MEASURED WORKS | MEASURED WORKS
Item | Description | Qty | Unit | Rate | K n
GLAZED ALUMINIUM PARTITIONS
Supply and Install 150mm thick Matte Black anodised aluminium frame partitions with sections 1.5mm profile guage with 6.38mm laminated S10 tinted glass and all with door closers and stainless steel complete with all required accessories
A | Glazed aluminum partition size 7000 x 3000mm (Panel 1-Mantrap) | 1 | No. | 42000 | 42000
Supply and Install 75mm thick Matte Black anodised aluminium frame partitions with sections 1.5mm profile guage with 6.38mm laminated clear glass and all with door closers and stainless steel complete with all required accessories to architects approval
B | Glazed aluminum partition size 3000 x 3000mm including 1no. 900 x 2400mm doors (Panel 4-Meeting Room) | 1 | No | 18000 | 18000
F | Glazed aluminum partition size 5000 x 3000mm including 1no. 900 x 2400mm doors (Panel 7-Bulk Teller) | 1 | No | 30000 | 30000
G | Glazed aluminium Doors with frame 900 x 2000mm (D2) | 3 | No. | 3600 | 10800
| Carried to Summary |  |  | K | 100800
Page 3/6
BILL NO. 3
MEASURED WORKS
Item | Description | Qty | Unit | Rate | K n
DRY WALL PARTITIONS
Dry wall assembled by 12mm fire rated gypsum boards fixed on aluminium plastered stud 2 Hour fire rating drywall partition all as per Manufacturers installation manual
A | Overall size 18,000 x 4368mm | 54 | m2 | 700 | 37800
| Carried to Summary |  |  | K | 37800
Page 3/7
BILL NO. 3
MEASURED WORKS
Item | Description | Qty | Unit | Rate | K n
PLUMBING AND SANITARY FITTINGS
Supply and fix as described the following sanitary appliances including jointing to some overflow, waste and soil pipe
A | White glazed ceramic Water closet suite, Low Level, complete with wash down pan with P trap including domex screws, 9 liter ceramic cistern with sides supply fitting and flush pipe, rigid plastic seat and cover and all other accessories | 5 | No. | 3000 | 15000
B | Double bowl and single drain stainless steel sink complete with pillar tap and all othe accessories to Architects satisfaction. | 1 | No. | 3000 | 3000
C | White glazed Vitreous China wash hand basin as 'Jaguar Type' or other equal and approved with and including wall type chromium plated mixer, overflow and waste, fixed with semi - concealed brackets reference 8118, to background plugging, size 585 x 435 mm, complete with all accessories | 4 | No. | 1500 | 6000
D | Standard type Nemchem type toilet roll holder or other equal and approved, fixing to tiling background with cement - based adhesive, at all water closet suites | 4 | No. | 500 | 2000
Pipework to Additional Sanitary Fittings
E | Provide a provisional sum of Zambian Kwacha Ten Thousand Only for Additional pipework to new Sanitary Fittings | 1 | Item | 10000 | 10000
| Carried to Collection |  |  | K | 36000
Page 3/8
BILL NO. 3
MEASURED WORKS
Item | Description | Qty | Unit | Rate | K n
ELECTRICAL WORKS (All Provisional)
SWITCHES AND THE LIKE
Supply, install and set to work the following switches as manufactured by “Legrand" or similar approved including all conduit, conduit, fittings, cable, cable connections and boxes as necessary
A | 10A One-gang, one-way wall switch, Ref. LEGEND 7300 00 WHI | 10 | No. | 200 | 2000
C | Photocell sensors | 1 | No. | 500 | 500
LIGHTING, POWER AND OTHER FITTINGS
Supply and fix the following lighting, power and other
fittings in accordance with manufacturers instructions
D | 600 x 600mm recessed LED light Warm White Panel | 33 | No. | 600 | 19800
E | 2 x PL36 Recessed Warm White down light fitting as approved by Client | 18 | No. | 150 | 2700
G | 36W Neon Cool Red L.E.D Lighting double strip beads in 20mm Approved quality P.V.C Casing Tubes Fixed/Glued to Gypsum Bulkhead to Architects Approval | 66.4 | m | 50 | 3320
H | allow a Provisional Sum of 35,000,00 for any related Electrical works to be approved by the Project Manager | 1 | Item | 35000 | 35000
| Carried to Summary |  |  | K | 63320
Page 3/10
BILL NO 3
MEASURED WORKS
Item | Description | Qty | Unit | Rate | K n
EXTERNAL WORKS
A | Excavate to remove topsoil average Thickness 150mm | 200 | m2 | 5 | 1000
B | Disposal of excavated material to authorised damp site | 30 | m3 | 5 | 150
C | Laterite in foundation compacted in layers 95% aashto | 200 | m2 | 20 | 4000
Paving
D | Black Uniturtle type pavers laid in c/s mix 1:3 | 200 | m2 | 200 | 40000
E | Provide for concrete kerbs to retain paving | 30 | m | 500 | 15000
F | Provide for concrete benching to support kerbs | 1 | Item | 1000 | 1000
| Carried to Summary |  |  | K | 61150
Page 3/11
BILL NO 4
PROVISIONAL & PRIME COST SUMS
Item | PRIME COST AND PROVISIONAL SUMS | Qty | Unit | Rate | K n
C | Allow provisional sum of ZMW 75, 000 for installation/making good of HVAC Installations as approved by the Architect |  | Item |  | 75000
D | Allow provisional sum of ZMW 20, 000 to fix leakages and general repair and maintanance to existing roof |  | Item |  | 20000
F | Allow provisional of ZMW 15, 000.00 for water supply and the like as approved by Architect |  | Item |  | 15000
J | Allow provisional of ZMW 30, 000.00 for Construction of Teller Counters complete with blockwork and granite tops as per Architects detail |  | Item |  | 30000
| Carried to Collection |  |  | K | 140000
Page 4/1
SUMMARY PAGE
Item | Details | Qty | Unit | Rate | K n
COLLECTION
K n
| SUPERSTRUCTURE WORK |  |  |  | 11673
| FINISHES |  |  |  | 329710
| METAL WORK |  |  |  | 79450
| ALUMINIUM PARTITIONS |  |  |  | 100800
| DRY WALLING |  |  |  | 37800
| PLUMBING AND SANITARY FITTNGS |  |  |  | 36000
| ELECTRICAL WORKS |  |  |  | 63320
| EXTERNAL WORKS |  |  |  | 61150
| SUB TOTAL |  |  | K | 719903
Page 3/12
PROPOSED REFURBISHMENTS TO ZANACO KITWE INDUSTRIAL BRANCH
GENERAL
| GENERAL SUMMARY |  |  |  | SUMMARY
Page
|  | No. |  |  | K n
| BILL NO. 1 PRELIMINARIES & GENERAL ITEMS | P1/23 |  |  | 38500
| BILL NO. 2 DEMOLITION WORKS | P2/8 |  |  | 27008.75
| BILL NO. 3 MEASURED WORKS | P3/18 |  |  | 719903
| SUB TOTAL |  |  |  | 785411.75
| BILL NO. 4 PROVISIONAL & PRIME COST SUMS | P4/1 |  |  | 140000
| SUB TOTAL |  |  | ZMW | 925411.75
| ADD: Contigency @ 10% |  |  |  | 92541.175
1017952.925
| ADD: VALUE ADDED TAX @ 16% |  |  | ZMW | 162872.468
| SUB TOTAL |  |  |  | 1180825.393
| SUB TOTAL |  |  | ZMW | 1180825.393
| GRAND TOTAL |  |  |  | 1180825.393
NAME OF CONTRACTOR:
SIGNATURE:……………………………………………………………… DATE:
GS/1