- Zambia National Commercial Bank.

- Request for Proposal

ZNCB/RFP/P&F/32/2022: SUPPLY, REPAIR AND MAINTENANCE OF UPS AND INVERTERS FOR THE ZAMBIA NATIONAL COMMERCIAL BANK PLC COUNTRYWIDE (ZANACO) FOR A PERIOD OF TWO (2) YEARS

The return date for responses against this RFP is 28th October 2022 at 15:00PM.

Delivered in the requested manner and to the address advised.

Late responses will not be considered.

|  |  | Date 29th September, 2022 |
| --- | --- | --- |

Dear Sir,

TITLE: ZNCB/RFP/P&F/32/2022: SUPPLY, REPAIR AND MAINTENANCE OF UPS AND INVERTERS FOR THE ZAMBIA NATIONAL COMMERCIAL BANK PLC COUNTRYWIDE (ZANACO) FOR A PERIOD OF TWO (2) YEARS

Return by 28th October, 2022

You are invited to submit your proposal against the requirements detailed in the Request for Proposal (RFP) attached. The information contained within this invitation shall be treated as “Commercial in Confidence” and shall also be subject to the terms of any related Non-Disclosure Agreement signed by the parties.

Part 1 of the RFP gives you information about Zanaco.  Part 2 is for you to answer and provide details as requested to support your proposal

Proposers are requested to provide one copy of their proposal in paper format and one copy in soft format (either Microsoft Office or PDF).  Submissions to this RFP must be returned by the time stated.  Late submissions may not be considered by Zanaco.

Your RFP must be valid for 3 months from the return date.

Queries

All queries should only be directed to the undersigned. We look forward to your responses soon.

Yours faithfully

Mundia Siyauya

Acting Head Supply Chain Management

Part 1 ZANACO Profile

- Introduction

  - Procurement Policy on Bribery and Corruption

Zambia National Commercial Bank strictly adheres to professional work ethics and emphasizes zero tolerance to Bribery and any forms of corruption. It is our policy that suppliers involved in offering bribery will be terminated and be excluded from any potential engagement opportunity.

1.2	Executive Summary of Project

This RFP is an invitation to prospective proponents to submit proposals for the supply, repair and maintenance of ups and inverters for the Zambia National Commercial Bank Plc Countrywide (Zanaco) for a period of two (2) years. The successful company should be able to manage and meet the requirements for this activity.

The purpose of this RFP is to seek information from potential Bidder’s with an intention to establish an agreement between the Company and the successful Bidder. The Contract that follows this process shall bind the Company and the successful Bidder to perform in a specific way for an agreed duration to be agreed in the Contract in an event of the formation of the same.

- Terms Governing This RFP

  - Recipients of this RFP are required to read all the information supplied and have a clear understanding of ZANACO’s requirements. Further information can be made available by contacting nominated persons in Section 4.

  - It is a condition of this RFP that all mandatory requirements (indicated in the body of text by the word “must” or expressed or implied accordingly) are met in full.  Responses and proposals that do not conform to mandatory requirements will be deemed to be made on the basis that conformance is implied by the proposer. The contents of proposals must be submitted in the same order as that specified in this RFP.

  - Timeline to be observed for this RFP:

| Milestones | Due Date |
| --- | --- |
| RFP issued by ZANACO | 29th September, 2022 |
| Supplier acknowledgement to bid | NA |
| Pre-Bid Meeting | 12th October, 2022 at 14:3O on the Zanaco 4th Floor at Zanaco Head Office. |
| RFP questions received by ZANACO in writing | 5 days before closing date |
| RFP questions responded by ZANACO | 2 days before closing date |
| RFP response due | 28th October, 2022 at 15:00hours local time |

  - All bids shall be submitted by providing one original and three copies of their proposal and will be deposited in the Tender Box, on the 4th floor of Zambia National Commercial bank, Head Office Building and clearing labelled of tender name and should be addressed to:

The Secretary - Management Tender Committee

Zambia National Commercial Bank

Head Office Building,

Cairo Road Lusaka

Zambia

Note:

- All addenda to the tender shall be placed on the bank’s website: www.zanaco.co.zm

- Copies of the bids submitted shall not be returned to the bidders

  - ZANACO reserves the right, without giving reasons, not to accept the lowest or any Proposal.

  - ZANACO will not accept responsibility for any costs incurred in the formulation of proposal/s or any costs associated with, the requested proposals.

  - ZANACO shall deduct Withholding Tax from payments to suppliers to account for that tax to the local tax authorities. Any agreement with the supplier shall be subject to ZANACO being entitled to make these deductions so that ZANACO will not bear an unnecessary additional cost. Suppliers can usually claim a credit against their tax liabilities in respect of Withholding Tax deducted by ZANACO.

  - For the avoidance of doubt, this RFP does not constitute an offer by ZANACO and no contract shall be made by ZANACO pursuant to this RFP until agreement(s) between ZANACO and the successful supplier(s) is/are made in writing duly signed by both parties’ authorized signatories.

3.	Supplier Actions Required for this RFP

  - Read Part 2 carefully which contains the following sections and complete them fully & clearly:

- Supplier Declaration

- Supplier Information Questionnaire

- ZANACO Statement of Requirements & Supplier Response

  - Sign declaration (A) above indicating your compliance and acceptance of the terms of this RFP

  - Provide your responses to (B) and (C) under the headings in this RFP. They must be precise and concise without unnecessary marketing/advertising materials.  If there is any other information which, it is felt should be included because of its relevance to the proposal please feel free to do so but this must be separate from the required structured response.

  - Addenda Notices: The Company may issue Addenda notices to the Bid Documents to advise of any changes and clarifications thereto or to respond to queries from Bidder’s or for any other reason that the Company deems necessary. Addenda Notices will be numbered and the Bidder shall acknowledge their receipt via email and their inclusion in its Bid.

The Company may issue additional information for reasons that the Company deems necessary at any time for Bid submission as nominated in the Invitation to Bid or subsequent Addendum. Such information shall be included in the Contract award.

The Company shall use its sole discretion to make any changes to the date of Bid closing from that advised in the Bid schedule which may result from an addendum.

  - Any request for clarification must be sent in writing to the undersigned or emailed to: procurement@zanaco.co.zm ZANACO reserves the right to distribute answers to questions to other suppliers who may not have asked that question but where ZANACO feels that the answer corrects a mistake, adds clarity or removes ambiguity from the original RFP.

  - Authorized representatives of the firm shall initial every page of the RFP and No further questions will be taken or meetings held with regard to this RFP until after the receipt of proposal/s, unless otherwise advised by ZANACO.

  - Prices may be in form of per image cost. Please ensure the declaration is a computation of total cost per annum based on your image rates.

  - Confidentiality: The subject matter of the information provided or gained in relation to this Request for Bid may contain valuable property rights of the Company.  This information is to be treated in strict confidence by the Bidder and its employees and shall not be used except for the specific purpose of preparing and submitting a Bid. Upon receiving notice, unsuccessful Bidders shall return such information to the Company whose property it shall remain.

  - Submit response to ZANACO in line with the milestone dates stated in 2.3.  All queries and correspondence relating to this RFP should be addressed to:

Procurement Unit

Zambia National Commercial Bank

Lusaka

Zambia

Email: Procurement@zanaco.co.zm;

Part 2 Supplier Responses to this RFP

- Supplier Declaration

| - To: | The Acting Head Supply Chain Management, Zambia National Commercial Bank Lusaka, Zambia. |
| --- | --- |

Dear Sir,

PROJECT TITLE: ZNCB/RFP/P&F/32/2022: SUPPLY, REPAIR AND MAINTENANCE OF UPS AND INVERTERS FOR THE ZAMBIA NATIONAL COMMERCIAL BANK PLC COUNTRYWIDE (ZANACO) FOR A PERIOD OF TWO (2) YEARS

We have read and have examined this Request for Proposal (RFP) document, Technical Requirements, Specifications, Guidance Notes issued with this Proposal.  We offer completion of the works required against this RFP for the total price of:

……………………………………………………………………………………………………………………………………………………………………………………………. excluding VAT or any other similar tax (in words).

This price is further broken down into individual components as requested in this RFP.

This declaration confirms that this Proposal is tendered as a bona fide competitive offer to ZANACO, and the information provided in the Supplier Information Questionnaire and Supplier Response to ZANACO Statement of Requirements are fully correct and complete.

| Signature: |  | Date: |  |
| --- | --- | --- | --- |
| Name: |  |  |  |
| Job Title: | (Must be at least Director level) |  |  |
| For and on behalf of: |  |  |  |
| Address: |  |  |  |
| Email: |  | Tel: |  |

- Supplier Information Questionnaire

1.	Organization Profile

| 1.1 Registration & Accreditation | Compliance Statement (Y/N) |
| --- | --- |
| Country of Registration & Registration Number (if relevant) |  |
| Business address |  |
| VAT (Value Added Tax) Registration Number |  |
| Submit Certificate of incorporation |  |
| Submit Valid Tax Clearance Certificate |  |
| Physical address |  |
| Submit Pacra Print Out/ Share holder names/d Names of Directors |  |
| Letter Confirming Banking Details |  |
| Letter confirming email address where Purchase Orders and queries will be sent to. |  |

3.	Track Record & Reference

| 3.1 Industry Experience |  |  | Compliance Statement (Y/N) |
| --- | --- | --- | --- |
| How many existing clients you have and what countries are involved? Name your key clients. |  |  |  |
| Major deals undertaken in the past 3 years |  |  |  |
| Details of any cancelled deals in the past |  |  |  |
| 3.2 Client Reference (Please provide at least 3 clients for deals similar in nature to this RFP) |  |  |  |
| Names of companies which can provide reference to ZANACO |  |  |  |
| Names & job titles of contact person |  |  |  |
| Contact details (email address, address, office number) |  |  |  |

- Statement of Requirements & Supplier Response

REQUEST FOR PROPOSALS FOR THE SUPPLY, REPAIR AND MAINTENANCE OF UPS AND INVERTERS FOR THE ZAMBIA NATIONAL COMMERCIAL BANK PLC COUNTRYWIDE (ZANACO) FOR A PERIOD OF TWO (2) YEARS.

Zambia National Commercial Bank Limited wishes to invite competitive bids from suitably qualified companies to provide the supply, repair and maintenance of ups and inverters for a period of two years as tabulated below;

| APPENDIX B - EQUIPMENT SPECIFICATIONS AND LISTING |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SITE NAME | EQ. CAPACITY | NO. OF BATTERIES | INSTALLATION DATE | EXPECTED LIFESPAN | EXPECTED REPLACEMENT DATE |
| Luanshya Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | February 2020 | 4 years | January 2024 |
| Luanshya Branch ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | January 2019 | 4 years | January 2023 |
| Ndola Business Center | 10Kva x 48VDC Quattro | 8 x 220AH AGM | April 2020 | 4 years | April 2024 |
| Ndola West Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | April 2020 | 4 years | April 2024 |
| Masala Agency | 5Kva x 48VDC Multiplus | 4 x 220AH AGM | August 2017 | 3 years | Due For replacement |
| Ndola Shoprite offsite ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | June 2019 | 3 years | June 2022 |
| Kafubu mall offsite ATM | 800Va x 12 VDC Multiplus | 2 x 165 AH AGM | December 2016 | 4 years | January 2021 |
| ECO offsite ATM | 1.2Kva x 12 VDC Multiplus | 2 x 200AH Luminous | October 2016 | 4 years | Due For replacement |
| Hilcrest offsite ATM | 1.2Kva x 12 VDC Multiplus | 4 x 220AH AGM | December 2016 | 4 Years | January 2021 |
| Chifubu offsite ATM | 1.2Kva x 12 VDC Multiplus | 4 x 220AH AGM | December 2019 | 3 years | December 2022 |
| Pamodzi offsite ATM | 1.6Kva x 24 VDC Multiplus | 4 x 220AH AGM | February 2020 | 3 years | January 2022 |
| Arthur Davison Hospital ATM | 1.6Kva x 24 VDC Multiplus | 4 x 220AH AGM | October 2018 | 4 years | October 2022 |
| Kansenshi Offsite ATM | 1.6Kva x 24 VDC Multiplus | 4 x 220AH AGM | August 2020 | 3 years | August 2023 |
| Dora Hill Offsite ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | August 2020 | 3 years | August 2023 |
| Kitwe Business Center | 10Kva x 48VDC Quattro | 8 x 220AH AGM | December 2019 | 4 years | December 2023 |
| Kitwe Industrial Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | March 2020 | 4 years | March 2024 |
| Mukuba Mall Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | March 2019 | 4 years | March 2023 |
| Meat Market offsite ATM | 5Kva x 24VDC Multiplus | 8 x 220AH AGM | February 2020 | 3 years | February 2023 |
| CBU Agency | 3Kva x 24VDC Multiplus | 8 x 220AH AGM | January 2018 | 4 years | January 2022 |
| Kabala Offsite ATM | 2Kva x 12VDC Multiplus | 4 x 220AH AGM | November 2019 | 3 years | November 2022 |
| Chimwemwe offsite ATM | 1.2Kva x 12 VDC Multiplus | 4 x 220AH AGM | December 2017 | 3 years | January 2021 |
| ECL mall offsite ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | September 2019 | 3 years | September 2022 |
| Mufulira Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | March 2020 | 4 years | March 2024 |
| Chingola Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | March 2019 | 4 years | March 2023 |
| Chingola Branch ATM Room | 5Kva x 48VDC Multiplus | 4 x 220AH AGM | March 2019 | 4 years | March 2023 |
| The Park Mall offsite ATM | 1.2Kva x 12 VDC Multiplus | 2 x220AH AGM | October 2017 | 3 years | Due For replacement |
| Solwezi Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | June 2019 | 4 years | June 2023 |
| Solwezi General Hospital ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | October 2018 | 3 years | October 2021 |
| Solwezi City Mall ATM | 1.2Kva x 12 VDC Multiplus | 4 x 220AH AGM | December 2017 | 3 years | January 2021 |
| Kapiri Banch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | March 2020 | 4 years | March 2024 |
| Kapiri Banch ATM room | 800Va x 12 VDC Multiplus | 2 x 165 AH AGM | June 2017 | 4 years | June 2021 |
| LK Offsite ATM | 1.2Kva x 12 VDC Multiplus | 4 x 220AH AGM | Febraury 2018 | 3 years | February 2021 |
| Kabwe Branch | 10Kva MP200 eaton Ups | 22 x 45AH UPS Batteries | March 2017 | 4 years | March 2021 |
| Frallen offsite ATM | 800Va x 12 VDC Multiplus | 2 x 165 AH AGM | December 2017 | 3 years | January 2021 |
| Sonet Offsite ATM | 800Va x 12 VDC Multiplus | 2 x 165 AH AGM | December 2017 | 3 years | January 2021 |
| Chisamba Branch | 2200 Va Smart APC UPS | 4 x 17AH CSB Batteries | June 2018 | 3 years | June 2021 |
| Chisamba ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | April 2020 | 4 years | April 2024 |
| Northrise ATM | 2 Kva x 12VDC Su-Kam Inverter | 2 x 220AH AGM | November 2020 | 3 years | November 2023 |
| Kabanana offsite ATM | 1.2Kva x 12 VDC Multiplus | 4 x 220AH AGM | June 2018 | 3 years | June 2021 |
| Kasangula offsite ATM | 1.2 Kva x 12 VDC Multiplus | 4 x 220AH AGM | February 2020 | 3 years | February 2023 |
| Chaisa offsite ATM | 1.2Kva x 12 VDC Multiplus | 4 x 200AH Luminous | December 2017 | 3 years | January 2021 |
| Matero offsite ATM | 1.2Kva x 12 VDC Multiplus | 4 x 220AH AGM | February 2020 | 3 years | February 2023 |
| Garden Kobil offsite ATM | 1.2Kva x 12 VDC Multiplus | 4 x 220AH AGM | January 2018 | 3 years | January 2021 |
| Foxdale offsite ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | March 2019 | 3 years | March 2022 |
| Manda hill Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | May 2019 | 4 years | May 2023 |
| Acacia Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | March 2019 | 4 years | March 2023 |
| Arcades offsite ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | February 2020 | 3 years | February 2023 |
| Pinacle Mall Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | May 2019 | 4 years | May 2023 |
| Cosmopolitan Branch | 10Kva MP200 eaton Ups | 22 x 45AH UPS Batteries | May 2018 | 4 years | May 2022 |
| Ministry of Finance Agency | 5Kva x 48VDC Multiplus | 4 x 220AH AGM | October 2019 | 4 years | May 2023 |
| Gorvenment Complex Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | March 2019 | 4 years | March 2023 |
| Premium House Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | March 2019 | 4 years | March 2023 |
| Findeco House Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | March 2019 | 4 years | March 2023 |
| Xapit Center branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | march 2019 | 4 years | March 2023 |
| Data Center UPS Roon | 2 x 200Kva 80-Net UPS | 80 x 150AH LIFE | March 2020 | 4 years | March 2024 |
| Data Center Card Printer UPS | 10Kva Smart RT APC UPS | 32 x 5AH Batteries | June 2017 | 4 years | June 2021 |
| Cairo Business Center | 10Kva x 48VDC Quattro | 8 x 220AH AGM | May 2019 | 4 years | May 2023 |
| Lusaka center Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | June 2019 | 4 years | June 2023 |
| HQ UPS 1 (NXT) | 100Kva Emerson NXT UPS | 40 x 100AH CSB Batteries | March 2018 | 4 Years | March 2022 |
| HQ UPS 2 (93E) | 80Kva 93E Eaton UPS | 40 x 105AH Ups Bateries | March 2020 | 4 years | march 2024 |
| HQ UPS 3 (APC) | 15Kva Smart RT APC UPS | 64 x 5.0AH Batteries | June 2018 | 4 years | June 2022 |
| HQ UPS 4 (APC) | 10Kva Smart RT APC UPS | 32 x 5AH Batteries | March 2017 | 4 years | March 2021 |
| Lusaka City Market | 5Kva Eaton Powerware UPS | 20 x 7.2AH Batteries | May 2017 | 4 years | May 2021 |
| Northmead Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | March 2018 | 4 years | march 2022 |
| Airport Agency | 2Kva x 12VDC Multiplus | 2 x 220AH AGM | October 2017 | 4 years | October 2021 |
| Twinpalm Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | March 2019 | 4 years | March 2023 |
| UNZA Agency | 10Kva Su-Kam UPS | 20 x 7.2AH Batteries | April 2017 | 4 years | April 2021 |
| Ibex Ngucha offsite ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | August 2019 | 3 years | August 2022 |
| Mungwi Road Offsite ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | March 2019 | 4 years | March 2022 |
| Great North Mall ATM | 2Kva x 12VDC Multiplus | 4 x 220AH AGM | December 2019 | 3 years | December 2022 |
| Chris Corner Offsite ATM | 1.2Kva x 12 VDC Multiplus | 4 x 220AH AGM | November 2019 | 3 years | November 2022 |
| Gold Crest Offsite ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | July 2019 | 3 years | July 2022 |
| Chelstone Puma Offsite ATM | 800va x 12VDC Multiplus | 2 x 220AH AGM | March 2018 | 4 years | March 2022 |
| Munali Offsite ATM | 1.2Kva x 12 VDC Multiplus | 4 x 220AH AGM | November 2019 | 3 years | November 2022 |
| UNZA Offsite ATM | 1.2Kva x 12 VDC Multiplus | 2 x 220AH AGM | November 2018 | 4 years | November 2022 |
| PHI Offsite ATM | 800va x 12VDC Multiplus | 2 x 220AH AGM | June 2017 | 4 years | June 2021 |
| Kabwata Mall Offsite ATM | 2Kva x 12VDC Multiplus | 4 x 220AH AGM | February 2020 | 3 years | February 2023 |
| Cosmopolitan Offsite ATM | 5Kva x 24VDC Multiplus | 4 x 220AH AGM | August 2020 | 3 years | August 2023 |
| Kabulonga Offsite ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | March 2019 | 3 years | March 2022 |
| Kalingalinga Offsite ATM | 1.2Kva x 12 VDC Multiplus | 4 x 220AH AGM | May 2017 | 4 years | May 2021 |
| kamloops Offsite ATM | 800Va x 12 VDC Multiplus | 2 x 165 AH AGM | August 2020 | 3 years | August 2023 |
| Civic Center Offsite ATM | 800va x 12VDC Multiplus | 2 x 165 AH AGM | April 2017 | 4 years | April 2021 |
| Woodlands Offsite ATM | 800va x 12VDC Multiplus | 3 x 220AH AGM | March 2019 | 3 years | March 2022 |
| Blessings Mall Offsite ATM | 800va x 12VDC Multiplus | 2 x 220AH AGM | May 2019 | 3 years | May 2022 |
| Lewanika Mall Offsite ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | August 2019 | 3 years | August 2022 |
| New Kasama offsite ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | August 2019 | 3 years | August 2022 |
| Clans Offsite ATM | 1.2Kva x 12 VDC Multiplus | 2 x 183AH Flooded | March 2017 | 4 years | March 2021 |
| UTH offsiteATM | 1.2Kva x 12 VDC Multiplus | 2 x 220AH AGM | February 2017 | 4 years | February 2021 |
| Kamwala Offsite ATM | 1.2Kva x 12 VDC Multiplus | 2 x 220AH AGM | March 2017 | 4 years | Due For replacement |
| Downtown offsite ATM | 800Va x 12 VDC Multiplus | 2 x 165 AH AGM | June 2017 | 4 years | June 2021 |
| Kafue Branch | 5Kva Smart APC UPS | 16 x 5.0AH Batteries | June 2017 | 4 years | June 2021 |
| Kafue offsite ATM | 1.2Kva x 12 VDC Multiplus | 4 x 165AH AGM | January 2019 | 3 years | January 2022 |
| Chirundu branch | 10Kva Su-Kam UPS | 16 x 17AH Batteries | May 2017 | 4 years | May 2021 |
| Chirundu offsite ATM | 1.2Kva x 12 VDC Multiplus | 4 x 220AH AGM | March 2019 | 3 years | March 2022 |
| Siavonga Branch | 10Kva MP200 eaton Ups | 22 x 17AH CSB Batteries | December 2018 | 4 years | December 2022 |
| Mazabuka branch(ground Floor) | 10Kva x 48VDC Quattro | 8 x 220AH AGM | January 2020 | 4 years | January 2024 |
| Mazabuka branch(first Floor) | 10Kva MP200 eaton Ups | 22 x 45AH UPS Batteries | January 2017 | 4 years | January 2021 |
| Mazabuka Shoprite ATM | 1.6 x 24VDC Multiplus | 4 x 220AH AGM | November 2019 | 3 years | November 2022 |
| Monze Branch | 8Kva MP200 Eaton UPS | 16 x 45AH UPS batteries | June 2018 | 4 years | June 2022 |
| Monze Branch ATM room | 1.2Kva x 12 VDC Multiplus | 2 x 220AH AGM | April 2017 | 4 years | April 2021 |
| Maamba Branch | 5Kva Smart APC UPS | 20 x 7.2AH Batteries | April 2017 | 4 years | Due For replacement |
| Namwala Branch | 5Kva x 48VDC Multiplus | 4 x 220AH AGM | August 2020 | 4 years | August 2024 |
| Choma branch | 8Kva MP200 Eaton UPS | 16 x 45AH UPS batteries | June 2019 | 4 years | June 2023 |
| Choma offsite ATM | 1.2Kva x 12 VDC Multiplus | 4 x 220AH AGM | February 2018 | 3 years | February 2021 |
| Livingstone Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | March 2020 | 4 years | March 2024 |
| Kazungula Agency | 1.2Kva x 12 VDC Multiplus | 4 x 165AH AGM | June 2016 | 3 years | Due For replacement |
| Senanga Branch | 5Kva Su-Kam UPS | 15 x 9AH UPS Batteries | December 2017 | 4 years | January 2021 |
| Mongu Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | February 2020 | 4 years | February 2024 |
| Mongu offsite ATM | 3Kva x 24VDC Multiplus | 6 x 220AH AGM | November 2019 | 3 years | November 2022 |
| Ithezhi-tezhi Branch | 5Kva Su-Kam UPS | 15 x 17AH UPS Batteries | June 2016 | 4 years | Due For replacement |
| Chongwe offsite ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | July 2020 | 3 years | July 2023 |
| Nyimba offsite ATM | 1.6 x 24VDC Multiplus | 4 x 220AH AGM | January 2020 | 3 years | January 2023 |
| Petauke branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | May 2019 | 4 years | May 2023 |
| Chipata branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | July 2019 | 4 years | July 2023 |
| Chipata Shoprite offsite ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | January 2020 | 3 years | January 2023 |
| Chipata post office ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | January 2020 | 3 years | January 2023 |
| Great East Mall offsite ATM | 1.2Kva x 12 VDC Multiplus | 2 x 220AH AGM | July 2017 | 4 years | July 2021 |
| Mfuwe branch | 5Kva MP100 Eaton UPS | 16 x 7.2AH batteries | June 2017 | 4 years | July 2021 |
| Mfuwe Cropping offsite ATM | 1.6Kva x 24 VDC Multiplus | 2 x 220AH AGM | January 2020 | 3 years | January 2023 |
| Lundazi branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | February 2019 | 4 years | February 2023 |
| Lundazi Branch ATM | 1.2Kva x 12 VDC Multiplus | 4 x 220AH AGM | June 2017 | 4 years | June 2021 |
| Mkushi Branch | 10Kva x 48VDC Quattro | 8 x 220AH AGM | March 2020 | 4 years | March 2024 |
| Mansa Branch | 10Kva x 48VDC RTC Hybrid Inverter | 4 x 50AH Lithium Batteries | July 2020 | 5 years | July 2025 |
| Mansa Branch ATM Room | 5Kva x 48VDC Multiplus | 4 x 220AH AGM | July 2020 | 4 Years | July 2024 |
| Mansa Shoprite offsite ATM | 1.6Kva x 24 VDC Multiplus | 4 x 220AH AGM | August 2019 | 3 years | August 2023 |
| Kawambwa branch ATM | 5Kva x 48VDC Multiplus | 4 x 220AH AGM | July 2020 | 4 years | July 2024 |
| Kawambwa branch | 10Kva x 48VDC RTC Hybrid Inverter | 4 x 50AH Lithium Batteries | July 2020 | 5 years | July 2025 |
| Kasama Branch | 10Kva MP200 eaton Ups | 22 x 45AH UPS Batteries | May 2018 | 4 years | May 2022 |
| PJT offsite ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | August 2018 | 3 years | August 2021 |
| Nakonde Branch | 10Kva x 48VDC RTC Hybrid Inverter | 4 x 50AH Lithium Batteries | July 2020 | 5 years | July 2020 |
| Nakonde Customs Agency | 3Kva x 24VDC Multiplus | 4 x 220AH AGM | November 2019 | 4 years | November 2023 |
| Chinsali Branch | 10Kva MP200 eaton Ups | 22 x 45AH UPS Batteries | August 2017 | 4 years | August 2021 |
| Mpika Branch | 5Kva x 48VDC Multiplus | 4 x 220AH AGM | November 2018 | 4 years | November 2022 |
| Mpika Offsite ATM | 1.6Kva x 24VDC Multiplus | 4 x 220AH AGM | June 2019 | 3 years | June 2022 |

LIST OF SPARE PARTS (REPLACEMENTS)

| QTY | DESCRIPTION | BEFORE VAT | VAT | NEW PRICING INCLUSIVE -ZMW |
| --- | --- | --- | --- | --- |
| 1 | 1GTBT (FOR ALL THE RANGES FROM 5,7,8,10,15&20 KVA UPS) |  |  |  |
| 1 | MAIN CONTROL CARD |  |  |  |
| 1 | INVERTER CONTROL CARD |  |  |  |
| 1 | DC SUPPLY CARD |  |  |  |
| 1 | PHASE CONTROL CARD |  |  |  |
| 1 | MAIN DC FUSE |  |  |  |
| 1 | RELAYS |  |  |  |
| 1 | DC TRANSFORMER |  |  |  |
| 1 | FACIAL CARD FOR MP RANGE UPS |  |  |  |
| 1 | CHARGER CARD |  |  |  |
| 1 | RESISTOR |  |  |  |
| 1 | AC TRANSFORMER |  |  |  |
| 1 | RIBBON CABLE |  |  |  |
| 1 | AUXILLARY SENSING CABLE |  |  |  |
| 1 | SNUBBER CARD |  |  |  |
| 1 | HEAT SINK FAN |  |  |  |
| 1 | STATIC SWITCH |  |  |  |
| 1 | DC CAPS |  |  |  |
| 1 | DC BREAKER |  |  |  |
| 1 | AC BREAKER |  |  |  |
| 1 | UPS BATTERIES (ZERO RATED SUPPLY) |  |  |  |
| 1 | 12V 45AH DEEP CYCLE BATTERIES |  |  |  |
| 1 | 12V 17AH DEEP CYCLE BATTERIES |  |  |  |
| 1 | 12V 7.2AH DEEP CYCLE BATTERIES |  |  |  |
| 1 | 12V 65AH DEEP CYCLE BATTERIES |  |  |  |
| 1 | 12V 5AH DEEP CYCLE BATTERIES |  |  |  |
| 1 | INVERTER BATTERIES (VICTRON AGM) ZERO RATED SUPPLY) |  |  |  |
| 1 | 12V 220AH AGM VICRTON BATTERIES |  |  |  |
| 1 | 2V OPZS VICTRON BATTERIES (7-8 YEARS LIFE SPAN) |  |  |  |
| 1 | 6V OPS VICTRON BATTERIES (7-8 YEARS LIFE SPAN) |  |  |  |
| 1 | BATTERY STAND FOR 4 BATTERIES |  |  |  |
| 1 | BATTERY STAND FOR 8 BATTERIES |  |  |  |
| 1 | BATTERY STAND FOR 16 BATERIES |  |  |  |
| 1 | BATTERY STAND FOR 20 BATTERIES |  |  |  |
| 1 | BATTEY MONITOR |  |  |  |
| 1 | INVERTER BYPASS SWITCH |  |  |  |
| 1 | 330W 72 CELLS SOLAR PANEL |  |  |  |
| 1 | MPPT 150/85 CHARGER CONTROLLER |  |  |  |
| 1 | MPPT 2500/100 CHARGER CONTROLLER |  |  |  |
| 1 | 10MM X SINGLE CORE DC SOLAR CABLE (PER METER) |  |  |  |
| 1 | 6MM X SINGLE CORE CABLE (PER METER) |  |  |  |
| 1 | 70MM X SINGLE WELDING CABLE |  |  |  |
| 1 | 35MM X SINGLE CORE WELDING CABLE |  |  |  |
| 1 | 16MM X SINGLE ARMOURED CABLE |  |  |  |
| 1 | SOLAR MODULAR ROOF SUPPORTERSS (FOR 4 PANELS) |  |  |  |
| 1 | 60A AC BREAKER |  |  |  |
| 1 | OTHER ACCESSORIES FOR THE SOLAR INSTALLATION |  |  |  |
| 1 | ZERO RATED SUPPLY |  |  |  |
| 1 | 1600VA VICTRON INVERTER/CHARGER |  |  |  |
| 1 | 1600VA VICTRON INVERTER/CHARGER |  |  |  |
| 1 | 2000VA VICTRON INVERTER/CHARGER |  |  |  |
| 1 | 3000VA VICTRON INVERTER/CHARGER |  |  |  |
| 1 | 5000VA VICTRON INVERTER/CHARGER |  |  |  |
| 1 | 8000VA VICTRON INVERTER/CHARGER |  |  |  |
| 1 | 10000VA VICTRON INVERTER/CHARGER |  |  |  |
| 1 | 15000VA VICTRON INVERTER/CHARGER |  |  |  |
| 1 | LABOUR COST NEW INSTALLATION OF INVERTER AT THE BRANCH |  |  |  |
| 1 | LABOUR COST NEW INSTALLATION ATM |  |  |  |
| 1 | LABOUR COST REPLACEMENT OF BATTERIES FOR THE ATM |  |  |  |
| 1 | LABOUR COST INSTALLATION OF HYBRID SOLAR SYSTEM FOR THE ATM |  |  |  |
| 1 | LABOUR COST INSTALLATION OF HYBRID SOLAR SYSTEM FOR THE NEW BRANCH (UP TO 50No OF SOLAR PANELS) |  |  |  |
| 1 | LABOUR COST REPLACEMENT OF UPS BATTERIES PER CABINET (5-30KVA) |  |  |  |
| 1 | LABOUR COST REPLACEMENT OF UPS BATTERIES PER CABINET (30-200KVA) |  |  |  |
| 1 | LABOUR (PER HOUR PER ENGINEER) |  |  |  |
| 1 | MILEAGE COST PER KM (VAT INCLUSIVE) |  |  |  |
| 1 | ACOMODATION & ENGINEERS UPKEEP PER DAY |  |  |  |

- Evaluation Criteria

- Preliminary evaluation Criteria

To be eligible bidders shall submit the documents below which will be considered under Preliminary Evaluation:

| Description | Compliant/ Non-Compliant | Bidder’s Comment |
| --- | --- | --- |
| Valid Tax Clearance Certificate |  |  |
| Certificate of Incorporation – Must be incorporated as a limited company |  |  |
| Fully signed Bid Supplier Declaration Form as per attached template |  |  |
| Fully signed Bid Securing declaration form as per attached template |  |  |
| 2022 PACRA print out detailing names of directors. |  |  |
| Responsiveness: (YES/NO) |  |  |

Note

- For all joint ventures, all companies involved to provide the documents required above and ensure that the Supplier Declaration Form and Bid Securing declaration Form is signed by all parties involved.

Non-compliance with these requirements may result into disqualification of the bid

- Technical evaluation:

The Technical evaluation will be conducted as tabulated below:

| Ref | Technical Evaluation Criteria | Compliance Statement (Y/N) |
| --- | --- | --- |
| 1 | Attached National Council Certificate NCC (CAT E) grade 4 or better |  |
| 2 | The firm should show capacity to integrating Inverter and Generator Set power |  |
| 3 | The Firm should show proof of having maintenance and servicing experience of UPS Units and inverters a period two years countrywide |  |
| 4 | The Firm should show proof of managing inverters and UPS units for the Data Centre |  |
| 5 | The staff to work on the UPS and inverter units should have minimum Diploma qualifications in Electricals and attach Curriculum Vitae with three years’ experience (Three members of staff) |  |
|  | Responsiveness |  |

Other Requirements

- The maintenance should involve servicing and replacing of serviceable parts as per price quoted.

- The maintenance shall be conducted biannually.

- The Engineer should be able to repair and configure UPS and inverter units.

- The pricing should be quoted biannually and then total price indicated.

- The cost of spares should be quoted separately

- Only Bidders that meet all the technical requirements will be considered compliant.

- Commercial evaluation:

            - The Payment Terms will be within 30 days after invoicing

            - Quotations should be inclusive of VAT;

            - Quotation validity: 90 Days

            - Bidders must quote amount per inverter

            - Prices should be fixed and not subject to variation for the duration of the contract

            - No advance payment shall be given to the supplier

            - Any other sales conditions